## FINAL ERCS AVAILABLE
FINAL KENTUCKY AVAILABLE EARLY REDUCTION CREDITS (ERCs)* FOR APPLICABLE KENTUCKY CAIR ANNUAL NOX TRADING PROGRAM UNITS PURSUANT TO 401 KAR 51:210
(Calculated Using 2001-2005 Annual Heat Input Data***)
[7 empty] | KENTUCKY | [19 empty] | KY | FINAL KY
[7 empty] | CAIR EGU | [15 empty] | UNIT **** |  | AVERAGE |  | EARLY REDUCTION | EARLY REDUCTION
[7 empty] | ANNUAL NOX | [10 empty] | ADJUSTED** | ADJUSTED** | ADJUSTED** | ADJUSTED** | ADJUSTED** | COMMENCING |  | OF THREE | SUM TOTAL OF | CREDITS (ERCs) | CREDITS (ERCs)
[7 empty] | COMPLIANCE |  | GENERATOR |  |  | HEAT INPUT** | EPA 2001*** | EPA 2002*** | 2003*** | 2004*** | 2005*** | EPA 2001 | EPA 2002 | 2003 | 2004 | 2005 | OPERATION |  | HIGHEST | HIGH THREE | AVAILABLE | AVAILABLE
| FIPS | FIPS |  |  |  |  | SUPPLEMENT |  | NAMEPLATE |  |  | FUEL | ANNUAL | ANNUAL | ANNUAL | ANNUAL | ANNUAL | ANNUAL | ANNUAL | ANNUAL | ANNUAL | ANNUAL | BEFORE | BASLINE**** | YEARS | AVERAGE | (ANNUAL | (ANNUAL
| ST | CTNY |  |  |  |  | POOL (CSP) |  | CAPACITY | UNIT | PRIMARY | ADJUSTMENT | HEAT INPUT | HEAT INPUT | HEAT INPUT | HEAT INPUT | HEAT INPUT | HEAT INPUT | HEAT INPUT | HEAT INPUT | HEAT INPUT | HEAT INPUT | JANUARY 1, | HEAT INPUT | HEAT INPUT | HEAT INPUT | TONS) | TONS)
ST | ID | ID | COMPANY | PLANT_NAME | PLANT_NAME | ORISPL | (ANNUAL TONS) | UNITID | (MWe) | TYPE | FUEL | FACTOR | (MMBTU) | (MMBTU) | (MMBTU) | (MMBTU) | (MMBTU) | (MMBTU) | (MMBTU) | (MMBTU) | (MMBTU) | (MMBTU) | 2001 | ESTABLISHED | (MMBTU) | (MMBTU) | (BEFORE ROUNDING) | (ROUNDED)
STATE | STID | CNYID | COMPANY | FACILITY_NAME | PLANT_NAME | ORISPL_CODE | OSBUDGET | UNITID | CMWE | UNIT_TYPE | PRI_FUEL | FUELADJ | HI2001 | HI2002 | HI2003 | HI2004 | HI2005 | HI2001A | HI2002A | HI2003A | HI2004A | HI2005A |  | HITY |  | TOTHI | YCAL | NOXA
KY | 21 | 127 | American Electric Power | Big Sandy | Big Sandy | 1353 | 14935 | BSU1 | 281 | Dry bottom wall-fired boiler | Coal | 1 | 17802942 | 14847674 | 16854709 | 12653074 | 14338702 | 17802942 | 14847674 | 16854709 | 12653074 | 14338702 | YES | YES | 16501775 | 1018287973 | 242.0278 | 242
KY | 21 | 127 | American Electric Power | Big Sandy | Big Sandy | 1353 | 14935 | BSU2 | 816 | Dry bottom wall-fired boiler | Coal | 1 | 52203394 | 37719242 | 41246314 | 44962998 | 53422103 | 52203394 | 37719242 | 41246314 | 44962998 | 53422103 | YES | YES | 50196165 | 1018287973 | 736.2158 | 736
KY | 21 | 167 | KU & LG&E | E W Brown | E. W. Brown | 1355 | 14935 | 1 | 114 | Dry bottom wall-fired boiler | Coal | 1 | 6889703 | 6829953 | 7432074 | 6983251 | 6964790 | 6889703 | 6829953 | 7432074 | 6983251 | 6964790 | YES | YES | 7126705 | 1018287973 | 104.5258 | 105
KY | 21 | 167 | KU & LG&E | E W Brown | E. W. Brown | 1355 | 14935 | 10 | 110 | Combustion turbine | Pipeline Natural Gas | 0.4 | 219244 | 279363 | 63452 | 26074 | 34394 | 87698 | 111745 | 25381 | 10430 | 13758 | YES | YES | 74941 | 1018287973 | 1.0991 | 1
KY | 21 | 167 | KU & LG&E | E W Brown | E. W. Brown | 1355 | 14935 | 11 | 110 | Combustion turbine | Pipeline Natural Gas | 0.4 | 137948 | 164866 | 30870 | 30713 | 35089 | 55179 | 65946 | 12348 | 12285 | 14036 | YES | YES | 45054 | 1018287973 | 0.6608 | 1
KY | 21 | 167 | KU & LG&E | E W Brown | E. W. Brown | 1355 | 14935 | 2 | 180 | Tangentially-fired | Coal | 1 | 8143248 | 9298038 | 11171090 | 10301801 | 10973877 | 8143248 | 9298038 | 11171090 | 10301801 | 10973877 | YES | YES | 10815589 | 1018287973 | 158.6298 | 159
KY | 21 | 167 | KU & LG&E | E W Brown | E. W. Brown | 1355 | 14935 | 3 | 446 | Tangentially-fired | Coal | 1 | 24795511 | 23176171 | 28418079 | 23742966 | 16385071 | 24795511 | 23176171 | 28418079 | 23742966 | 16385071 | YES | YES | 25652185 | 1018287973 | 376.2348 | 376
KY | 21 | 167 | KU & LG&E | E W Brown | E. W. Brown**** | 1355 | 14935 | 5 | 145 | Combustion turbine (Started 09-JUN-01) | Pipeline Natural Gas | 0.4 | 683514 | 923895 | 37865 | 11859 | 1556537 | 273406 | 369558 | 15146 | 4744 | 622615 | NO | YES | 0 | 1018287973 | 0 | 0
KY | 21 | 167 | KU & LG&E | E W Brown | E. W. Brown | 1355 | 14935 | 6 | 177 | Combustion turbine | Pipeline Natural Gas | 0.4 | 78794 | 1260093 | 236013 | 159139 | 1945085 | 31518 | 504037 | 94405 | 63656 | 778034 | YES | YES | 458825 | 1018287973 | 6.7295 | 7
KY | 21 | 167 | KU & LG&E | E W Brown | E. W. Brown | 1355 | 14935 | 7 | 177 | Combustion turbine | Pipeline Natural Gas | 0.4 | 559765 | 918464 | 186947 | 262331 | 1807410 | 223906 | 367386 | 74779 | 104932 | 722964 | YES | YES | 438085 | 1018287973 | 6.4253 | 6
KY | 21 | 167 | KU & LG&E | E W Brown | E. W. Brown | 1355 | 14935 | 8 | 110 | Combustion turbine | Diesel Oil | 0.4 | 572036 | 504728 | 85396 | 13372 | 56025 | 228814 | 201891 | 34158 | 5349 | 22410 | YES | YES | 154954 | 1018287973 | 2.2727 | 2
KY | 21 | 167 | KU & LG&E | E W Brown | E. W. Brown | 1355 | 14935 | 9 | 110 | Combustion turbine | Diesel Oil | 0.4 | 344687 | 373772 | 62540 | 22563 | 38199 | 137875 | 149509 | 25016 | 9025 | 15280 | YES | YES | 104133 | 1018287973 | 1.5273 | 2
KY | 21 | 041 | KU & LG&E | Ghent | Ghent | 1356 | 14935 | 1 | 557 | Tangentially-fired | Coal | 1 | 39788760 | 33865535 | 35100337 | 33447166 | 37402490 | 39788760 | 33865535 | 35100337 | 33447166 | 37402490 | YES | YES | 37430529 | 1018287973 | 548.9851 | 549
KY | 21 | 041 | KU & LG&E | Ghent | Ghent | 1356 | 14935 | 2 | 556 | Tangentially-fired | Coal | 1 | 31094915 | 30417850 | 29645864 | 28207308 | 27381043 | 31094915 | 30417850 | 29645864 | 28207308 | 27381043 | YES | YES | 30386210 | 1018287973 | 445.6677 | 446
KY | 21 | 041 | KU & LG&E | Ghent | Ghent | 1356 | 14935 | 3 | 557 | Dry bottom wall-fired boiler | Coal | 1 | 31224720 | 32033562 | 23600021 | 28475370 | 30655764 | 31224720 | 32033562 | 23600021 | 28475370 | 30655764 | YES | YES | 31304682 | 1018287973 | 459.1387 | 459
KY | 21 | 041 | KU & LG&E | Ghent | Ghent | 1356 | 14935 | 4 | 556 | Dry bottom wall-fired boiler | Coal | 1 | 32694533 | 22798417 | 28994728 | 30710533 | 31763688 | 32694533 | 22798417 | 28994728 | 30710533 | 31763688 | YES | YES | 31722918 | 1018287973 | 465.2729 | 465
KY | 21 | 177 | KU & LG&E | Green River***** | Green River | 1357 | 14935 | 1 | 37.5 | Dry bottom wall-fired boiler | Coal | 1 | 491041 | 406118 | 244510 | 0 | 0 | 491041 | 406118 | 244510 | 0 | 0 | YES | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 177 | KU & LG&E | Green River***** | Green River | 1357 | 14935 | 2 | 37.5 | Dry bottom wall-fired boiler | Coal | 1 | 461533 | 411266 | 312743 | 0 | 0 | 461533 | 411266 | 312743 | 0 | 0 | YES | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 177 | KU & LG&E | Green River***** | Green River | 1357 | 14935 | 3 | 37.5 | Dry bottom wall-fired boiler | Coal | 1 | 406490 | 334050 | 218016 | 0 | 0 | 406490 | 334050 | 218016 | 0 | 0 | YES | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 177 | KU & LG&E | Green River | Green River | 1357 | 14935 | 4 | 75 | Dry bottom wall-fired boiler | Coal | 1 | 4609609 | 2825661 | 3760322 | 3923034 | 4441837 | 4609609 | 2825661 | 3760322 | 3923034 | 4441837 | YES | YES | 4324827 | 1018287973 | 63.4313 | 63
KY | 21 | 177 | KU & LG&E | Green River | Green River | 1357 | 14935 | 5 | 114 | Dry bottom wall-fired boiler | Coal | 1 | 5933060 | 5091515 | 3694847 | 4816026 | 3335088 | 5933060 | 5091515 | 3694847 | 4816026 | 3335088 | YES | YES | 5280200 | 1018287973 | 77.4435 | 77
KY | 21 | 013 | KU & LG&E | Pineville***** | Pineville | 1360 | 14935 | 3 | 37.5 | Dry bottom wall-fired boiler | Coal | 1 | 1650641 | 0 | 0 | 0 | 0 | 1650641 | 0 | 0 | 0 | 0 | YES | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 239 | KU & LG&E | Tyrone | Tyrone | 1361 | 14935 | 1 | 31.3 | Dry bottom wall-fired boiler | Diesel Oil | 0.6 | 1455 | 0 | 0 | 0 | 0 | 873 | 0 | 0 | 0 | 0 | YES | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 239 | KU & LG&E | Tyrone | Tyrone | 1361 | 14935 | 2 | 31.3 | Dry bottom wall-fired boiler | Diesel Oil | 0.6 | 1433 | 53 | 0 | 0 | 0 | 860 | 32 | 0 | 0 | 0 | YES | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 239 | KU & LG&E | Tyrone | Tyrone | 1361 | 14935 | 3 | 31.3 | Dry bottom wall-fired boiler | Diesel Oil | 0.6 | 1502 | 0 | 0 | 0 | 0 | 901 | 0 | 0 | 0 | 0 | YES | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 239 | KU & LG&E | Tyrone | Tyrone | 1361 | 14935 | 4 | 31.3 | Dry bottom wall-fired boiler | Diesel Oil | 0.6 | 1262 | 0 | 0 | 0 | 0 | 757 | 0 | 0 | 0 | 0 | YES | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 239 | KU & LG&E | Tyrone | Tyrone | 1361 | 14935 | 5 | 75 | Dry bottom wall-fired boiler | Coal | 1 | 3875270 | 3636433 | 3470885 | 3081364 | 4561802 | 3875270 | 3636433 | 3470885 | 3081364 | 4561802 | YES | YES | 4024502 | 1018287973 | 59.0265 | 59
KY | 21 | 111 | KU & LG&E | Cane Run | Cane Run | 1363 | 14935 | 4 | 163 | Dry bottom wall-fired boiler | Coal | 1 | 10794589 | 10438996 | 10539158 | 8744885 | 11616391 | 10794589 | 10438996 | 10539158 | 8744885 | 11616391 | YES | YES | 10983379 | 1018287973 | 161.0907 | 161
KY | 21 | 111 | KU & LG&E | Cane Run | Cane Run | 1363 | 14935 | 5 | 209 | Dry bottom wall-fired boiler | Coal | 1 | 11069450 | 11388214 | 10414830 | 9106646 | 10794524 | 11069450 | 11388214 | 10414830 | 9106646 | 10794524 | YES | YES | 11084063 | 1018287973 | 162.5675 | 163
KY | 21 | 111 | KU & LG&E | Cane Run | Cane Run | 1363 | 14935 | 6 | 272 | Tangentially-fired | Coal | 1 | 13748599 | 9632307 | 14563168 | 14325956 | 16263413 | 13748599 | 9632307 | 14563168 | 14325956 | 16263413 | YES | YES | 15050846 | 1018287973 | 220.7474 | 221
KY | 21 | 111 | KU & LG&E | Mill Creek | Mill Creek | 1364 | 14935 | 1 | 356 | Tangentially-fired | Coal | 1 | 22255762 | 19079190 | 18001102 | 17049959 | 20157853 | 22255762 | 19079190 | 18001102 | 17049959 | 20157853 | YES | YES | 20497602 | 1018287973 | 300.6337 | 301
KY | 21 | 111 | KU & LG&E | Mill Creek | Mill Creek | 1364 | 14935 | 2 | 356 | Tangentially-fired | Coal | 1 | 20077207 | 18954850 | 16757279 | 19570983 | 18185459 | 20077207 | 18954850 | 16757279 | 19570983 | 18185459 | YES | YES | 19534347 | 1018287973 | 286.5059 | 287
KY | 21 | 111 | KU & LG&E | Mill Creek | Mill Creek | 1364 | 14935 | 3 | 463 | Dry bottom wall-fired boiler | Coal | 1 | 31118559 | 23838086 | 26342013 | 22942338 | 29907175 | 31118559 | 23838086 | 26342013 | 22942338 | 29907175 | YES | YES | 29122582 | 1018287973 | 427.1343 | 427
KY | 21 | 111 | KU & LG&E | Mill Creek | Mill Creek | 1364 | 14935 | 4 | 544 | Dry bottom wall-fired boiler | Coal | 1 | 27578637 | 31325831 | 30906021 | 35452977 | 32152848 | 27578637 | 31325831 | 30906021 | 35452977 | 32152848 | YES | YES | 32977219 | 1018287973 | 483.6694 | 484
KY | 21 | 111 | KU & LG&E | Paddy's Run | Paddy's Run | 1366 | 14935 | 12 | 29 | Combustion Turbine | Natural Gas | 0.4 | 0 | 0 | 2914 | 0 | 0 | 0 | 0 | 1166 | 0 | 0 | YES | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 111 | KU & LG&E | Paddy's Run | Paddy's Run**** | 1366 | 14935 | 13 | 151 | Combustion turbine (Started 30-JUN-01) | Pipeline Natural Gas | 0.4 | 463048 | 1022208 | 282443 | 301811 | 1312104 | 185219 | 408883 | 112977 | 120724 | 524842 | NO | YES | 0 | 1018287973 | 0 | 0
KY | 21 | 101 | Henderson Power & Light | Henderson I | Henderson I | 1372 | 14935 | 6 | 32.3 | Stoker | Coal | 1 | 305426 | 148706 | 68565 | 0 | 772726 | 305426 | 148706 | 68565 | 0 | 772726 | YES | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 059 | Owensboro Mun. Utility | Elmer Smith | Elmer Smith | 1374 | 14935 | 1 | 151 | Cyclone boiler | Coal | 1 | 14000079 | 9425162 | 11422449 | 11650483 | 11288650 | 14000079 | 9425162 | 11422449 | 11650483 | 11288650 | YES | YES | 12357670 | 1018287973 | 181.2472 | 181
KY | 21 | 059 | Owensboro Mun. Utility | Elmer Smith | Elmer Smith | 1374 | 14935 | 2 | 265 | Tangentially-fired | Coal | 1 | 21788581 | 17608433 | 17866345 | 19547296 | 15532562 | 21788581 | 17608433 | 17866345 | 19547296 | 15532562 | YES | YES | 19734074 | 1018287973 | 289.4352 | 289
KY | 21 | 177 | TVA | Paradise | Paradise | 1378 | 14935 | 1 | 704 | Cyclone boiler | Coal | 1 | 51202415 | 43369993 | 33795213 | 51309080 | 43191734 | 51202415 | 43369993 | 33795213 | 51309080 | 43191734 | YES | YES | 48627163 | 1018287973 | 713.2036 | 713
KY | 21 | 177 | TVA | Paradise | Paradise | 1378 | 14935 | 2 | 704 | Cyclone boiler | Coal | 1 | 46164253 | 58269001 | 43512272 | 41786049 | 53241516 | 46164253 | 58269001 | 43512272 | 41786049 | 53241516 | YES | YES | 52558257 | 1018287973 | 770.8601 | 771
KY | 21 | 177 | TVA | Paradise | Paradise | 1378 | 14935 | 3 | 1150 | Cyclone boiler | Coal | 1 | 57906969 | 57718638 | 61701359 | 52061207 | 46316269 | 57906969 | 57718638 | 61701359 | 52061207 | 46316269 | YES | YES | 59108989 | 1018287973 | 866.9382 | 867
KY | 21 | 145 | TVA | Shawnee | Shawnee | 1379 | 14935 | 1 | 175 | Dry bottom wall-fired boiler | Coal | 1 | 9639959 | 10894691 | 11192055 | 10121435 | 9598840 | 9639959 | 10894691 | 11192055 | 10121435 | 9598840 | YES | YES | 10736060 | 1018287973 | 157.4634 | 157
KY | 21 | 145 | TVA | Shawnee | Shawnee | 1379 | 14935 | 10 | 175 | Other boiler | Coal | 1 | 8987433 | 7004641 | 9658375 | 10109194 | 9609417 | 8987433 | 7004641 | 9658375 | 10109194 | 9609417 | YES | YES | 9792329 | 1018287973 | 143.6219 | 144
KY | 21 | 145 | TVA | Shawnee | Shawnee | 1379 | 14935 | 2 | 175 | Dry bottom wall-fired boiler | Coal | 1 | 10610282 | 10499937 | 9686162 | 10286199 | 9664872 | 10610282 | 10499937 | 9686162 | 10286199 | 9664872 | YES | YES | 10465473 | 1018287973 | 153.4947 | 153
KY | 21 | 145 | TVA | Shawnee | Shawnee | 1379 | 14935 | 3 | 175 | Dry bottom wall-fired boiler | Coal | 1 | 11013277 | 11481402 | 10675236 | 10253148 | 9289393 | 11013277 | 11481402 | 10675236 | 10253148 | 9289393 | YES | YES | 11056638 | 1018287973 | 162.1652 | 162
KY | 21 | 145 | TVA | Shawnee | Shawnee | 1379 | 14935 | 4 | 175 | Dry bottom wall-fired boiler | Coal | 1 | 10209386 | 10783737 | 10646874 | 8898284 | 10631377 | 10209386 | 10783737 | 10646874 | 8898284 | 10631377 | YES | YES | 10687329 | 1018287973 | 156.7486 | 157
KY | 21 | 145 | TVA | Shawnee | Shawnee | 1379 | 14935 | 5 | 175 | Dry bottom wall-fired boiler | Coal | 1 | 9117514 | 10806620 | 10801203 | 9092535 | 10796678 | 9117514 | 10806620 | 10801203 | 9092535 | 10796678 | YES | YES | 10801500 | 1018287973 | 158.4232 | 158
KY | 21 | 145 | TVA | Shawnee | Shawnee | 1379 | 14935 | 6 | 175 | Dry bottom wall-fired boiler | Coal | 1 | 9804642 | 10333453 | 10034841 | 10680872 | 10994284 | 9804642 | 10333453 | 10034841 | 10680872 | 10994284 | YES | YES | 10669536 | 1018287973 | 156.4877 | 156
KY | 21 | 145 | TVA | Shawnee | Shawnee | 1379 | 14935 | 7 | 175 | Dry bottom wall-fired boiler | Coal | 1 | 11744878 | 11459182 | 11660871 | 10281052 | 9670610 | 11744878 | 11459182 | 11660871 | 10281052 | 9670610 | YES | YES | 11621644 | 1018287973 | 170.452 | 170
KY | 21 | 145 | TVA | Shawnee | Shawnee | 1379 | 14935 | 8 | 175 | Dry bottom wall-fired boiler | Coal | 1 | 11111708 | 11997369 | 11149095 | 10364396 | 10587128 | 11111708 | 11997369 | 11149095 | 10364396 | 10587128 | YES | YES | 11419391 | 1018287973 | 167.4856 | 167
KY | 21 | 145 | TVA | Shawnee | Shawnee | 1379 | 14935 | 9 | 175 | Dry bottom wall-fired boiler | Coal | 1 | 10823868 | 11640656 | 10855722 | 8963225 | 10952655 | 10823868 | 11640656 | 10855722 | 8963225 | 10952655 | YES | YES | 11149678 | 1018287973 | 163.5298 | 164
KY | 21 | 091 | Western Ky Energy | Coleman | Coleman | 1381 | 14935 | C1 | 160 | Dry bottom wall-fired boiler | Coal | 1 | 11971180 | 10773315 | 11178065 | 10865676 | 10408048 | 11971180 | 10773315 | 11178065 | 10865676 | 10408048 | YES | YES | 11338307 | 1018287973 | 166.2964 | 166
KY | 21 | 091 | Western Ky Energy | Coleman | Coleman | 1381 | 14935 | C2 | 160 | Dry bottom wall-fired boiler | Coal | 1 | 11557927 | 11107134 | 11337516 | 11258617 | 10532631 | 11557927 | 11107134 | 11337516 | 11258617 | 10532631 | YES | YES | 11384687 | 1018287973 | 166.9766 | 167
KY | 21 | 091 | Western Ky Energy | Coleman | Coleman | 1381 | 14935 | C3 | 160 | Dry bottom wall-fired boiler | Coal | 1 | 11061094 | 10532515 | 8692815 | 10654701 | 11599036 | 11061094 | 10532515 | 8692815 | 10654701 | 11599036 | YES | YES | 11104944 | 1018287973 | 162.8737 | 163
KY | 21 | 233 | Western Ky Energy | HMP&L Station 2 | HMP&L Station 2 | 1382 | 14935 | H1 | 176 | Dry bottom wall-fired boiler | Coal | 1 | 12115550 | 12113416 | 9765884 | 12324335 | 11054419 | 12115550 | 12113416 | 9765884 | 12324335 | 11054419 | YES | YES | 12184434 | 1018287973 | 178.7063 | 179
KY | 21 | 233 | Western Ky Energy | HMP&L Station 2 | HMP&L Station 2 | 1382 | 14935 | H2 | 179 | Dry bottom wall-fired boiler | Coal | 1 | 12004888 | 12063843 | 11620977 | 11362715 | 13550549 | 12004888 | 12063843 | 11620977 | 11362715 | 13550549 | YES | YES | 12539760 | 1018287973 | 183.9178 | 184
KY | 21 | 233 | Western Ky Energy | Robert Reid | Robert Reid | 1383 | 14935 | R1 | 66 | Dry bottom wall-fired boiler | Coal | 1 | 4574065 | 5064137 | 4634310 | 2665802 | 4278592 | 4574065 | 5064137 | 4634310 | 2665802 | 4278592 | YES | YES | 4757504 | 1018287973 | 69.7772 | 70
KY | 21 | 233 | Western Ky Energy | Robert Reid | Robert Reid Turbine | 1383 | 14935 | RT | 72 | Combustion turbine | Diesel Oil | 0.6 | 18868 | 65605 | 19905 | 77662 | 37984 | 11321 | 39363 | 11943 | 46597 | 22790 | YES | YES | 36250 | 1018287973 | 0.53167 | 1
KY | 21 | 199 | East Ky Power | John S. Cooper | Cooper | 1384 | 14935 | 1 | 100 | Dry bottom wall-fired boiler | Coal | 1 | 6938513 | 7267099 | 7033241 | 7654370 | 6433097 | 6938513 | 7267099 | 7033241 | 7654370 | 6433097 | YES | YES | 7318237 | 1018287973 | 107.3349 | 107
KY | 21 | 199 | East Ky Power | John S. Cooper | Cooper | 1384 | 14935 | 2 | 221 | Dry bottom wall-fired boiler | Coal | 1 | 14368103 | 13921429 | 12067456 | 14947399 | 12941963 | 14368103 | 13921429 | 12067456 | 14947399 | 12941963 | YES | YES | 14412310 | 1018287973 | 211.3821 | 211
KY | 21 | 049 | East Ky Power | William C. Dale | Dale | 1385 | 14935 | 1****** |  | Dry bottom wall-fired boiler | Coal | 1 | 1662153 | 1805320 | 1828411 | 1799833 | 1791108 | 1662153 | 1805320 | 1828411 | 1799833 | 1791108 | YES | YES | 1811188 | 1018287973 | 26.5643 | 27
KY | 21 | 049 | East Ky Power | William C. Dale | Dale | 1385 | 14935 | 2****** |  | Dry bottom wall-fired boiler | Coal | 1 | 1662152 | 1805320 | 1828410 | 1799833 | 1791108 | 1662152 | 1805320 | 1828410 | 1799833 | 1791108 | YES | YES | 1811188 | 1018287973 | 26.5643 | 27
KY | 21 | 049 | East Ky Power | William C. Dale | Dale | 1385 | 14935 | 3 | 80 | Dry bottom wall-fired boiler | Coal | 1 | 4963930 | 5351628 | 5215628 | 4850598 | 5178578 | 4963930 | 5351628 | 5215628 | 4850598 | 5178578 | YES | YES | 5248611 | 1018287973 | 76.9802 | 77
KY | 21 | 049 | East Ky Power | William C. Dale | Dale | 1385 | 14935 | 4 | 80 | Dry bottom wall-fired boiler | Coal | 1 | 5154778 | 5404493 | 5379867 | 5335489 | 5754198 | 5154778 | 5404493 | 5379867 | 5335489 | 5754198 | YES | YES | 5512853 | 1018287973 | 80.8558 | 81
KY | 21 | 049 | East Ky Power | Smith Generating Facility | J. K. Smith | 54 | 14935 | SCT1 | 120 | Combustion turbine | Pipeline Natural Gas | 0.4 | 437252 | 618389 | 399587 | 444625 | 271568 | 174901 | 247356 | 159835 | 177850 | 108627 | YES | YES | 200036 | 1018287973 | 2.9339 | 3
KY | 21 | 049 | East Ky Power | Smith Generating Facility | J. K. Smith | 54 | 14935 | SCT2 | 120 | Combustion turbine | Pipeline Natural Gas | 0.4 | 497415 | 476100 | 467327 | 663087 | 1112506 | 198966 | 190440 | 186931 | 265235 | 445002 | YES | YES | 303068 | 1018287973 | 4.445 | 4
KY | 21 | 049 | East Ky Power | Smith Generating Facility | J. K. Smith | 54 | 14935 | SCT3 | 120 | Combustion turbine | Pipeline Natural Gas | 0.4 | 558316 | 1251976 | 599508 | 560674 | 430487 | 223326 | 500790 | 239803 | 224270 | 172195 | YES | YES | 321621 | 1018287973 | 4.7171 | 5
KY | 21 | 049 | East Ky Power | Smith Generating Facility | J. K. Smith**** | 54 | 14935 | SCT4 | 90 | Combustion turbine (Started 14-SEP-01) | Pipeline Natural Gas | 0.4 | 35539 | 874390 | 349459 | 371162 | 1441839 | 14216 | 349756 | 139784 | 148465 | 576736 | NO | YES | 0 | 1018287973 | 0 | 0
KY | 21 | 049 | East Ky Power | Smith Generating Facility | J. K. Smith**** | 54 | 14935 | SCT5 | 90 | Combustion turbine (Started 22-SEP-01) | Pipeline Natural Gas | 0.4 | 22285 | 805927 | 231472 | 274544 | 745682 | 8914 | 322371 | 92589 | 109818 | 298273 | NO | YES | 0 | 1018287973 | 0 | 0
KY | 21 | 049 | East Ky Power | Smith Generating Facility |  | 54 | 14935 | SCT6 | N | Combustion turbine (Started 11-DEC-04) | Pipeline Natural Gas | 0.4 | 0 | 0 | 0 | 189719 | 1382978 | 0 | 0 | 0 | 75888 | 553191 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 049 | East Ky Power | Smith Generating Facility |  | 54 | 14935 | SCT7 | N | Combustion turbine (Started 22-DEC-04) | Pipeline Natural Gas | 0.4 | 0 | 0 | 0 | 86236 | 1058525 | 0 | 0 | 0 | 34494 | 423410 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 185 | Dynegy | Bluegrass Generating Company, LLC | Bluegrass Generating**** | 55164 | 14935 | GTG1 | 208 | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 354423 | 15586 | 385 | 163121 | 0 | 141769 | 6234 | 154 | 65248 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 185 | Dynegy | Bluegrass Generating Company, LLC | Bluegrass Generating**** | 55164 | 14935 | GTG2 | 208 | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 484752 | 15505 | 519 | 170274 | 0 | 193901 | 6202 | 208 | 68110 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 185 | Dynegy | Bluegrass Generating Company, LLC | Bluegrass Generating**** | 55164 | 14935 | GTG3 | 208 | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 388336 | 10583 | 511 | 237352 | 0 | 155334 | 4233 | 204 | 94941 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 127 | Dynegy | Riverside Generating Company | Riverside Generating**** | 55198 | 14935 | GTG101 | 208 | Combustion turbine (Started 12-JUN-01) | Pipeline Natural Gas | 0.4 | 216767 | 641981 | 43258 | 8912 | 136998 | 86707 | 256792 | 17303 | 3565 | 54799 | NO | YES | 0 | 1018287973 | 0 | 0
KY | 21 | 127 | Dynegy | Riverside Generating Company | Riverside Generating**** | 55198 | 14935 | GTG201 | 208 | Combustion turbine (Started 04-JUL-01) | Pipeline Natural Gas | 0.4 | 120701 | 815694 | 34569 | 1593 | 162625 | 48280 | 326278 | 13828 | 637 | 65050 | NO | YES | 0 | 1018287973 | 0 | 0
KY | 21 | 127 | Dynegy | Riverside Generating Company | Riverside Generating**** | 55198 | 14935 | GTG301 | 208 | Combustion turbine (Started 07-JUL-01) | Pipeline Natural Gas | 0.4 | 98119 | 670649 | 22520 | 1139 | 87639 | 39248 | 268260 | 9008 | 456 | 35056 | NO | YES | 0 | 1018287973 | 0 | 0
KY | 21 | 127 | Dynegy | Riverside Generating Company | Riverside Generating**** | 55198 | 14935 | GTG401 | 208 | Combustion turbine (Started 27-MAR-02) | Pipeline Natural Gas | 0.4 | 0 | 428785 | 62544 | 9338 | 185283 | 0 | 171514 | 25018 | 3735 | 74113 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 127 | Dynegy | Riverside Generating Company | Riverside Generating**** | 55198 | 14935 | GTG501 | 208 | Combustion turbine (Started 27-MAR-02) | Pipeline Natural Gas | 0.4 | 0 | 364399 | 56079 | 526 | 159397 | 0 | 145760 | 22432 | 210 | 63759 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 157 | KGen Marshall LLC | KGen Marshall LLC | KGen Marshall LLC**** | 55232 | 14935 | CT1 | 80 | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 43228 | 0 | 0 | 0 | 0 | 17291 | 0 | 0 | 0 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 157 | KGen Marshall LLC | KGen Marshall LLC | KGen Marshall LLC**** | 55232 | 14935 | CT2 | 80 | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 27509 | 0 | 0 | 0 | 0 | 11004 | 0 | 0 | 0 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 157 | KGen Marshall LLC | KGen Marshall LLC | KGen Marshall LLC**** | 55232 | 14935 | CT3 | 80 | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 57959 | 0 | 0 | 0 | 0 | 23184 | 0 | 0 | 0 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 157 | KGen Marshall LLC | KGen Marshall LLC | KGen Marshall LLC**** | 55232 | 14935 | CT4 | 80 | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 213592 | 0 | 0 | 0 | 0 | 85437 | 0 | 0 | 0 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 157 | KGen Marshall LLC | KGen Marshall LLC | KGen Marshall LLC**** | 55232 | 14935 | CT5 | 80 | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 46913 | 0 | 0 | 0 | 0 | 18765 | 0 | 0 | 0 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 157 | KGen Marshall LLC | KGen Marshall LLC | KGen Marshall LLC**** | 55232 | 14935 | CT6 | 80 | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 35227 | 0 | 0 | 0 | 0 | 14091 | 0 | 0 | 0 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 157 | KGen Marshall LLC | KGen Marshall LLC | KGen Marshall LLC**** | 55232 | 14935 | CT7 | 80 | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 31884 | 0 | 0 | 0 | 0 | 12754 | 0 | 0 | 0 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 157 | KGen Marshall LLC | KGen Marshall LLC | KGen Marshall LLC**** | 55232 | 14935 | CT8 | 80 | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 32900 | 0 | 0 | 0 | 0 | 13160 | 0 | 0 | 0 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 015 | Cincinnati Gas & Electric | East Bend | East Bend | 6018 | 14935 | 2 | 669 | Dry bottom wall-fired boiler | Coal | 1 | 41652715 | 34859949 | 48254884 | 42149047 | 35725528 | 41652715 | 34859949 | 48254884 | 42149047 | 35725528 | YES | YES | 44018882 | 1018287973 | 645.615 | 646
KY | 21 | 161 | East Ky Power | H L Spurlock | H L Spurlock | 6041 | 14935 | 1 | 305 | Dry bottom wall-fired boiler | Coal | 1 | 21961440 | 22549559 | 19600617 | 13256731 | 20888541 | 21961440 | 22549559 | 19600617 | 13256731 | 20888541 | YES | YES | 21799847 | 1018287973 | 319.7334 | 320
KY | 21 | 161 | East Ky Power | H L Spurlock | H L Spurlock | 6041 | 14935 | 2 | 508 | Tangentially-fired | Coal | 1 | 34206534 | 39145381 | 35915897 | 38430056 | 37098929 | 34206534 | 39145381 | 35915897 | 38430056 | 37098929 | YES | YES | 38224789 | 1018287973 | 560.6344 | 561
KY | 21 | 161 | East Ky Power | H L Spurlock |  | 6041 | 14935 | 3 | N | Circulating fluidized bed boiler (Started 21-DEC | Coal | 1 | 0 | 0 | 0 | 632933 | 16544679 | 0 | 0 | 0 | 632933 | 16544679 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 223 | KU & LG&E | Trimble County | Trimble County | 6071 | 14935 | 1 | 566 | Tangentially-fired | Coal | 1 | 35325763 | 39376526 | 33269610 | 39017887 | 34950978 | 35325763 | 39376526 | 33269610 | 39017887 | 34950978 | YES | YES | 37906725 | 1018287973 | 555.9694 | 556
KY | 21 | 223 | KU & LG&E | Trimble County |  | 6071 | 14935 | 10 | N | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 0 | 0 | 148872 | 1050053 | 0 | 0 | 0 | 59549 | 420021 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 223 | KU & LG&E | Trimble County | Trimble County**** | 6071 | 14935 | 5 | 160 | Combustion turbine (Started 25-MAR-02) | Pipeline Natural Gas | 0.4 | 0 | 954307 | 413783 | 227511 | 101320 | 0 | 381723 | 165513 | 91004 | 40528 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 223 | KU & LG&E | Trimble County | Trimble County**** | 6071 | 14935 | 6 | 160 | Combustion turbine (Started 01-APR-02) | Pipeline Natural Gas | 0.4 | 0 | 918233 | 319756 | 263473 | 262201 | 0 | 367293 | 127902 | 105389 | 104880 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 223 | KU & LG&E | Trimble County |  | 6071 | 14935 | 7 | N | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 0 | 0 | 228216 | 519097 | 0 | 0 | 0 | 91286 | 207639 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 223 | KU & LG&E | Trimble County |  | 6071 | 14935 | 8 | N | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 0 | 0 | 140407 | 915457 | 0 | 0 | 0 | 56163 | 366183 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 223 | KU & LG&E | Trimble County |  | 6071 | 14935 | 9 | N | Combustion turbine | Pipeline Natural Gas | 0.4 | 0 | 0 | 0 | 180551 | 548417 | 0 | 0 | 0 | 72220 | 219367 | NO | NO | 0 | 1018287973 | 0 | 0
KY | 21 | 233 | Western Ky Energy | R D Green | R D Green | 6639 | 14935 | G1 | 242 | Dry bottom wall-fired boiler | Coal | 1 | 17356493 | 19045042 | 18711596 | 19719635 | 20804162 | 17356493 | 19045042 | 18711596 | 19719635 | 20804162 | YES | YES | 19856280 | 1018287973 | 291.2276 | 291
KY | 21 | 233 | Western Ky Energy | R D Green | R D Green | 6639 | 14935 | G2 | 242 | Dry bottom wall-fired boiler | Coal | 1 | 18678247 | 19560880 | 18545512 | 20222840 | 18985387 | 18678247 | 19560880 | 18545512 | 20222840 | 18985387 | YES | YES | 19589702 | 1018287973 | 287.3177 | 287
KY | 21 | 183 | Western Ky Energy | D B Wilson | D B Wilson | 6823 | 14935 | W1 | 440 | Dry bottom wall-fired boiler | Coal | 1 | 41371028 | 36598532 | 33425613 | 39448180 | 40766898 | 41371028 | 36598532 | 33425613 | 39448180 | 40766898 | YES | YES | 40528702 | 1018287973 | 594.4253 | 594
1018287973
FINAL TOTAL AVAILABLE KENTUCKY CAIR EGU ANNUAL NOX EARLY REDUCTION CREDITS (ERCs) (NOX ANNUAL TONS) | [27 empty] | 14935
DUE TO ROUNDING, REMAINING FINAL TOTAL KENTUCKY CAIR EGU ANNUAL NOX EARLY REDUCTION CREDITS (ERCs) (NOX ANNUAL TONS) | [27 empty] | 0
TOTAL KENTUCKY CAIR EGU ANNUAL NOX COMPLIANCE SUPPLEMENT POOL (CSP) FOR ERCS (NOX ANNUAL TONS) | [27 empty] | 14935
NOTES:
*1. PER 401 KAR 51:210, SECTION 4, AVAILABLE ANNUAL KENTUCKY CAIR EGU EARLY REDUCTION CREDITS (ERCs) WERE CALCULATED AS FOLLOWS
FOR UNITS COMMENCING OPERATION BEFORE JANUARY 1, 2001, AND THAT HAVE ESTABLISHED BASELINE HEAT INPUT FOR 2001-2005:
AVAILABLE ERC (TPY) = ((UNIT HIGH THREE ANNUAL AVERAGE ADJUSTED (BASELINE) HEAT INPUT / SUM TOTAL OF
HIGH THREE ANNUAL AVERAGE ADJUSTED (BASELINE) HEAT INPUT) X (KY COMPLIANCE SUPPLEMENT POOL (TPY))).
**2. ANNUAL HEAT INPUT WAS ADJUSTED BY MUTIPLYING THE ANNUAL HEAT INPUT BY THE HEAT INPUT ADJUSTMENT FACTOR BASED
ON THE UNIT'S PRIMARY FUEL.
PER 401 KAR 51:210, FOR COAL, OIL AND ANY OTHER FUEL THE HEAT INPUT ADJUSTMENT FACTOR IS 1.0, 0.6, AND 0.4 RESPECTIVELY.
***3. ANNUAL 2001-2005 HEAT INPUT DATA WAS OBTAINED FROM THE FOLLOWING EPA CLEAN AIR MARKETS DIVISION WEB SITE OR OTHER AVAILABLE DATA WAS UTILIZED FOR CAIR:
HTTP://CFPUB.EPA.GOV/GDM/INDEX.CFM?FUSEACTION=EMISSIONS.WIZARD.
****4. PER 401 KAR 51:210, EARLY REDUCTION CREDITS (ERCS) ARE MADE AVAILABLE TO CAIR ANNUAL NOX UNITS COMMENCING OPERATION BEFORE
JANUARY 1, 2001, AND HAVING OPERATED FOR FIVE CONSECUTIVE YEARS (2001-2005) IN ESTABLISHING ITS BASELINE HEAT INPUT.
*****5. APPLICABLE RETIRED UNITS INCLUDED.
******6. EKPC DALE UNITS 1 AND 2 HAVE BEEN INCLUDED.