## Instructions
Kentucky Division of Water
Instructions for Demonstration of Capability (DOC) Worksheets
2011-09-14
Use these worksheets in conjunction with the narrative document entitlted 'Laboratory Demonstration of Capability Procedure, Effective Date July 18, 2011'.
The procedure document outlines the necessary steps to achieve an accepted DOC.
Please complete the cover sheet to include the individual method number for this DOC.
For parameter groups that include multiple contaminants, e.g., metals, one DOC may be submitted for the method, e.g., EPA method 200.8.
If a test procedure is not applicable to a parameter, please indicate as such on the appropriate worksheet.
General Information
Fill out information requested on the Cover Sheet document.
Fill out information in the worksheets labeled "Calc". Only fill out information in cells that are blue in these sheets. The other cells are calculations.
If the data is unaccpetable, some numbers in the calculated cells will turn red.
If the numbers turn red, the data is not acceptable and should be repeated.
The report forms do not need to be typed on, as all information will be generated for these documents.
Cover Sheet
Fill out all information requested on the cover sheet document.
Make sure to fill out the Laboratory name correctly, as it is linked to all other forms.
Be certain to complete all information on this document.
IDC_ODC Calc Instructions
Only fill in the cells that are blue.
Enter the date range that all the IDC/ODC's were performed.
RRL is the required reporting limit, usually set by the state.
All IDC/ODC points must be within 20% of the mean.
If they are not, the last columns on the spreadsheet will show red numbers indicating which points are not acceptable.
The % RSD must be less than 15%. If it is not, the %RSD column will show a red number.
If any of the numbers on the spreadsheet turn red, the entire IDC/ODC study must be repeated.
Graphs for each analyte entered are further down the page.
To the left of each graph, enter the analysis date.
MDL Calc Instructions
Only fill in the cells that are blue.
RRL is the required reporting limit, usually set by the state. The estimated MDL is what you think your MDL is going to be.
The MDL spike concentration is the concentration of the standard you are running for you MDL study.
The Laboratory MRL is the lowest amount the laboratory will report. This must be greater than your MDL.
If the MDL study is unacceptable, numbers in the spreadsheet will turn red.
The calculated MDL must be less than the spike concentration.
The level of analyte in the sample MDLs must be greater than the calculated MDL.
The level of analyte must not exceed 10 times the calculated MDL.
RLS Calc Instructions
Only fill in the cells that are blue.
RRL is the required reporting limit, usually set by the state.
N is the number of points on the curve.
Conc(x) is the concentration at which the curve point was ran.
Resp(y) is the instrument response given for the curve point. This can be an absorbance, raw data, etc.
Scroll down the page for more calculations.
The expected value is the concentration that the lowest point on the curve is ran as an independent standard.
The instrument response is what is given when you run the lowest curve point as an independent standard.
If you are using a pre-programmed curve (such as a spec), only enter data in the section that is for pre-programmed curves. Do not enter data anywhere else.
It is possible to calculate for multiple analyte curves on one RL form.
If this is desired, use the multiple RLS Calc forms.
Each RLS Calc form corresponds to a different line on the RL form.
If you are using a pre-programmed curve, you can only calculate for one curve at a time.
If the results are unacceptable, the % recovery will turn red.
The % recovery must be 70-130%.
For any questions related to this process, please contact Patrick Garrity at patrick.garrity@ky.gov or Kevin Stewart at kevin.stewart@ky.gov.

## Cover Sheet
Demonstration of Capability Package
KENTUCKY DEPARTMENT FOR ENVIRONMENTAL PROTECTION
DIVISION OF WATER
300 SOWER BOULEVARD; 3RD FLOOR
FRANKFORT, KY 40601
General Information |  | Permit Information | Analysis Information
Laboratory Name: |  | Program: | Method No.
Address: |  | KPDES Permit Numbers: | Instrumentation:
City, State, Zip Code:
Contact Name:
Contact Phone: |  | DNR Permit Numbers:
Contact Fax:
Contact Email: |  |  | Software Version | 03072014
Lab ID#

## IDC_ODC
Initial/Ongoing Demonstration of Capabilities (IDC/ODC)
KENTUCKY DEPARTMENT FOR ENVIRONMENTAL PROTECTION
DIVISION OF WATER
300 SOWER BOULEVARD; 3RD FLOOR
FRANKFORT, KY 40601
IDC/ODC Results
Laboratory Name: | 0
Analysis Date Range: | 0
Analyst: | 0
Instrument ID: | 0
Reference Method: | 0
Contaminant | RRL1 | Units | Spike Conc | #1 | #2 | #3 | #4 | Mean | % Rec2 | % Rec | % Rec | % Rec | %RSD | -20% Limit | +20% Limit
[9 empty] | #1 | #2 | #3 | #4
0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | [5 empty] | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
1. RRL = Required Reporting Limit
2. % Rec = Percent Recovery [(known / expected)*100%] | [10 empty] | Version: |  | 03072014

## MDL
Minimum Detection Limit Study (MDL)
KENTUCKY DEPARTMENT FOR ENVIRONMENTAL PROTECTION
DIVISION OF WATER
300 SOWER BOULEVARD; 3RD FLOOR
FRANKFORT, KY 40601
Minimum Detection Limit (MDL) Results
Laboratory Name: | 0
Analyst: | 0
Instrument ID: | 0
Reference Method: | 0
[5 empty] | Date | Date | Date | Date | Date | Date | Date
Analysis date of each replicate >> |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Contaminant | RRL1 | Units | Est. MDL | Spike Conc | #1 | #2 | #3 | #4 | #5 | #6 | #7 | Std. Dev. | MDL2 | MRL3
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
[5 empty] | #6: Version: | 03072014
1. RRL = Required Reporting Limit
2. MDL = Minimum Detection Limit
3. MRL = Minimum Reporting Level

## RL
Reporting Limit Standard (RLS)
KENTUCKY DEPARTMENT FOR ENVIRONMENTAL PROTECTION
DIVISION OF WATER
300 SOWER BOULEVARD; 3RD FLOOR
FRANKFORT, KY 40601
ICAL with Reporting Limit Standard
Laboratory Name: | 0
Reference Method: | 0
Contaminant | RRL1 | Units | Date of Analysis | Graph Axis | #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | #10
0 | 0 | 0 | 0 | Concentration (x) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Instr. Response (y) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | Concentration (x) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Instr. Response (y) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | Concentration (x) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Instr. Response (y) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | Concentration (x) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Instr. Response (y) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | Concentration (x) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Instr. Response (y) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ICAL Statistics |  |  |  |  | #1: The % Recovery was calculated using a pre-programmed curve
Contaminant | Analyst | Instrument ID | Number of Points | Correlation Coefficient (R2) | #1: Y – intercept; #2: Slope (m); #3: Percent Recovery (%REC) of RLS; #5: Acceptable? (according to QAP)
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
RRL = Required Reporting Limit
ICAL = Initial Calibration |  |  |  |  | #6: Version:; #8: 03072014

## IDC_ODC Calc
Laboratory Name: |  |  | 0
Analyst Name:
Analysis Date Range:
Matrix:
Instrument ID:
Reference Method: |  |  | 0
| Initial Demonstration of Capability / On-going Demonstration of Capability | [7 empty] | For Instructions, click here
|  |  |  | IDC Spike | Concentration Determined by Analysis |  |  |  | Percent Recovery |  |  |  |  | Recovery SD |  | Accuracy Criteria (+/- 20% of the average)
| Contaminant | Units | RRL | Conc | IDC#1 | IDC#2 | IDC#3 | IDC#4 | IDC#1 | IDC#2 | IDC#3 | IDC#4 | Average | %RSD |  | -20% Limit | +20% Limit | IDC#1 | IDC#2 | IDC#3 | IDC#4 | Mean
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | IDC/ODC Summary | [12 empty] | Analysis | Analysis Date
IDC#1
| # | Min | Max | Value | [10 empty] | IDC#2
| 1 | 0 | 0 | 0 | [10 empty] | IDC#3
| 2 | 0 | 0 | 0 | [10 empty] | IDC#4
| 3 | 0 | 0 | 0
| 4 | 0 | 0 | 0
| 0 | IDC / ODC Data Summary | [12 empty] | Analysis | Analysis Date
IDC#1
| # | Min | Max | Value | [10 empty] | IDC#2
| 1 | 0 | 0 | 0 | [10 empty] | IDC#3
| 2 | 0 | 0 | 0 | [10 empty] | IDC#4
| 3 | 0 | 0 | 0
| 4 | 0 | 0 | 0
| 0 | IDC / ODC Data Summary | [12 empty] | Analysis | Analysis Date
IDC#1
| # | Min | Max | Value | [10 empty] | IDC#2
| 1 | 0 | 0 | 0 | [10 empty] | IDC#3
| 2 | 0 | 0 | 0 | [10 empty] | IDC#4
| 3 | 0 | 0 | 0
| 4 | 0 | 0 | 0
| 0 | IDC / ODC Data Summary | [12 empty] | Analysis | Analysis Date
IDC#1
| # | Min | Max | Value | [10 empty] | IDC#2
| 1 | 0 | 0 | 0 | [10 empty] | IDC#3
| 2 | 0 | 0 | 0 | [10 empty] | IDC#4
| 3 | 0 | 0 | 0
| 4 | 0 | 0 | 0
| 0 | IDC / ODC Data Summary | [12 empty] | Analysis | Analysis Date
IDC#1
| # | Min | Max | Value | [10 empty] | IDC#2
| 1 | 0 | 0 | 0 | [10 empty] | IDC#3
| 2 | 0 | 0 | 0 | [10 empty] | IDC#4
| 3 | 0 | 0 | 0
| 4 | 0 | 0 | 0
| 0 | IDC / ODC Data Summary | [12 empty] | Analysis | Analysis Date
IDC#1
| # | Min | Max | Value | [10 empty] | IDC#2
| 1 | 0 | 0 | 0 | [10 empty] | IDC#3
| 2 | 0 | 0 | 0 | [10 empty] | IDC#4
| 3 | 0 | 0 | 0
| 4 | 0 | 0 | 0
| 0 | IDC / ODC Data Summary | [12 empty] | Analysis | Analysis Date
IDC#1
| # | Min | Max | Value | [10 empty] | IDC#2
| 1 | 0 | 0 | 0 | [10 empty] | IDC#3
| 2 | 0 | 0 | 0 | [10 empty] | IDC#4
| 3 | 0 | 0 | 0
| 4 | 0 | 0 | 0
| 0 | IDC / ODC Data Summary | [12 empty] | Analysis | Analysis Date
IDC#1
| # | Min | Max | Value | [10 empty] | IDC#2
| 1 | 0 | 0 | 0 | [10 empty] | IDC#3
| 2 | 0 | 0 | 0 | [10 empty] | IDC#4
| 3 | 0 | 0 | 0
| 4 | 0 | 0 | 0
| 0 | IDC / ODC Data Summary | [12 empty] | Analysis | Analysis Date
IDC#1
| # | Min | Max | Value | [10 empty] | IDC#2
| 1 | 0 | 0 | 0 | [10 empty] | IDC#3
| 2 | 0 | 0 | 0 | [10 empty] | IDC#4
| 3 | 0 | 0 | 0
| 4 | 0 | 0 | 0
| 0 | IDC / ODC Data Summary | [12 empty] | Analysis | Analysis Date
IDC#1
| # | Min | Max | Value | [10 empty] | IDC#2
| 1 | 0 | 0 | 0 | [10 empty] | IDC#3
| 2 | 0 | 0 | 0 | [10 empty] | IDC#4
| 3 | 0 | 0 | 0
| 4 | 0 | 0 | 0
| 0 | IDC / ODC Data Summary | [12 empty] | Analysis | Analysis Date
IDC#1
| # | Min | Max | Value | [10 empty] | IDC#2
| 1 | 0 | 0 | 0 | [10 empty] | IDC#3
| 2 | 0 | 0 | 0 | [10 empty] | IDC#4
| 3 | 0 | 0 | 0
| 4 | 0 | 0 | 0
| 0 | IDC / ODC Data Summary | [12 empty] | Analysis | Analysis Date
IDC#1
| # | Min | Max | Value | [10 empty] | IDC#2
| 1 | 0 | 0 | 0 | [10 empty] | IDC#3
| 2 | 0 | 0 | 0 | [10 empty] | IDC#4
| 3 | 0 | 0 | 0
| 4 | 0 | 0 | 0

## MDL Calc
Laboratory Name: |  | 0 | ABC | ABC
Analyst Name:
Report Date:
Matrix:
Instrument ID:
Reference Method: |  | 0 |  |  |  | For Instructions, click here
| Minimum Detection Limit Calculator |  |  |  |  | Date | Date | Date | Date | Date | Date | Date
|  |  | Required | Estimated | MDL Spike | Concentration Determined by Analysis | [6 empty] | Calculated | Student t | MDL2 | Laboratory | Ten Times
| Contaminant | Units | RL1 | MDL2 | Conc | MDL#1 | MDL#2 | MDL#3 | MDL#4 | MDL#5 | MDL#6 | MDL#7 | Std. Dev. | {3.143} |  | MRL3 | Rule
3.143
3.143
3.143
3.143
3.143
3.143
3.143
3.143
3.143
3.143
3.143
3.143
1. RRL = Required Reporting Limit
2. MDL = Minimum Detection Limit
3. MRL = Minimum Reporting Level

## RLS Calc (1)
Laboratory Name: |  |  | 0 |  |  | Contaminant:
Analyst Name: | [5 empty] | RRL:
Analysis Date: | [5 empty] | Units: |  |  |  | RRL = Required Reporting Limit
Matrix: | [5 empty] | Instrument ID:
Reference Method: |  |  | 0
For Instructions, click here
Calculate Linear Regression |  |  |  |  | Statistics for Regression Analysis |  |  |  |  | Linear Regression Calibration Curve
for n = |  |  |  |  | for n = | 0
Cal # | Conc (x) | Resp (y) |  |  | x | y | xy | x2 | y2
1 |  |  |  |  | 0 | 0 | 0 | 0 | 0
2 |  |  |  |  | 0 | 0 | 0 | 0 | 0
3 |  |  |  |  | 0 | 0 | 0 | 0 | 0
4 |  |  |  |  | 0 | 0 | 0 | 0 | 0
5 |  |  |  |  | 0 | 0 | 0 | 0 | 0
6 |  |  |  |  | 0 | 0 | 0 | 0 | 0
7 |  |  |  |  | 0 | 0 | 0 | 0 | 0
8 |  |  |  |  | 0 | 0 | 0 | 0 | 0
9 |  |  |  |  | 0 | 0 | 0 | 0 | 0
10 |  |  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | ∑= | 0 | 0 | 0 | 0 | 0
|  |  |  | b= | #DIV/0!
|  |  |  | m= | #DIV/0!
|  |  |  | r2= | #DIV/0!
[5 empty] | y | = | mx | + | b
[5 empty] | y | = | #DIV/0! | + | #DIV/0!
[5 empty] | r2 | = | #DIV/0!
RLS Calculation for Calibration Curve (Linear Regression) | [5 empty] | RLS Calculation for Pre-programmed Curve (ONLY)
Calculate Reporting Limit Standard | [5 empty] | Calculate Reporting Limit Standard
Expected Value = | [5 empty] | Expected Value =
Resp(y)= |  | (Enter instrument response) |  |  |  | Result= |  | (Enter instrument result)
Calc(x)= | #DIV/0! | (Calculated value x= (y-b)/m)
%Rec= | #DIV/0! | (Percent Recovery of RLS as unknown) |  |  |  | %Rec= | #DIV/0! | (Percent Recovery of RLS as unknown)

## RLS Calc (2)
Laboratory Name: |  |  | 0 |  |  | Contaminant:
Analyst Name: | [5 empty] | RRL:
Analysis Date: | [5 empty] | Units: |  |  |  | RRL = Required Reporting Limit
Matrix: | [5 empty] | Instrument ID:
Reference Method: |  |  | 0 | [6 empty] | For Instructions, click here
Calculate Linear Regression |  |  |  |  | Statistics for Regression Analysis |  |  |  |  | Linear Regression Calibration Curve
for n = |  |  |  |  | for n = | 0
Cal # | Conc (x) | Resp (y) |  |  | x | y | xy | x2 | y2
1 |  |  |  |  | 0 | 0 | 0 | 0 | 0
2 |  |  |  |  | 0 | 0 | 0 | 0 | 0
3 |  |  |  |  | 0 | 0 | 0 | 0 | 0
4 |  |  |  |  | 0 | 0 | 0 | 0 | 0
5 |  |  |  |  | 0 | 0 | 0 | 0 | 0
6 |  |  |  |  | 0 | 0 | 0 | 0 | 0
7 |  |  |  |  | 0 | 0 | 0 | 0 | 0
8 |  |  |  |  | 0 | 0 | 0 | 0 | 0
9 |  |  |  |  | 0 | 0 | 0 | 0 | 0
10 |  |  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | ∑= | 0 | 0 | 0 | 0 | 0
|  |  |  | b= | #DIV/0!
|  |  |  | m= | #DIV/0!
|  |  |  | r2= | #DIV/0!
[5 empty] | y | = | mx | + | b
[5 empty] | y | = | #DIV/0! | + | #DIV/0!
[5 empty] | r2 | = | #DIV/0!
RLS Calculation for Calibration Curve (Linear Regression) | [5 empty] | RLS Calculation for Pre-programmed Curve (ONLY)
Calculate Reporting Limit Standard | [5 empty] | Calculate Reporting Limit Standard
Expected Value = | [5 empty] | Expected Value =
Resp(y)= |  | (Enter instrument response) |  |  |  | Result= |  | (Enter instrument result)
Calc(x)= | #DIV/0! | (Calculated value x= (y-b)/m)
%Rec= | #DIV/0! | (Percent Recovery of RLS as unknown) |  |  |  | %Rec= | #DIV/0! | (Percent Recovery of RLS as unknown)

## RLS Calc (3)
Laboratory Name: |  |  | 0 |  |  | Contaminant:
Analyst Name: | [5 empty] | RRL:
Analysis Date: | [5 empty] | Units: |  |  |  | RRL = Required Reporting Limit
Matrix: | [5 empty] | Instrument ID:
Reference Method: |  |  | 0 | [6 empty] | For Instructions, click here
Calculate Linear Regression |  |  |  |  | Statistics for Regression Analysis |  |  |  |  | Linear Regression Calibration Curve
for n = |  |  |  |  | for n = | 0
Cal # | Conc (x) | Resp (y) |  |  | x | y | xy | x2 | y2
1 |  |  |  |  | 0 | 0 | 0 | 0 | 0
2 |  |  |  |  | 0 | 0 | 0 | 0 | 0
3 |  |  |  |  | 0 | 0 | 0 | 0 | 0
4 |  |  |  |  | 0 | 0 | 0 | 0 | 0
5 |  |  |  |  | 0 | 0 | 0 | 0 | 0
6 |  |  |  |  | 0 | 0 | 0 | 0 | 0
7 |  |  |  |  | 0 | 0 | 0 | 0 | 0
8 |  |  |  |  | 0 | 0 | 0 | 0 | 0
9 |  |  |  |  | 0 | 0 | 0 | 0 | 0
10 |  |  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | ∑= | 0 | 0 | 0 | 0 | 0
|  |  |  | b= | #DIV/0!
|  |  |  | m= | #DIV/0!
|  |  |  | r2= | #DIV/0!
[5 empty] | y | = | mx | + | b
[5 empty] | y | = | #DIV/0! | + | #DIV/0!
[5 empty] | r2 | = | #DIV/0!
RLS Calculation for Calibration Curve (Linear Regression) | [5 empty] | RLS Calculation for Pre-programmed Curve (ONLY)
Calculate Reporting Limit Standard | [5 empty] | Calculate Reporting Limit Standard
Expected Value = | [5 empty] | Expected Value =
Resp(y)= |  | (Enter instrument response) |  |  |  | Result= |  | (Enter instrument result)
Calc(x)= | #DIV/0! | (Calculated value x= (y-b)/m)
%Rec= | #DIV/0! | (Percent Recovery of RLS as unknown) |  |  |  | %Rec= | #DIV/0! | (Percent Recovery of RLS as unknown)

## RLS Calc (4)
Laboratory Name: |  |  | 0 |  |  | Contaminant:
Analyst Name: | [5 empty] | RRL:
Analysis Date: | [5 empty] | Units: |  |  |  | RRL = Required Reporting Limit
Matrix: | [5 empty] | Instrument ID:
Reference Method: |  |  | 0 | [6 empty] | For Instructions, click here
Calculate Linear Regression |  |  |  |  | Statistics for Regression Analysis |  |  |  |  | Linear Regression Calibration Curve
for n = |  |  |  |  | for n = | 0
Cal # | Conc (x) | Resp (y) |  |  | x | y | xy | x2 | y2
1 |  |  |  |  | 0 | 0 | 0 | 0 | 0
2 |  |  |  |  | 0 | 0 | 0 | 0 | 0
3 |  |  |  |  | 0 | 0 | 0 | 0 | 0
4 |  |  |  |  | 0 | 0 | 0 | 0 | 0
5 |  |  |  |  | 0 | 0 | 0 | 0 | 0
6 |  |  |  |  | 0 | 0 | 0 | 0 | 0
7 |  |  |  |  | 0 | 0 | 0 | 0 | 0
8 |  |  |  |  | 0 | 0 | 0 | 0 | 0
9 |  |  |  |  | 0 | 0 | 0 | 0 | 0
10 |  |  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | ∑= | 0 | 0 | 0 | 0 | 0
|  |  |  | b= | #DIV/0!
|  |  |  | m= | #DIV/0!
|  |  |  | r2= | #DIV/0!
[5 empty] | y | = | mx | + | b
[5 empty] | y | = | #DIV/0! | + | #DIV/0!
[5 empty] | r2 | = | #DIV/0!
RLS Calculation for Calibration Curve (Linear Regression) | [5 empty] | RLS Calculation for Pre-programmed Curve (ONLY)
Calculate Reporting Limit Standard | [5 empty] | Calculate Reporting Limit Standard
Expected Value = | [5 empty] | Expected Value =
Resp(y)= |  | (Enter instrument response) |  |  |  | Result= |  | (Enter instrument result)
Calc(x)= | #DIV/0! | (Calculated value x= (y-b)/m)
%Rec= | #DIV/0! | (Percent Recovery of RLS as unknown) |  |  |  | %Rec= | #DIV/0! | (Percent Recovery of RLS as unknown)

## RLS Calc (5)
Laboratory Name: |  |  | 0 |  |  | Contaminant:
Analyst Name: | [5 empty] | RRL:
Analysis Date: | [5 empty] | Units: |  |  |  | RRL = Required Reporting Limit
Matrix: | [5 empty] | Instrument ID:
Reference Method: |  |  | 0 | [6 empty] | For Instructions, click here
Calculate Linear Regression |  |  |  |  | Statistics for Regression Analysis |  |  |  |  | Linear Regression Calibration Curve
for n = |  |  |  |  | for n = | 0
Cal # | Conc (x) | Resp (y) |  |  | x | y | xy | x2 | y2
1 |  |  |  |  | 0 | 0 | 0 | 0 | 0
2 |  |  |  |  | 0 | 0 | 0 | 0 | 0
3 |  |  |  |  | 0 | 0 | 0 | 0 | 0
4 |  |  |  |  | 0 | 0 | 0 | 0 | 0
5 |  |  |  |  | 0 | 0 | 0 | 0 | 0
6 |  |  |  |  | 0 | 0 | 0 | 0 | 0
7 |  |  |  |  | 0 | 0 | 0 | 0 | 0
8 |  |  |  |  | 0 | 0 | 0 | 0 | 0
9 |  |  |  |  | 0 | 0 | 0 | 0 | 0
10 |  |  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | ∑= | 0 | 0 | 0 | 0 | 0
|  |  |  | b= | #DIV/0!
|  |  |  | m= | #DIV/0!
|  |  |  | r2= | #DIV/0!
[5 empty] | y | = | mx | + | b
[5 empty] | y | = | #DIV/0! | + | #DIV/0!
[5 empty] | r2 | = | #DIV/0!
RLS Calculation for Calibration Curve (Linear Regression) | [5 empty] | RLS Calculation for Pre-programmed Curve (ONLY)
Calculate Reporting Limit Standard | [5 empty] | Calculate Reporting Limit Standard
Expected Value = | [5 empty] | Expected Value =
Resp(y)= |  | (Enter instrument response) |  |  |  | Result= |  | (Enter instrument result)
Calc(x)= | #DIV/0! | (Calculated value x= (y-b)/m)
%Rec= | #DIV/0! | (Percent Recovery of RLS as unknown) |  |  |  | %Rec= | #DIV/0! | (Percent Recovery of RLS as unknown)

## Appendix B
Title 40: Protection of Environment
PART 136—GUIDELINES ESTABLISHING TEST PROCEDURES FOR THE ANALYSIS OF POLLUTANTS
Browse Previous ¦ Browse Next
Appendix B to Part 136—Definition and Procedure for the Determination of the Method Detection Limit—Revision 1.11
Definition
The method detection limit (MDL) is defined as the minimum concentration of a substance that can be measured and reported with 99% confidence that the analyte concentration is greater than zero and is determined from analysis of a sample in a given matrix containing the analyte.
Scope and Application
This procedure is designed for applicability to a wide variety of sample types ranging from reagent (blank) water containing analyte to wastewater containing analyte. The MDL for an analytical procedure may vary as a function of sample type. The procedure requires a complete, specific, and well defined analytical method. It is essential that all sample processing steps of the analytical method be included in the determination of the method detection limit.
The MDL obtained by this procedure is used to judge the significance of a single measurement of a future sample.
The MDL procedure was designed for applicability to a broad variety of physical and chemical methods. To accomplish this, the procedure was made device- or instrument-independent.
Procedure
1. Make an estimate of the detection limit using one of the following:
(a) The concentration value that corresponds to an instrument signal/noise in the range of 2.5 to 5.
(b) The concentration equivalent of three times the standard deviation of replicate instrumental measurements of the analyte in reagent water.
(c) That region of the standard curve where there is a significant change in sensitivity, i.e. , a break in the slope of the standard curve.
(d) Instrumental limitations.
It is recognized that the experience of the analyst is important to this process. However, the analyst must include the above considerations in the initial estimate of the detection limit.
2. Prepare reagent (blank) water that is as free of analyte as possible. Reagent or interference free water is defined as a water sample in which analyte and interferent concentrations are not detected at the method detection limit of each analyte of interest. Interferences are defined as systematic errors in the measured analytical signal of an established procedure caused by the presence of interfering species (interferent). The interferent concentration is presupposed to be normally distributed in representative samples of a given matrix.
3. (a) If the MDL is to be determined in reagent (blank) water, prepare a laboratory standard (analyte in reagent water) at a concentration which is at least equal to or in the same concentration range as the estimated method detection limit. (Recommend between 1 and 5 times the estimated method detection limit.) Proceed to Step 4.
(b) If the MDL is to be determined in another sample matrix, analyze the sample. If the measured level of the analyte is in the recommended range of one to five times the estimated detection limit, proceed to Step 4.
If the measured level of analyte is less than the estimated detection limit, add a known amount of analyte to bring the level of analyte between one and five times the estimated detection limit.
If the measured level of analyte is greater than five times the estimated detection limit, there are two options.
(1) Obtain another sample with a lower level of analyte in the same matrix if possible.
(2) The sample may be used as is for determining the method detection limit if the analyte level does not exceed 10 times the MDL of the analyte in reagent water. The variance of the analytical method changes as the analyte concentration increases from the MDL, hence the MDL determined under these circumstances may not truly reflect method variance at lower analyte concentrations.
4. (a) Take a minimum of seven aliquots of the sample to be used to calculate the method detection limit and process each through the entire analytical method. Make all computations according to the defined method with final results in the method reporting units. If a blank measurement is required to calculate the measured level of analyte, obtain a separate blank measurement for each sample aliquot analyzed. The average blank measurement is subtracted from the respective sample measurements.
(b) It may be economically and technically desirable to evaluate the estimated method detection limit before proceeding with 4a. This will: (1) Prevent repeating this entire procedure when the costs of analyses are high and (2) insure that the procedure is being conducted at the correct concentration. It is quite possible that an inflated MDL will be calculated from data obtained at many times the real MDL even though the level of analyte is less than five times the calculated method detection limit. To insure that the estimate of the method detection limit is a good estimate, it is necessary to determine that a lower concentration of analyte will not result in a significantly lower method detection limit. Take two aliquots of the sample to be used to calculate the method detection limit and process each through the entire method, including blank measurements as described above in 4a. Evaluate these data:
(1) If these measurements indicate the sample is in desirable range for determination of the MDL, take five additional aliquots and proceed. Use all seven measurements for calculation of the MDL.
(2) If these measurements indicate the sample is not in correct range, reestimate the MDL, obtain new sample as in 3 and repeat either 4a or 4b.
5. Calculate the variance (S2 ) and standard deviation (S) of the replicate measurements, as follows:
where:
Xι; i=1 to n, are the analytical results in the final method reporting units obtained from the n sample aliquots and Σ refers to the sum of the X values from i=l to n.
where:
Xι; i=1 to n, are the analytical results in the final method reporting units obtained from the n sample aliquots and Σ refers to the sum of the X values from i=l to n.
6. (a) Compute the MDL as follows:
MDL = t(n-1,1-α=0.99) (S)
where:
MDL = the method detection limit
t(n-1,1-α=.99)= the students' t value appropriate for a 99% confidence level and a standard deviation estimate with n-1 degrees of freedom. See Table.
S = standard deviation of the replicate analyses.
(b) The 95% confidence interval estimates for the MDL derived in 6a are computed according to the following equations derived from percentiles of the chi square over degrees of freedom distribution (χ2 /df).
LCL = 0.64 MDL
UCL = 2.20 MDL
where: LCL and UCL are the lower and upper 95% confidence limits respectively based on seven aliquots.
7. Optional iterative procedure to verify the reasonableness of the estimate of the MDL and subsequent MDL determinations.
(a) If this is the initial attempt to compute MDL based on the estimate of MDL formulated in Step 1, take the MDL as calculated in Step 6, spike the matrix at this calculated MDL and proceed through the procedure starting with Step 4.
(b) If this is the second or later iteration of the MDL calculation, use S2 from the current MDL calculation and S2 from the previous MDL calculation to compute the F-ratio. The F-ratio is calculated by substituting the larger S2 into the numerator S2 Aand the other into the denominator S2 B. The computed F-ratio is then compared with the F-ratio found in the table which is 3.05 as follows: if S2 A/S2 B<3.05, then compute the pooled standard deviation by the following equation:
if S2 A/S2 B>3.05, respike at the most recent calculated MDL and process the samples through the procedure starting with Step 4. If the most recent calculated MDL does not permit qualitative identification when samples are spiked at that level, report the MDL as a concentration between the current and previous MDL which permits qualitative identification.
(c) Use the Spooledas calculated in 7b to compute The final MDL according to the following equation:
MDL=2.681 (Spooled)
where 2.681 is equal to t(12,1−α=.99).
(d) The 95% confidence limits for MDL derived in 7c are computed according to the following equations derived from precentiles of the chi squared over degrees of freedom distribution.
LCL=0.72 MDL
UCL=1.65 MDL
where LCL and UCL are the lower and upper 95% confidence limits respectively based on 14 aliquots.
Tables of Students' t Values at the 99 Percent Confidence Level
Number of replicates | Degrees of freedom (n-1) | tcn-1,.99)
7 | 6 | 3.143
8 | 7 | 2.998
9 | 8 | 2.896
10 | 9 | 2.821
11 | 10 | 2.764
16 | 15 | 2.602
21 | 20 | 2.528
26 | 25 | 2.485
31 | 30 | 2.457
61 | 60 | 2.39
0 | 0 | 2.326
Reporting
The analytical method used must be specifically identified by number or title ald the MDL for each analyte expressed in the appropriate method reporting units. If the analytical method permits options which affect the method detection limit, these conditions must be specified with the MDL value. The sample matrix used to determine the MDL must also be identified with MDL value. Report the mean analyte level with the MDL and indicate if the MDL procedure was iterated. If a laboratory standard or a sample that contained a known amount analyte was used for this determination, also report the mean recovery.
If the level of analyte in the sample was below the determined MDL or exceeds 10 times the MDL of the analyte in reagent water, do not report a value for the MDL.
[49 FR 43430, Oct. 26, 1984; 50 FR 694, 696, Jan. 4, 1985, as amended at 51 FR 23703, June 30, 1986]
Browse Previous ¦ Browse Next
For questions or comments regarding e-CFR editorial content, features, or design, email ecfr@nara.gov.
For questions concerning e-CFR programming and delivery issues, email webteam@gpo.gov.
Section 508 / Accessibility