## Specific Conductance
Specific Conductance
Instrument: |  |  |  |  | Serial #: |  |  |  | Purchase Date:
Standards |  |  | Manufacturer |  |  | Lot # |  |  | Exp Date
Low
Mid
High
QCS (second source) Value:
| CALIBRATION | [6 empty] | SAMPLE
| Date/Analyst | Blank | Time of Calibration | Low (± 0.10) | Mid (± 0.10) | High (± 0.10) | Calibration Verification (±0.10) | *Quarterly QCS (±0.10) | Sample ID Outfall Location | Time Collected/Analyzed | Conductance (µmho/cm) | Temp °C
1 | [9 empty] | /
2 | [9 empty] | /
3 | [9 empty] | /
4 | [9 empty] | /
5 | [9 empty] | /
6 | [9 empty] | /
7 | [9 empty] | /
8 | [9 empty] | /
9 | [9 empty] | /
10 | [9 empty] | /
11 | [9 empty] | /
12 | [9 empty] | /
13 | [9 empty] | /
14 | [9 empty] | /
15 | [9 empty] | /
16 | [9 empty] | /
17 | [9 empty] | /
18 | [9 empty] | /
19 | [9 empty] | /
20 | [9 empty] | /
Duplicate |  | Relative Percent Difference (20 % RPD Acceptable) =
Duplicate= 1 in 20 samples or at least one per quarter if sampling frequency is lower.
QCS= At least quarterly or each time of sampling if frequency is less.
* Gel is not allowed for QCS determination

## Turbidity
Turbidity Record
Instrument: |  |  |  |  | Serial #: |  |  |  | Purchase Date:
Standards |  |  | Manufacturer |  |  | Lot # |  |  | Exp Date
Low
Mid
High
QCS (second source) Value:
| CALIBRATION | [6 empty] | SAMPLE
| Date/Analyst | Time of Calibration | Blank | Low (± 0.10) | Mid (± 0.10) | High (± 0.10) | Calibration Verification (±0.10) | *Quarterly QCS (±0.10) | Sample ID Outfall Location | Time Collected/Analyzed | Turbidity (NTU)
1 | [9 empty] | /
2 | [9 empty] | /
3 | [9 empty] | /
4 | [9 empty] | /
5 | [9 empty] | /
6 | [9 empty] | /
7 | [9 empty] | /
8 | [9 empty] | /
9 | [9 empty] | /
10 | [9 empty] | /
11 | [9 empty] | /
12 | [9 empty] | /
13 | [9 empty] | /
14 | [9 empty] | /
15 | [9 empty] | /
16 | [9 empty] | /
17 | [9 empty] | /
18 | [9 empty] | /
19 | [9 empty] | /
20 | [9 empty] | /
Duplicate |  | Relative Percent Difference (20 % RPD Acceptable) =
Duplicate= 1 in 20 samples or at least one per quarter if sampling frequency is lower.
QCS= At least quarterly or each time of sampling if frequency is less.
* Gel is not allowed for QCS determination

## Field DO
Field Dissolved Oxygen Record
Instrument: |  |  |  | Serial #: | Purchase Date:
| Date/Analyst | Meter Calibration % Saturation | Sample ID Outfall Location | Time Collected/Analyzed | DO mg/L | Temp °C
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
Duplicate | Relative Percent Difference (20 % RPD Acceptable) =
Relative Percent Difference= Difference in duplicate readings divided by the average of duplicate readings times 100

## Field Chlorine
Field Total Residual Chlorine Record
Organization: |  |  | Phone Number: |  |  |  | Analyst: |  | TRC Method:
Instrument: |  |  |  |  | Serial #: |  |  |  | Purchase Date:
Standards |  |  |  | Manufacturer |  | Lot # |  | Exp Date
Calibration Verification Standards
|  |  |  | Low Conc: |  | Mid Conc: |  | High Conc:
Quality Control Standard (Quarterly)
| Date/Analyst | Sample ID Outfall Location | Time Collected/Analyzed | Blank | Low (+/- 10%) | Mid (+/- 10%) | High (+/- 10%) | QCS mg/L (+/- 10%) | Sample
1 |  |  | /
2 |  |  | /
3 |  |  | /
4 |  |  | /
5 |  |  | /
6 |  |  | /
7 |  |  | /
8 |  |  | /
9 |  |  | /
10 |  |  | /
11 |  |  | /
12 |  |  | /
13 |  |  | /
14 |  |  | /
15 |  |  | /
16 |  |  | /
17 |  |  | /
18 |  |  | /
19 |  |  | /
20 |  |  | /
Duplicate |  |  | Relative Percent Difference (20 % RPD Acceptable) =
Duplicate= 1 in 20 samples or at least one per quarter if sampling frequency is lower.
QCS= At least quarterly or each time of sampling if frequency is less.

## Field pH
Field pH and/or Temperature Record
Organization: |  |  | Phone Number: |  |  |  | Analyst: |  |  |  | pH Method:
Instrument: |  |  |  |  | Serial #: | [5 empty] | Purchase Date:
Buffers |  |  | Manufacturer |  |  |  | Lot # |  |  | Exp Date
pH 4
pH 7
pH 10
QCS (second source) Value:
CALIBRATION RESULTS | [7 empty] | SAMPLE RESULTS
| Date/Analyst | Time of Calibration | pH 4 | pH 7 | pH 10 | Calibration Verification (±0.10) | Quarterly QCS (5%) | Date/Analyst | Sample ID Outfall Location | Sample Type (grab/composite) | Volume | Time Collected/Analyzed | pH S.U. | Temp °C
1 | [11 empty] | /
2 | [11 empty] | /
3 | [11 empty] | /
4 | [11 empty] | /
5 | [11 empty] | /
6 | [11 empty] | /
7 | [11 empty] | /
8 | [11 empty] | /
9 | [11 empty] | /
10 | [11 empty] | /
11 | [11 empty] | /
12 | [11 empty] | /
13 | [11 empty] | /
14 | [11 empty] | /
15 | [11 empty] | /
16 | [11 empty] | /
17 | [11 empty] | /
18 | [11 empty] | /
19 | [11 empty] | /
20 | [11 empty] | /
Duplicate |  | Relative Percent Difference (20 % RPD Acceptable) =
Duplicate= 1 in 20 samples or at least one per quarter if sampling frequency is lower.
QCS= Quarterly or each time sampling if frequency is annual or bi-annual. If QCS is analyzed every sample period, it can replace CV.