| Kentucky Department for Environmental Protection Division of Waste Management Underground Storage Tank Branch 300 Sower Boulevard, Second Floor – Frankfort KY 40601 (502) 564-5981 UST Electronic Release Detection Equipment Test | FOR OFFICIAL USE ONLY – DO NOT WRITE IN THIS SPACE |
| --- | --- |
| 1. UST Facility Information |
| Agency Interest Number (AI) |  |
| UST Facility Name |  |
| UST Facility Physical Address | Street Address: |
|  | City: | County: | Zip Code: - |
| 2. Test Details |
| Test Date | / / |
| 3. Monitoring Console Information |
| Console Type | Manufacturer | Model | Serial Number | Function Check | Alarms Test |
|  |  |  |  | Pass | Fail | Pass | Fail |
|  |  |  |  | Pass | Fail | Pass | Fail |
| 4. Automatic Tank Gauge Probe Information |
| Tank / Compartment | Product | Probe Type | Manufacturer | Model | Serial Number | Function Check |
| - |  |  |  |  |  | Pass | Fail |
| - |  |  |  |  |  | Pass | Fail |
| - |  |  |  |  |  | Pass | Fail |
| - |  |  |  |  |  | Pass | Fail |
| - |  |  |  |  |  | Pass | Fail |
| - |  |  |  |  |  | Pass | Fail |
| 5. Sensor Information |
| Location | Type | Manufacturer | Model | Serial Number | Function Check |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |

| AI |
| --- |
| Sensor Information (continued from Section 5) |
| Location | Type | Manufacturer | Model | Serial Number | Function Check |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
|  |  |  |  |  | Pass | Fail |
| Comment on all failures, repairs, or maintenance required |  |
| 6. Attachments (required) |
| I have attached copies of the alarm history verifying probe out, water alarms, and high product alarms following test completion (required). |
| 7. Certification |
| I certify that all the information provided on this document is true, accurate, and complete. |
| Tester Certification | Printed |  | Date | / / |
|  | Signature |  |  |  |
| License | Number: | Expiration Date: / / |
| Certification Type (mark all that apply) | Tank Manufacturer | Test Equipment Manufacturer | Other (specify): |
| Contact Information | Phone: ( ) - | Email: |
| Company Name |  |
| If you have questions on how to fill out this form please contact the cabinet at (502) 564-5981 or visit our web site at http://waste.ky.gov/ust. For copies of UST facility records please visit http://eec.ky.gov/pages/openrecords.aspx or email EEC.KORA@ky.gov. |

# Footnotes

Monitoring Console Information – Console Type (e.g. ATG, ELLD, IM, etc.)

Monitoring Console Information – Manufacturer (e.g. Veeder-Root, Incon, etc.)

Monitoring Console Information – Model (e.g. TLS-350, TS-1001, etc.)

Automatic Tank Gauge Probe Information – Probe Type (e.g. inventory only, leak detection [0.2/01], or CSLD/SCALD)

Automatic Tank Gauge Probe Information – Manufacturer (e.g. Veeder-Root, Incon, etc.)

Automatic Tank Gauge Probe Information – Model (e.g. MagPlus, TSP-LL2, etc.)

Sensor Information – Location (e.g. DSL sump, dispenser ¼, RUL IM sensor, etc.)

Sensor Information – Type (e.g. float-switch, liquid, optical, discriminating, magnetostrictive, vapor, hydrostatic, dry interstitial, solid state, solid state discriminating, groundwater, etc.)

Sensor Information – Manufacturer (e.g. Veeder-Root, Incon, etc.)

Sensor Information – Model (e.g. MagSump, Series 7943, TSP-DTS, TSP-HIS, etc.)