| Kentucky Department for Environmental Protection Division of Waste Management Underground Storage Tank Branch 300 Sower Boulevard, Second Floor – Frankfort KY 40601 (502) 564-5981 UST Line Tightness Test | FOR OFFICIAL USE ONLY – DO NOT WRITE IN THIS SPACE |
| --- | --- |
| 1. UST Facility Information |
| Agency Interest Number (AI) |  |
| UST Facility Name |  |
| UST Facility Physical Address | Street Address: |
|  | City: | County: | Zip Code: - |
| 2. Test Information |
| Test Date | / / |
| Reason for Test (mark only one) | New Install (within 30 days from bringing into use) | Routine – Annual (every 12 months) |
|  | Repair (within 30 days) | Routine – Tri-Annual (every 36 months) |
|  | Suspected Release – Incident #: | DEP Directed (specify): |
| Leak Threshold | 0.1 gph | 0.05 gph | 0.01 gph | Other (specify): |
| Test Method and Max Pipe Capacity | Test Method: | Max Pipe Capacity: |
| Test Duration and Pressure | Minimum Test Duration (min): | Recommended Pressure (psi): |
| 3. Piping Information |
| Piping Material | Steel | Fiberglass Reinforced Plastic | Flexible Thermoplastic | Other (specify): |
| Configuration | Single Wall | Double Wall |  |  |
| Manufacturer / Model | Manufacturer: | Model: |
| Type | Pressurized | Suction |  |  |
| Release Detection Method | ELLD | SIR | Interstitial Monitoring | Annual Line Tightness Testing |
|  | Other (specify): |
| 4. Pre-Test Data |
| Piping Isolation Method During Test | Functional Element | Isolation Plug | Ball Valve | Other (specify): |
| Line Number | Product Type | Piping Length (ft) | Operating Pressure (psi) | Number of Connected Dispensers | Number of Flex Connectors | Calculated Maximum Bleedback (gal) | Measured Bleedback (gal) | Pretest Duration (min) |

| AI |
| --- |
| 5. Line Tightness Test Data |
| Line Number | Product Type | Time (military) | Pressure (psi) | Volume (gal) | Results | Secondary Containment Results |
|  |  |  | Before | After | Before | After | Net Change |  |  |
|  |  |  |  |  |  |  |  | Pass | Fail | Pass | Fail | N/A |
|  |  |  |  |  |  |  |  | Pass | Fail | Pass | Fail | N/A |
|  |  |  |  |  |  |  |  | Pass | Fail | Pass | Fail | N/A |
|  |  |  |  |  |  |  |  | Pass | Fail | Pass | Fail | N/A |
|  |  |  |  |  |  |  |  | Pass | Fail | Pass | Fail | N/A |
|  |  |  |  |  |  |  |  | Pass | Fail | Pass | Fail | N/A |
|  |  |  |  |  |  |  |  | Pass | Fail | Pass | Fail | N/A |
|  |  |  |  |  |  |  |  | Pass | Fail | Pass | Fail | N/A |
|  |  |  |  |  |  |  |  | Pass | Fail | Pass | Fail | N/A |
|  |  |  |  |  |  |  |  | Pass | Fail | Pass | Fail | N/A |
| Comments (e.g., repairs, retests, or unusual operating conditions) |  |
| 6. Certification |
| I certify that all the information provided on this document is true, accurate, and complete. |
| Tester Certification | Printed |  | Date | / / |
|  | Signature |  |  |  |
| License | Number: | Expiration Date: / / |
| Certification Type (mark all that apply) | Tank Manufacturer | Test Equipment Manufacturer | Other (specify): |
| Contact Information | Phone: ( ) - | Email: |
| Company Name |  |
| If you have questions on how to fill out this form please contact the cabinet at (502) 564-5981 or visit our web site at http://waste.ky.gov/ust. For copies of UST facility records please visit http://eec.ky.gov/pages/openrecords.aspx or email EEC.KORA@ky.gov. |

# Footnotes

ELLD – Electronic line leak detector

SIR – Statistical inventory reconciliation