| Kentucky Department for Environmental Protection Division of Waste Management Underground Storage Tank Branch 300 Sower Boulevard, Second Floor – Frankfort KY 40601 (502) 564-5981 UST Overfill Prevention Device Test | FOR OFFICIAL USE ONLY – DO NOT WRITE IN THIS SPACE |
| --- | --- |
| 1. UST Facility Information |
| Agency Interest Number (AI) |  |
| UST Facility Name |  |
| UST Facility Physical Address | Street Address: |
|  | City: | County: | Zip Code: - |
| 2. Test Information |
| Test Date | / / |
| Reason for Test (mark only one) | New Install (within 30 days of bringing into service) | Routine (every 36 months) |
|  | Repair (within 30 days) |  |
| 3. Test Details (Attach additional pages as necessary) |
| Tank Number / Product Type |  |  |  |  |  |  |  |  |  |  |  |  |
| Overfill Prevention Device Type Automatic Shut-Off Device – ASD High-Level Alarm – HLA Ball Float Valve – BFV | ASD HLA BFV | ASD HLA BFV | ASD HLA BFV | ASD HLA BFV | ASD HLA BFV | ASD HLA BFV |
| Tank Capacity (gallons) |  |  |  |  |  |  |
| Tank Diameter (inches) |  |  |  |  |  |  |
| 1. Device Removed | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No |
| 2. No Damage Present | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No |
| 3. Clean & Free of Debris | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No |
| 4. Activation Mechanism Moves Freely | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No |
| 5. Device Activation Level Measured | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No |
| 6. Activation Level is At or Below Regulatory Limit | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No | Yes | No |
| Activation Level of Device (%) | % | % | % | % | % | % |
| Criteria: If "No" was answered in any one of the items (1 through 6) above, the test indicates a fail. |
| Device Test Results | Pass | Fail | Pass | Fail | Pass | Fail | Pass | Fail | Pass | Fail | Pass | Fail |
| 4. Attachments |
| I have attached photographs documenting the overfill device was removed and set to activate at the appropriate level. |
| Comments |  |

| AI |
| --- |
| Certification |
| I certify that all the information provided on this document is true, accurate, and complete. |
| Tester Certification | Printed |  | Date | / / |
|  | Signature |  |  |  |
| License | Number: | Expiration Date: / / |
| Certification Type (mark all that apply) | Test Equipment Manufacturer | Recommended Practice | Other (specify): |
| Contact Information | Phone: ( ) - | Email: |
| Company Name |  |
| If you have questions on how to fill out this form please contact the cabinet at (502) 564-5981 or visit our web site at http://waste.ky.gov/ust. For copies of UST facility records please visit http://eec.ky.gov/pages/openrecords.aspx or email EEC.KORA@ky.gov. |