| Kentucky Department for Environmental Protection Division of Waste Management Underground Storage Tank Branch 300 Sower Boulevard, Second Floor – Frankfort KY 40601 (502) 564-5981 UST Tank Tightness Test | FOR OFFICIAL USE ONLY – DO NOT WRITE IN THIS SPACE |
| --- | --- |
| 1. UST Facility Information |
| Agency Interest Number (AI) |  |
| UST Facility Name |  |
| UST Facility Physical Address | Street Address: |
|  | City: | County: | Zip Code: - |
| 2. Test Information |
| Test Date | / / |
| Next Test Date Due | / / |
| Reason for Test (mark only one) | New Install (within 30 days from bringing into service) |
|  | Repair (within 30 days) | DEP Directed (specify): |
|  | Suspected Release – Incident #: | Other (specify): |
| Test Type (mark all that apply) | Volumetric | Non-Volumetric | Other |
|  | Overfill | Vacuum | Interstitial |
|  | Underfill | Ullage | Other (specify): |
|  |  | Tracer |  |
| Leak Threshold | 0.1 gph | 0.05 gph | 0.01 gph | Other (specify): |
| Test Method |  |
| Test Duration and Delivery | Minimum Test Duration (min): | Time Since Last Delivery (hr): |
| Dispensing During Test | Yes | No |
| Tanks Isolated During Test | Yes | No |
| Groundwater Depth (ft) |  |
| Level Above Tank Bottom | Yes | No |
| 3. Tank Information (Attach additional pages as necessary) |
| Tank Number |  |  |  |  |
| Substance Stored |  |  |  |  |
| Capacity |  |  |  |  |
| Diameter |  |  |  |  |
| Material |  |  |  |  |
| Manufacturer |  |  |  |  |
| Model |  |  |  |  |
| Configuration |  |  |  |  |
| Number of Compartments |  |  |  |  |
| Manifolded |  |  |  |  |
| Leak Detection Method |  |  |  |  |

| AI |
| --- |
| 4. Tank Tightness Test Data (Columns are a continuation from Section 3) |
| Amount of Product in Tank (gal) |  |  |  |  |
| Tank Percent Full (%) |  |  |  |  |
| Temperature of Product (°F) |  |  |  |  |
| Amount of Water in Tank (inches) |  |  |  |  |
| Pressure Measured at Tank Bottom (psi) |  |  |  |  |
| Test Duration (military) |  |  |  |  |
| Calculated Lead Rate (gph) |  |  |  |  |
| 5. Test Results (Columns are a continuation from Sections 3 and 4) |
| Double Wall Tank Secondary Containment | Pass | Fail | N/A | Pass | Fail | N/A | Pass | Fail | N/A | Pass | Fail | N/A |
| Ullage Portion of Tank | Pass | Fail | N/A | Pass | Fail | N/A | Pass | Fail | N/A | Pass | Fail | N/A |
| Results for Wet Portion of Tank | Pass | Fail | N/A | Pass | Fail | N/A | Pass | Fail | N/A | Pass | Fail | N/A |
| Repairs & Retest Required | Yes | No |
| Release Reporting Required | Yes | No |
| Comments |  |
| 6. Certification |
| I certify that all the information provided on this document is true, accurate, and complete. |
| Tester Certification | Printed |  | Date | / / |
|  | Signature |  |  |  |
| License | Number: | Expiration Date: / / |
| Certification Type (mark all that apply) | Tank Manufacturer | Test Equipment Manufacturer | Other (specify): |
| Contact Information | Phone: ( ) - | Email: |
| Company Name |  |
| If you have questions on how to fill out this form please contact the cabinet at (502) 564-5981 or visit our web site at http://waste.ky.gov/ust. For copies of UST facility records please visit http://eec.ky.gov/pages/openrecords.aspx or email EEC.KORA@ky.gov. |