| Kentucky Department for Environmental Protection Division of Waste Management Underground Storage Tank Branch 300 Sower Boulevard, Second Floor – Frankfort KY 40601 (502) 564-5981 UST Tank Tightness Test |  |  |  |  |  |  |  |  |  |  |  |  | FOR OFFICIAL USE ONLY – DO NOT WRITE IN THIS SPACE |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - UST Facility Information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Agency Interest Number (AI) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UST Facility Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UST Facility Physical Address | Street Address: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | City: |  |  |  |  | County: |  |  |  |  |  |  |  | Zip Code: - |  |
| - Test Information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Test Date | / / |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Next Test Date Due | / / |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reason for Test (mark only one) | New Install (within 30 days from bringing into service) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Repair (within 30 days) |  |  |  |  |  |  |  |  | DEP Directed (specify): |  |  |  |  |  |
|  | Suspected Release – Incident #: |  |  |  |  |  |  |  |  | Other (specify): |  |  |  |  |  |
| Test Type (mark all that apply) | Volumetric |  |  | Non-Volumetric |  |  |  | Other |  |  |  |  |  |  |  |
|  | Overfill |  |  | Vacuum |  |  |  | Interstitial |  |  |  |  |  |  |  |
|  | Underfill |  |  | Ullage |  |  |  | Other (specify): |  |  |  |  |  |  |  |
|  |  |  |  | Tracer |  |  |  |  |  |  |  |  |  |  |  |
| Leak Threshold | 0.1 gph |  | 0.05 gph |  |  |  | 0.01 gph |  |  |  | Other (specify): |  |  |  |  |
| Test Method |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Test Duration and Delivery | Minimum Test Duration (min): |  |  |  |  |  |  |  | Time Since Last Delivery (hr): |  |  |  |  |  |  |
| Dispensing During Test | Yes | No |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tanks Isolated During Test | Yes | No |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Groundwater Depth (ft) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Level Above Tank Bottom | Yes | No |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Tank Information (Attach additional pages as necessary) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tank Number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Substance Stored |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Capacity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diameter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Material |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Manufacturer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Model |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Configuration |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Number of Compartments |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Manifolded |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Leak Detection Method |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| AI |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Tank Tightness Test Data (Columns are a continuation from Section 3) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amount of Product in Tank (gal) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tank Percent Full (%) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Temperature of Product (°F) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amount of Water in Tank (inches) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pressure Measured at Tank Bottom (psi) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Test Duration (military) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Calculated Lead Rate (gph) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Test Results (Columns are a continuation from Sections 3 and 4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Double Wall Tank Secondary Containment | Pass | Fail |  | N/A |  |  | Pass |  |  | Fail | N/A | Pass |  | Fail | N/A |  | Pass |  | Fail | N/A |
| Ullage Portion of Tank | Pass | Fail |  | N/A |  |  | Pass |  |  | Fail | N/A | Pass |  | Fail | N/A |  | Pass |  | Fail | N/A |
| Results for Wet Portion of Tank | Pass | Fail |  | N/A |  |  | Pass |  |  | Fail | N/A | Pass |  | Fail | N/A |  | Pass |  | Fail | N/A |
| Repairs & Retest Required | Yes | No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Release Reporting Required | Yes | No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Certification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I certify that all the information provided on this document is true, accurate, and complete. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tester Certification | Printed |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date |  | / / |  |  |
|  | Signature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| License | Number: |  |  |  |  |  |  | Expiration Date: / / |  |  |  |  |  |  |  |  |  |  |  |  |
| Certification Type (mark all that apply) | Tank Manufacturer |  |  |  | Test Equipment Manufacturer |  |  |  |  |  |  |  | Other (specify): |  |  |  |  |  |  |  |
| Contact Information | Phone: ( ) - |  |  |  |  |  |  |  | Email: |  |  |  |  |  |  |  |  |  |  |  |
| Company Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If you have questions on how to fill out this form please contact the cabinet at (502) 564-5981 or visit our web site at https://eec.ky.gov/Environmental-Protection/Waste/underground-storage-tank. For copies of facility records please visit https://eec.ky.gov/Pages/Open-Records.aspx or email EEC.KORA@ky.gov. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |