| Kentucky Department for Environmental Protection Division of Waste Management Underground Storage Tank Branch 300 Sower Boulevard, Second Floor – Frankfort KY 40601 (502) 564-5981 UST Classification Guide |  |  |  |  |  |  |  |  |  |  |  |  |  | FOR OFFICIAL USE ONLY – DO NOT WRITE IN THIS SPACE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - UST Facility Information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Agency Interest Number (AI) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UST Facility Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Classification Type (select one) |  |  | Initial Classification |  |  |  |  |  | Amended Classification |  |  |  |  |  |  |  |  |  |  |
| - Soil Classification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Soil Classification Instructions: Answer applicable questions. This guide places the UST facility into a particular class and establishes UST system screening levels for soil. Refer to Section 7.1 of the UST Corrective Action Manual regarding criteria for soil classification. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are any domestic-use wells, domestic-use springs or domestic-use cisterns located within a 100-meter (328 feet) radius from the excavation zone? |  |  |  |  | Yes |  | Proceed to question C. Provide below the physical address and contact information for the owner of each domestic-use well, domestic-use spring or domestic-use cistern identified. |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | No |  | Proceed to question B. |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | N/A |  | Domestic-use wells, domestic-use springs, or domestic-use cisterns were disregarded. *See note. Proceed to question B. |  |  |  |  |  |  |  |  |  |  |  |  |
| Does analysis of soil samples collected from the excavation zone or soil borings indicate levels above the Class A Adjusted Soil Screening Levels on-site specified in the Class A Soil Screening Levels Table? |  |  |  |  | Yes |  | Class A Adjusted Soil Screening Levels apply to soil within the Point of Compliance and the applicable Class B Soil Matrix Table Screening Levels apply to soils beyond the Point of Compliance (complete the Class A Soil Screening Levels Table only – below). |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | No |  | Soil levels meet the requirements for Class A (complete the Class A Soil Screening Levels Table only – below). |  |  |  |  |  |  |  |  |  |  |  |  |
| Does analysis of soil samples collected from the excavation zone or soil borings indicate levels above those specified in the applicable Class B Soil Matrix Table? |  |  |  |  | Yes |  | The applicable Class B Soil Matrix Table Screening Levels apply both within and beyond the Point of Compliance (complete the Class B Soil Screening Levels Table only – on next page). |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | No |  | Soil levels meet the requirements for Class B (complete the Class B Soil Screening Levels Table only – on next page). |  |  |  |  |  |  |  |  |  |  |  |  |
| Note: Domestic-use wells, domestic-use springs, or domestic-use cisterns: if site-specific information demonstrates no potential impact (e.g., a domestic-use well hydrogeologically upgradient from the excavation zone) to domestic-use wells, domestic-use springs, or domestic-use cisterns from a release within the excavation zone, those features shall be disregarded in the determination of a UST facility classification. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instructions for Class A Soil: Only complete the Class A Soil Screening Levels Table below for a UST facility classified as Class A in Section 7.1.1. If the UST facility does not qualify for Class A, complete the Class B Soil Screening Levels Table on the next page. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Row 1 | Identifies the baseline soil screening levels for Class A. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Row 2 | Identify the applicable Matrix Table (refer to Table 2 of the UST Corrective Action Manual). Based on the identification of the appropriate Matrix Table, depth to groundwater and soil type, complete the Class B Soil Matrix Table Screening Levels beyond the Point of Compliance (refer to Tables 2 through 5 of the UST Corrective Action Manual). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Row 3 | Identify the adjusted soil screening levels required within the Point of Compliance for a UST facility in Class A by choosing the less stringent constituent levels from Rows 1 and 2 for each constituent. Row 3 identifies the final soil screening levels within the Point of Compliance. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Class A Soil Screening Levels Table (ppm) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Row |  |  |  | B |  | T |  | E |  | X |  | Ch | B(a)A |  | cPAH |  | nPAH | NAP | Lead |
| 1 |  | Class A Baseline Soil Screening Levels within the Point of Compliance |  | 2 |  | 18 |  | 30 |  | 50 |  | 15 | 0.15 |  | 0.3 |  | 10 | 5 | 400 |
| 2 |  | Matrix Table Soil Screening Levels beyond the Point of Compliance |  | Class B Soil Matrix Table: |  |  |  |  |  |  | Soil Type: |  |  |  |  | Depth to Groundwater: |  |  |  |
| 3 |  | Class A Adjusted Soil Screening Levels within the Point of Compliance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| AI |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Instructions for Class B Soil: Only complete the Class B Soil Screening Levels Table below for a UST facility classified as Class B in Section 7.1.2 of the UST Corrective Action Manual. Identify the applicable Matrix Table (refer to Table 2 of the UST Corrective Action Manual). Based on the identification of the appropriate Matrix Table, depth to groundwater and soil type, complete the Class B Soil Matrix Table Screening Levels beyond the Point of Compliance (refer to Tables 2 through 5 of the UST Corrective Action Manual). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Class B Soil Screening Levels Table (ppm) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Soil Screening Levels within and beyond the Point of Compliance |  |  | Class B Soil Matrix Table: |  |  |  |  |  |  |  |  |  | Soil Type: |  |  |  |  |  | Depth to Groundwater: |  |  |  |  |  |
|  |  |  | B |  |  | T |  |  | E |  | X |  |  | Ch |  | B(a)A |  | cPAH |  |  | nPAH |  | NAP | Lead |
| - Groundwater Classification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Groundwater Classification Instructions: Answer applicable questions. This guide places the UST facility into a particular class and establishes UST system screening levels for groundwater. Refer to Section 7.2 of the UST Corrective Action Manual regarding criteria for groundwater classification. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is the UST facility serviced by a public water supply? |  |  |  |  | Yes |  |  | Proceed to question B. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | No |  |  | Groundwater Table I screening levels apply within and beyond the Point of Compliance (complete the Groundwater Screening Levels within the Point of Compliance below). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are domestic-use wells, domestic-use springs, or domestic-use cisterns located within a 100-meter (328 feet) radius from the excavation zone? |  |  |  |  | Yes |  |  | Groundwater Table I screening levels apply within and beyond the Point of Compliance (complete the Groundwater Screening Levels within the Point of Compliance below). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | No |  |  | Proceed to question C. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | N/A |  |  | Domestic-use wells, domestic-use springs, or domestic-use cisterns were disregarded. *See note. Proceed to question C. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are domestic-use wells, domestic-use springs, or domestic-use cisterns located within a 100-meter (328 feet) to 300-meter (984 feet) radius from the excavation zone? |  |  |  |  | Yes |  |  | Groundwater Table II screening levels apply within the Point of Compliance and Groundwater Table I screening levels apply beyond the Point of Compliance (complete the Groundwater Screening Levels within the Point of Compliance below). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | No |  |  | Groundwater Table III screening levels apply within the Point of Compliance and Groundwater Table I screening levels apply beyond the Point of Compliance (complete the Groundwater Screening Levels within the Point of Compliance below). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | N/A |  |  | Domestic-use wells, domestic-use springs, or domestic-use cisterns were disregarded. *See note. Groundwater Table III screening levels apply within the Point of Compliance and Groundwater Table I screening levels apply beyond the Point of Compliance (complete the Groundwater Screening Levels within the Point of Compliance below). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Note: Domestic-use wells, domestic-use springs, or domestic-use cisterns: if site-specific information demonstrates no potential impact (e.g., a domestic-use well hydrogeologically upgradient from the excavation zone) to domestic-use wells, domestic-use springs, or domestic-use cisterns from a release within the excavation zone, those features shall be disregarded in the determination of a UST facility classification. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instructions for Groundwater Screening Levels: Complete the Groundwater Screening Levels Table below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Row 1 | Identify the applicable Groundwater Table and corresponding BTEX screening levels within the Point of Compliance (refer to Table 6 of the UST Corrective Action Manual). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Row 2 | Identifies Groundwater Table 1 and corresponding screening levels beyond the Point of Compliance. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Groundwater Screening Levels (ppm) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Row |  |  |  | B |  |  | T |  |  | E |  | X |  |  | cPAH |  | nPAH |  |  | NAP |  | Dissolved Lead* |  |  |
| 1 |  | Groundwater Screening Levels within the Point of Compliance |  | Groundwater Table: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0.005 |  | 3 |  |  | 0.3 |  | 0.015 |  |  |
| 2 |  | Groundwater Screening Levels beyond the Point of Compliance |  | 0.007 |  |  | 0.94 |  |  | 0.47 |  | 5.89 |  |  | 0.005 |  | 3 |  |  | 0.3 |  | 0.015 |  |  |

AI

| - Domestic-Use Wells, Domestic-Use Springs, and Domestic-Use Cisterns |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Instructions: Provide the physical address and contact information for the owner of each domestic-use well, domestic-use spring, or domestic-use cistern identified. All domestic-use wells, domestic-use springs, or domestic-use cisterns shall be remediated to the maximum contaminant levels (MCLs) established in 401 KAR Chapter 8. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Owner Name: |  |  |  |  |  |  |  |  | Physical Address: |  |  |  |  |  |  |  | Phone Number: ( ) - |  |  |
| DU Well | DU Spring |  |  |  |  | DU Cistern |  |  |  | Latitude: |  |  |  | Longitude: |  |  |  |  |  |
| Photo Attached: Yes |  |  |  | No, explain: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Owner Name: |  |  |  |  |  |  |  |  | Physical Address: |  |  |  |  |  |  |  | Phone Number: ( ) - |  |  |
| DU Well | DU Spring |  |  |  |  | DU Cistern |  |  |  | Latitude: |  |  |  | Longitude: |  |  |  |  |  |
| Photo Attached: Yes |  |  |  | No, explain: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Owner Name: |  |  |  |  |  |  |  |  | Physical Address: |  |  |  |  |  |  |  | Phone Number: ( ) - |  |  |
| DU Well | DU Spring |  |  |  |  | DU Cistern |  |  |  | Latitude: |  |  |  | Longitude: |  |  |  |  |  |
| Photo Attached: Yes |  |  |  | No, explain: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Owner Name: |  |  |  |  |  |  |  | Physical Address: |  |  |  |  |  |  |  |  |  | Phone Number: ( ) - |  |
| DU Well |  | DU Spring |  |  |  |  | DU Cistern |  |  |  | Latitude: |  | Longitude: |  |  |  |  |  |  |
| Photo Attached: Yes |  |  |  | No, explain: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Certification |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Under the requirements of KRS Chapter 322 and 322A, this checklist shall be completed and signed by a P.E. licensed with the Kentucky Board of Licensure for Professional Engineers and Land Surveyors or a P.G. registered with the Kentucky Board of Registration for Professional Geologists. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I, the undersigned, state, under penalty of law, that I have personally examined and am familiar with the information submitted in this and all attached documents, and that based on my inquiry of those individuals responsible for obtaining the information, I certify the submitted information is true, accurate and complete. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Printed |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Title |  |  |  |  |
| Signature |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date | / / |  |  |  |
| Professional Engineer |  |  |  |  |  |  |  |  |  |  |  | SEAL |  |  | Professional Geologist |  |  |  |  |
| License Number |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Registration Number |  |  |  |  |
| License Date |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Registration Date |  |  |  |  |
| If you have questions on how to fill out this form please contact the cabinet at (502) 564-5981 or visit our web site at https://eec.ky.gov/Environmental-Protection/Waste/underground-storage-tank. For copies of facility records please visit https://eec.ky.gov/Pages/Open-Records.aspx or email EEC.KORA@ky.gov. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| BTEX: | Benzene, Toluene, Ethylbenzene, and Xylene (total) |
| --- | --- |
| PAH: | Polynuclear Aromatic Hydrocarbons |
| Ch: | Soil screening level for Chrysene |
| B(a)A: | Soil screening level for Benzo(a)anthracene |
| cPAH: | Benzo(a)pyrene, Benzo(b)fluoranthene, Benzo(k)fluoranthene, Dibenzo(a,h)anthracene, and Indeno(1,2,3- cd)pyrene |
| nPAH: | Acenaphthene, Acenaphthylene, Anthracene, Benzo(ghi)perylene, Fluoranthene, Fluorene, Phenanthrene, and Pyrene |
| NAP: | Naphthalene |
| ppm: | mg/kg - parts per million for soil and mg/L – parts per million for groundwater |
| * | Samples shall be filtered prior to acid preservation. |