| Kentucky Department for Environmental Protection Division of Waste Management Underground Storage Tank Branch 300 Sower Boulevard, Second Floor – Frankfort KY 40601 (502) 564-5981 UST Closure Assessment Report Checklist | FOR OFFICIAL USE ONLY – DO NOT WRITE IN THIS SPACE |
| --- | --- |
| 1. UST Facility Information |
| Agency Interest Number (AI) |  |
| UST Facility Name |  |
| UST Facility Physical Address | Street Address: |
|  | City: | County: | Zip Code: - |
| UST Facility Location (Coordinates) | Latitude: | Longitude: |
| 2. UST System Owner Information |
| UST System Owner Name |  |
| UST System Owner Mailing Address | Street Address: |
|  | City: | State: | Zip Code: - |
| UST System Owner Contact Information | Phone: ( ) - | Alternate Phone: ( ) - |
|  | Email: |
| 3. Closure or Assessment Information |
| Release Reported | Yes | No | Incident Number: | Date Reported: / / |
| Closure or Assessment Date | / / |
| Type of Closure | Removal from the ground | Closure in Place | Change in Service Assessment |
| System Components Closed | Tank & Piping | Tank Only | Piping Only |
| SFMO Certified Remover Name |  | License Number: |
| Inert Material Used (tanks closed in place only) |  | Volume (y3): |
| Tanks are being replaced | Yes | No | Comments: |
| Pit # | Tank # | Size (gal) | Date Installed | List ALL Contents Ever Stored in UST System | Previously Registered |
|  |  |  | / / |  | Yes | No |
|  |  |  | / / |  | Yes | No |
|  |  |  | / / |  | Yes | No |
|  |  |  | / / |  | Yes | No |
|  |  |  | / / |  | Yes | No |
|  |  |  | / / |  | Yes | No |
|  |  |  | / / |  | Yes | No |
|  |  |  | / / |  | Yes | No |
|  |  |  | / / |  | Yes | No |
|  |  |  | / / |  | Yes | No |

| AI |
| --- |
| 4. Site-Specific Details |
| Applicable Regulation | 2019 Regulation | Backlog Regulation (effective prior to 4/18/94) |
| Soil Screening Levels (per Classification Guide) | Groundwater Screening Levels (per Classification Guide) |
| On-Site | Off-Site | On-Site | Off-Site |
| Class A | Class B Soil Matrix Table 1 | Groundwater Table 1 | Groundwater Table 1 |
| Class A Adjusted | Class B Soil Matrix Table 2 | Groundwater Table 2 | Backlog Levels |
| Class B Soil Matrix Table 1 | Class B Soil Matrix Table 3 | Groundwater Table 3 | Other – Variance Approved |
| Class B Soil Matrix Table 2 | Backlog Levels | Backlog Levels |  |
| Class B Soil Matrix Table 3 | Other – Variance Approved | Other – Variance Approved |  |
| Backlog Levels |  |  |  |
| Other – Variance Approved |  |  |  |
| Soil contamination confirmed above established screening levels? | Yes | No |
| Groundwater contamination confirmed above established screening levels? | Yes | No |
| Domestic-use wells, domestic-use springs, and/or domestic-use cisterns sampled (if applicable) | Yes (required) | N/A (none present within 100-meters) |
| Active or temporarily closed USTs on property? | Yes | No |
| Aboveground storage tanks (ASTs) on property? | Yes | No | Substance(s) stored: |
| Free product encountered? (provide pit number or soil boring ID) | Yes | No |  |
| 5. Closure or Assessment Details (attach additional pages as necessary) |
| Pit Number |  | Amount of backfill material excavated (tons) |  | N/A |
| Pit Dimensions (ft) | L x W x D | Piping dimensions (ft) | L x W x D |
| Bedrock depth (ft) – if known |  | N/A | All piping was contained in excavation | Yes | No |
| Excavation extends below soil/bedrock interface | Yes | No | Visible soil staining observed | Yes | No |
| Water present in excavation? | Yes – answer questions A & B below. | No – Proceed to Section 6. | NA |
| Water present in closed in place borings? | Yes – answer questions C, D, & E below. | No – Proceed to Section 6. | NA |
| A. Did water prevent the collection of bottom samples? | Yes | Photo of water in excavation (prior to pumping) provided (required) Initial water sample collected for analysis (required) Up to one (1) pit volume of water pumped from excavation (required) Photo of excavation zone (post-water removal) provided (required) Proceed to question B. |
|  | No | Collect bottom soil samples (required). No additional water requirements necessary. Proceed to Section 6. |
| B. Does recharge occur that prevents the collection of bottom samples? | Yes | Collect a secondary water sample for analysis (required). No additional water requirements necessary. Proceed to Section 6. |
|  | No | Collect bottom excavation samples (required). Proceed to Section 6. |
| C. An initial water sample was collected for analysis from the boring most likely to be contaminated. | Yes | (required) – Proceed to question D. |
| D. Water from the boring was removed as a single event (up to 1 bore volume). | Yes | (required) – Proceed to question E. |
| E. Does recharge occur with an accumulation in the boring? | Yes | Collect a secondary water sample for analysis (required). Proceed to Section 6. |
|  | No | No additional water requirements necessary. Proceed to Section 6. |

| AI |
| --- |
| 6. Management of Materials (attach additional pages as necessary) |
| Tank Number |  | Pit Number |  |
| Tank Contents | Present at time of closure activities | Yes | No | Volume (gal) |  |
| Residual Materials (sludge) | Present at time of closure activities | Yes | No | Volume (gal) |  |
|  | Analyzed for TCLP | Yes | No | Declared Hazardous | Yes | No |
| Cleaning Materials | Cleaning materials used | Yes | No | Volume (gal) |  |
|  | Analyzed for TCLP | Yes | No | Declared Hazardous | Yes | No |
|  | Combined with residual materials for disposal | Yes | No |
| Tank Number |  | Pit Number |  |
| Tank Contents | Present at time of closure activities | Yes | No | Volume (gal) |  |
| Residual Materials (sludge) | Present at time of closure activities | Yes | No | Volume (gal) |  |
|  | Analyzed for TCLP | Yes | No | Declared Hazardous | Yes | No |
| Cleaning Materials | Cleaning materials used | Yes | No | Volume (gal) |  |
|  | Analyzed for TCLP | Yes | No | Declared Hazardous | Yes | No |
|  | Combined with residual materials for disposal | Yes | No |
| Tank Number |  | Pit Number |  |
| Tank Contents | Present at time of closure activities | Yes | No | Volume (gal) |  |
| Residual Materials (sludge) | Present at time of closure activities | Yes | No | Volume (gal) |  |
|  | Analyzed for TCLP | Yes | No | Declared Hazardous | Yes | No |
| Cleaning Materials | Cleaning materials used | Yes | No | Volume (gal) |  |
|  | Analyzed for TCLP | Yes | No | Declared Hazardous | Yes | No |
|  | Combined with residual materials for disposal | Yes | No |
| Tank Number |  | Pit Number |  |
| Tank Contents | Present at time of closure activities | Yes | No | Volume (gal) |  |
| Residual Materials (sludge) | Present at time of closure activities | Yes | No | Volume (gal) |  |
|  | Analyzed for TCLP | Yes | No | Declared Hazardous | Yes | No |
| Cleaning Materials | Cleaning materials used | Yes | No | Volume (gal) |  |
|  | Analyzed for TCLP | Yes | No | Declared Hazardous | Yes | No |
|  | Combined with residual materials for disposal | Yes | No |
| Tank Number |  | Pit Number |  |
| Tank Contents | Present at time of closure activities | Yes | No | Volume (gal) |  |
| Residual Materials (sludge) | Present at time of closure activities | Yes | No | Volume (gal) |  |
|  | Analyzed for TCLP | Yes | No | Declared Hazardous | Yes | No |
| Cleaning Materials | Cleaning materials used | Yes | No | Volume (gal) |  |
|  | Analyzed for TCLP | Yes | No | Declared Hazardous | Yes | No |
|  | Combined with residual materials for disposal | Yes | No |

| AI |
| --- |
| 7. Optional Soil Removal |
| Optional soil removal outside the excavation zone was performed | Yes | No |
| Note: Optional soil removal in accordance with Section 4.16 of the UST Corrective Action Manual, shall cease upon encountering water that would require pumping more than one (1) pit volume during a single event to allow for further over-excavation. |
| Pit Number |  | Volume of soils over-excavated (tons) |  |
| Pit Dimensions after OE (ft) | L x W x D | Piping dimensions after OE (ft) | L x W x D |
| Water encountered which would require pumping to allow for further over-excavation | Yes | No | Amount of water removed (as a single event, up to one pit volume) (gal) |  |
| Pit Number |  | Volume of soils over-excavated (tons) |  |
| Pit Dimensions after OE (ft) | L x W x D | Piping dimensions after OE (ft) | L x W x D |
| Water encountered which would require pumping to allow for further over-excavation | Yes | No | Amount of water removed (as a single event, up to one pit volume) (gal) |  |
| 8. Surface Material Removed (complete all that apply) |
| Material | Area (ft2) | Thickness (inches) | Curbing (linear ft) | Rebar |
| Concrete |  |  | Yes | ln ft | No | Yes | No |
| Asphalt |  |  | Yes | ln ft | No |
| Grass |  |  | Other details: |
| Other (specify): |  |  | Other details: |
| 9. Field Activities |
| Narrative detailing site history (include past and present UST systems) | Yes (required) |
| Narrative describing permanent closure activities (e.g., tank removal, closure in place, change in service, etc.) | Yes (required) |
| Narrative describing soil and groundwater sampling and handling procedures (including field instrument calibration documentation) | Yes (required) |
| 10. Attachments |
| UST Classification Guide (DWM 4261) | Yes (required) |
| Site Map (refer to Section 4.7(C) of the UST Corrective Action Manual) | Yes (required) |
| Soil analytical table | Yes (required) |
| Soil boring logs (if applicable) | Yes (required) | N/A |
| Groundwater analytical table | Yes (required) | N/A |
| Analytical requirements attachments (refer to Section 4.15 of the UST Corrective Action Manual) | Yes (required) |
| Material management attachments (refer to Section 4.17 of the UST Corrective Action Manual) | Yes (required) |
| UST Certification of Properly Cleaned USTs (DWM 4260) | Yes (required) | N/A |
| Inert material invoice, indicating the volume purchased (closure in place only) | Yes (required) | N/A |
| Photographic documentation of permanent closure activities | Yes (required) |
| Photographs of water encountered in the excavation prior to pumping and post-pumping | Yes (required) | N/A |
| Photographic evidence of closed in place tanks filled to capacity | Yes (required) | N/A |

| AI |
| --- |
| 11. Analytical Requirements and Results |
| Analytical data sheets (attachment) | Yes (required) |
| Chains of custody (attachment) | Yes (required) |
| Trip blank analysis (BTEX water samples only) | Yes (required) | N/A |
| Narrative description of any flagged, qualified, or anomalous data | Yes (required) | N/A |
| 12. Decontamination and Material Management |
| Tank contents disposal, recycling, or treatment receipts/manifests | Yes (required) | N/A |
| Residual contents disposal, recycling, or treatment receipts/manifests | Yes (required) | N/A |
| Cleaning materials disposal, recycling, or treatment receipts/manifests | Yes (required) | N/A |
| Tank and/or piping disposal receipt or bill of sale (removal only) | Yes (required) | N/A |
| Soil disposal receipt/manifest summary | Yes (required) | N/A |
| Water disposal/treatment facility receipt or KPDES permit | Yes (required) | N/A |
| 13. Conclusions and Recommendations |
| Narrative discussion on conclusions drawn from field activities and analytical results | Yes (required) |
| Narrative supporting recommendations | No Further Action | Site Investigation |
| 14. Report Certification |
| Under the requirements of KRS Chapter 322 and 322A, this checklist and attached report shall be completed and signed by a P.E. licensed with the Kentucky Board of Licensure for Professional Engineers and Land Surveyors or a P.G. registered with the Kentucky Board of Registration for Professional Geologists. |
| I, the undersigned, state, under penalty of law, that I have personally examined and am familiar with the information submitted in this and all attached documents, and that based on my inquiry of those individuals responsible for obtaining the information, I certify the submitted information is true, accurate and complete. |
| Printed |  | Title |  |
| Signature |  | Date | / / |
| Professional Engineer |  | Professional Geologist |
| License Number |  |  | Registration Number |  |
| License Date | / / |  | Registration Date | / / |
| If you have questions on how to fill out this form please contact the cabinet at (502) 564-5981 or visit our web site at http://waste.ky.gov/ust. For copies of facility records please visit http://eec.ky.gov/pages/openrecords.aspx or email EEC.KORA@ky.gov. |

# Footnotes

Piping only – A Closure Assessment Report (CAR) is only required for any portion of piping that is not being replaced in the same trench.

SFMO – State Fire Marshal’s Office

KPDES – Kentucky Pollutant Discharge Elimination System

# Text boxes

SEAL