| Kentucky Department for Environmental Protection Division of Waste Management Underground Storage Tank Branch 300 Sower Boulevard, Second Floor – Frankfort KY 40601 (502) 564-5981 UST Site Check Checklist | FOR OFFICIAL USE ONLY – DO NOT WRITE IN THIS SPACE |
| --- | --- |
| 1. UST Facility Information |
| Agency Interest Number (AI) |  |
| UST Facility Name |  |
| UST Facility Physical Address | Street Address: |
|  | City: | County: | Zip Code: - |
| UST Facility Location (Coordinates) | Latitude: | Longitude: |
| 2. UST System Owner Information |
| UST System Owner Name |  |
| UST System Owner Mailing Address | Street Address: |
|  | City: | State: | Zip Code: - |
| UST System Owner Contact Information | Phone: ( ) - | Alternate Phone: ( ) - |
|  | Email: |
| 3. Property Owner Information |
| Property Owner Name |  |
| Property Owner Mailing Address | Street Address: |
|  | City: | State: | Zip Code: - |
| Property Owner Contact Information | Phone: ( ) - | Alternate Phone: ( ) - |
|  | Email: |
| 4. Site-Specific Details |
| Release/Incident Numbers and Dates |  |  |  |  |
| Applicable Regulation | 2019 Regulation | Backlog Regulation (effective prior to 4/18/94) |
| Soil Screening Levels (per Classification Guide) | Groundwater Screening Levels (per Classification Guide) |
| On-Site | Off-Site | On-Site | Off-Site |
| Class A | Class B Soil Matrix Table 1 | Groundwater Table 1 | Groundwater Table 1 |
| Class A Adjusted | Class B Soil Matrix Table 2 | Groundwater Table 2 | Backlog Levels |
| Class B Soil Matrix Table 1 | Class B Soil Matrix Table 3 | Groundwater Table 3 | Other – Variance Approved |
| Class B Soil Matrix Table 2 | Backlog Levels | Backlog Levels |  |
| Class B Soil Matrix Table 3 | Other – Variance Approved | Other – Variance Approved |  |
| Backlog Levels |  |  |  |
| Other – Variance Approved |  |  |  |
| 5. Current Site Details |
| Soil Contamination confirmed above applicable screening levels? | Yes | No |
| Groundwater Contamination confirmed above applicable screening levels? | Yes | No |

| AI |
| --- |
| Current Site Details (continued from Section 5) |
| Preferential flow-paths? | Anthropogenic: | Yes | No | Natural: | Yes | No |
| Free product encountered? (photographs provided) | Yes | Thickness (in): | No |
| Historical vapor issues? | Yes | No |
| Impacted receptors? | Yes | No |
| Site supplied by public water? | Yes | No |
| Active tanks on property? | Yes | No |
| Temporarily closed tanks on property? | Yes | No |
| Other non-UST cleanup activities ongoing? | Yes | No | Applicable Program(s): |  |
| UST facilities identified w/in 100-meters (both current and historical)? | Yes | No | List AI Numbers: |  |
| Aboveground storage tanks on property? | Yes | No | Substance(s) stored: |  |
| 6. Site Information and History |
| Detailed description of the incident that initiated the site check | Yes (required) |
| Site and area description | Yes (required) |
| Discussion of past and present tank and piping systems | Yes (required) |
| Is site located in a carbonate bedrock or karst setting? | Yes | No |  |  |
| Narrative regarding wellhead protection areas and domestic-use wells, domestic-use springs, and/or domestic-use cisterns? | Yes (required) |
| 7. Attachments (Refer to the UST Corrective Action Manual, Section 3.3 Reporting) |
| UST Classification Guide (DWM 4261) | Yes (required) | N/A |
| Site Map | Yes (required) |
| Soil and groundwater attachments (refer to Section 8 on form) | Yes (required) |
| Analytical attachments (refer to Section 9 on form) | Yes (required) |
| Photographs of the UST facility and contiguous properties | Yes (required) |
| Tank and tightness test (most recent) | Yes (required) |
| Repair and replacement records related to the release | Yes (required) |
| UST system release detection records | Yes (required) |
| 8. Field Investigations |
| Soil | Narrative describing soil sampling and handling procedures? | Yes (required) | N/A |
|  | Field instrument calibration documentation (attachment) | Yes (required) | N/A |
|  | Soil analytical table (attachment) | Yes (required) | N/A |
|  | Soil boring logs (attachment) | Yes (required) | N/A |
| Groundwater | Narrative describing groundwater sampling and handling procedures? | Yes (required) | N/A |
|  | Groundwater analytical table (attachment) | Yes (required) | N/A |
|  | Groundwater gauging data table (attachment) | Yes (required) | N/A |
|  | Monitoring well construction and/or plugging records (attachment) | Yes (required) | N/A |

| AI |
| --- |
| Field Investigations (continued from Section 8) |
| Groundwater | Monitoring well schematic drawings (attachment) | Yes (required) | N/A |
|  | Photographs of monitoring well installation/repair/abandonment (attachment) | Yes (required) | N/A |
|  | Bedrock wells are recommended | Yes | No |
| Analytical Requirements and Results |
| Analytical data sheets (attachment) | Yes (required) |
| Chains of custody (attachment) | Yes (required) |
| Trip blank analysis (BTEX water samples only) | Yes (required) | N/A |
| Field blank analysis (BTEX water samples only, if directed) | Yes | N/A |
| Narrative description of any flagged, qualified, or anomalous data | Yes (required) |
| Decontamination and Material Management |
| Summary of decontamination procedures? | Yes (required) |
| Summary of handling and storage of investigation derived waste? | Yes (required) |
| Conclusions |
| Narrative discussion on the analytical results and field investigations | Yes (required) |
| Discussion as to whether the groundwater encountered constitutes a current or potential source for domestic-use | Yes (required) | N/A |
| Discussion of contaminant mobility, migration pathways, and potential receptors | Yes (required) | N/A |
| Discussion of potential impacts to buried utility conduits | Yes (required) | N/A |
| Recommendations |
| Continued Site Investigation | Yes (recommendations provided – required) | No |
| No Further Action | Yes (recommendations provided – required) | No |
| Interim Corrective Action | Yes (recommendations provided – required) | No |
| Corrective Action | Yes (recommendations provided – required) | No |
| Report Certification |
| Under the requirements of KRS Chapter 322 and 322A, this checklist and attached report shall be completed and signed by a P.E. licensed with the Kentucky Board of Licensure for Professional Engineers and Land Surveyors or a P.G. registered with the Kentucky Board of Registration for Professional Geologists. |
| I, the undersigned, state, under penalty of law, that I have personally examined and am familiar with the information submitted in this and all attached documents, and that based on my inquiry of those individuals responsible for obtaining the information, I certify the submitted information is true, accurate and complete. |
| Printed |  | Title |  |
| Signature |  | Date | / / |
| Professional Engineer |  | Professional Geologist |
| License Number |  |  | Registration Number |  |
| License Date | / / |  | Registration Date | / / |
| If you have questions on how to fill out this form please contact the cabinet at (502) 564-5981 or visit our web site at http://waste.ky.gov/ust. For copies of UST facility records please visit http://eec.ky.gov/pages/openrecords.aspx or email EEC.KORA@ky.gov. |

# Text boxes

SEAL