| Kentucky Department for Environmental Protection Division of Waste Management Underground Storage Tank Branch 300 Sower Boulevard, Second Floor – Frankfort KY 40601 (502) 564-5981 UST Site Investigation Checklist | FOR OFFICIAL USE ONLY – DO NOT WRITE IN THIS SPACE |
| --- | --- |
| 1. UST Facility Information |
| Agency Interest Number (AI) |  |
| UST Facility Name |  |
| UST Facility Physical Address | Street Address: |
|  | City: | County: | Zip Code: - |
| UST Facility Location (Coordinates) | Latitude: | Longitude: |
| 2. UST System Owner Information |
| UST System Owner Name |  |
| UST System Owner Mailing Address | Street Address: |
|  | City: | State: | Zip Code: - |
| UST System Owner Contact Information | Phone: ( ) - | Alternate Phone: ( ) - |
|  | Email: |
| 3. Site-Specific Details |
| Release/Incident Numbers and Dates |  |  |  |  |
| Applicable Regulation | 2019 Regulation | Backlog Regulation (effective prior to 4/18/94) |
| Re-Evaluation of Classification | Classified correctly (no change) | Amended Classification Guide, DWM 4261 (included with report) |
| Soil Screening Levels (per Classification Guide) | Groundwater Screening Levels (per Classification Guide) |
| On-Site | Off-Site | On-Site | Off-Site |
| Class A | Class B Soil Matrix Table 1 | Groundwater Table 1 | Groundwater Table 1 |
| Class A Adjusted | Class B Soil Matrix Table 2 | Groundwater Table 2 | Backlog Levels |
| Class B Soil Matrix Table 1 | Class B Soil Matrix Table 3 | Groundwater Table 3 | Other – Variance Approved |
| Class B Soil Matrix Table 2 | Backlog Levels | Backlog Levels |  |
| Class B Soil Matrix Table 3 | Other – Variance Approved | Other – Variance Approved |  |
| Backlog Levels |  |  |  |
| Other – Variance Approved |  |  |  |
| 4. Current Site Details |
| Soil Contamination | Nature and extent (vertical and horizontal) defined? | Yes | No | N/A |
|  | Confirmed above applicable screening levels? | On-Site: | Yes | No |
|  |  | Off-Site: | Yes | No |
| Groundwater Contamination | Nature and extent (vertical and horizontal) defined? | Yes | No | N/A |
|  | Confirmed above applicable screening levels? | On-Site: | Yes | No |
|  |  | Off-Site: | Yes | No |
| Free product encountered? (provide photographs) | Yes | Thickness (in): | No |
| Impacted receptors? | Yes | No |
| Active or temporarily closed USTs on property? | Yes | No |
| Aboveground storage tanks on property? | Yes | No | Substance(s) stored: |

| AI |
| --- |
| 5. Site Information and History |
| Site supplied by public water? | Yes | No |
| Other non-UST cleanup activities ongoing? | Yes | No |
|  | List Applicable Program(s): |
| UST facilities identified w/in 100-meters (both current and historical)? | Yes | No |
|  | List AI Numbers: |
| Description of past and present use of property and adjacent/nearby properties? | Yes | No |
| Updated chronology of events provided? | Yes | No |
| Provide site photographs of UST facility | Yes | No |
| 6. Site Geology, Hydrogeology, and Stratigraphy |
| Narrative description on geology, hydrogeology, and surface water hydrology provided? | Yes |
| Narrative description of trends in groundwater flow provided? | Yes |
| Geologic Cross Section provided | Yes | No | N/A |
| Karst evaluation provided? | Yes | No | N/A |
| Is this site within a Well head protection Area | Yes | No | N/A |
| Discussion on water bearing zones associated with local domestic use? | Yes | No | N/A |
| 7. Maps |
| Instructions: Provide the following maps as required by the UST Corrective Action Manual. |
| Site Survey Map Vicinity Map Aerial (photograph) Map | Yes Yes Yes | Topographic Map Geologic Quadrangle Map | Yes Yes |
| Instructions: Provide the following maps if applicable to the data collected to date. |
| Contaminant Isocontour Maps | Soil: Groundwater: Vapor: | Yes Yes Yes | N/A N/A N/A | Groundwater Potentiometric Surface Map Bedrock Contour Map | Yes Yes | N/A N/A |
| 8. Field Investigations |
| Soil | Narrative describing soil sampling and handling procedures | Yes (required) | N/A |
|  | Field instrument calibration documentation | Yes (required) | N/A |
|  | Soil analytical table | Yes (required) | N/A |
|  | Soil boring logs | Yes (required) | N/A |
| Groundwater | Narrative describing groundwater sampling and handling procedures | Yes (required) | N/A |
|  | Groundwater analytical table | Yes (required) | N/A |
|  | Groundwater gauging data table | Yes (required) | N/A |
|  | Concentration and Groundwater Elevation Graphs | Yes (required) | N/A |
|  | Monitoring well construction and/or plugging records | Yes (required) | N/A |
|  | Monitoring well schematic drawings (installation/repair) | Yes (required) | N/A |
|  | Photographs of monitoring well installation/repair/abandonment | Yes (required) | N/A |
|  | Bedrock wells recommended | Yes | No |
| Vapor | Narrative describing vapor sampling and handling procedures | Yes (required) | N/A |
|  | Vapor analytical table | Yes (required) | N/A |
|  | Schematic of soil vapor probe | Yes (required) | N/A |

| AI |
| --- |
| 9. Analytical Requirements and Results |
| Analytical data sheets | Yes (required) |  |
| Chains of custody | Yes (required) |  |
| Trip blank analysis (BTEX water samples only) | Yes (required) | N/A |
| Narrative description of any flagged, qualified, or anomalous data | Yes (required) |  |
| 10. Decontamination and Material Management |
| Summary of decontamination procedures? | Yes (required) |  |
| Summary of handling and storage of investigation derived waste? | Yes (required) |  |
| 11. Off-Site Access and Encroachment Permits |
| Is off-site access necessary? | Yes | No |
| If yes, have the requirements of Section 5.7 of the UST Corrective Action Manual been completed? | Yes (required) |  |
| 12. Conclusions |
| Instructions: Provide a written discussion for the following as part of the conclusions. |
| Status of defining the horizontal and vertical extent of soil and groundwater contamination | Yes (required) |  |
| Groundwater encountered may be a potential source for domestic-use | Yes (required) |  |
| Potential contaminant migration between water bearing units | Yes (required) |  |
| Contaminant mobility, migration pathways, and potential receptors | Yes (required) |  |
| Dissolved phase groundwater plume (i.e., expanding, decreasing, stable) | Yes (required) |  |
| Potential impacts to buried utility conduits | Yes (required) |  |
| Data trends of all gauging and contaminant concentration data | Yes (required) |  |
| Implementation of abatement measures for vapors and free product | Yes | N/A |
| 13. Recommendations |
| Continued Site Investigation | Yes (required) | No | Interim Corrective Action | Yes (required) | No |
| No Further Action | Yes (required) | No | Corrective Action | Yes (required) | No |
| 14. Report Certification |
| Under the requirements of KRS Chapter 322 and 322A, this checklist and attached report shall be completed and signed by a P.E. licensed with the Kentucky Board of Licensure for Professional Engineers and Land Surveyors or a P.G. registered with the Kentucky Board of Registration for Professional Geologists. |
| I, the undersigned, state, under penalty of law, that I have personally examined and am familiar with the information submitted in this and all attached documents, and that based on my inquiry of those individuals responsible for obtaining the information, I certify the submitted information is true, accurate and complete. |
| Printed |  | Title |  |
| Signature |  | Date | / / |
| Professional Engineer |  | Professional Geologist |
| License Number |  |  | Registration Number |  |
| License Date | / / |  | Registration Date | / / |
| If you have questions on how to fill out this form please contact the cabinet at (502) 564-5981 or visit our web site at http://waste.ky.gov/ust. For copies of UST facility records please visit http://eec.ky.gov/pages/openrecords.aspx or email EEC.KORA@ky.gov. |

# Text boxes

SEAL