CSO Outfall Elimination Certification

Facility Name _________________________________________________________  KPDES Permit No. ___________________

Outfall Number and Name ________________________________________________ Lat/Long  ___________________________

Receiving Water _______________________________________________________

Complete this form for each Combined Sewer Overflow (CSO) outfall that you wish to remove from your KPDES permit or application. The outfall must be physically incapable of having a discharge of separate sanitary or combined sewage. Any future sanitary discharge from the outfall will be an unpermitted discharge.

How was the CSO eliminated? (Check all that apply to this outfall)

Combined sewer pipe is converted to a storm-water only pipe with new sanitary sewers constructed and sanitary connections to the existing combined sewer removed Combined sewer pipe is converted to a sanitary-only pipe with new storm sewers constructed and stormwater connections to the existing combined sewer removed Regulator or CSO outfall is sealed and plugged with bricks, concrete, or other material so that no overflow can physically discharge CSO components such as regulator, combined sewer pipes, and/or outfall structure are physically removed Other (explain):

Describe the actions taken that allow the outfall to be eliminated: (Check all that apply to this outfall)

New separate sewers constructed Capacity increase of sewers, pump stations, storage, and/or WWTP Monitoring and modeling indicate that the outfall does not discharge Other (explain):

Detailed project description, including completion dates:

Describe monitoring and modeling that has been conducted or is planned to show that no sanitary sewer overflows (SSOs) or basement backups result from inactivation of this CSO outfall. KDOW recommends monitoring an outfall and potential SSO locations for 2 years after project completion before removing an outfall from the permit.

Include appropriate supporting documentation needed to confirm outfall elimination: (Check all that are attached)

Construction plans, drawings, or engineering reports Construction pictures showing removal/replacement/plugging/disconnection Summary of modeling and monitoring including size of storms used for design Site visits by DOW Field Office or Wet Weather Section staff Discharge sampling of CSO outfall converted to MS4 outfall to confirm no sanitary flow CCTV, smoke testing, dye testing, or other testing to confirm removal of sanitary or stormwater connections Other documentation (describe):

This certification must be signed by either a principal executive officer or ranking elected official.

I certify that I am familiar with this facility and to the best of my knowledge this outfall can no longer discharge pollutants to waters of the Commonwealth, will not discharge wastewater in the future, and the information provided is true, complete, and accurate.

Signature:      _____________________________________________________________

Printed Name:____________________________________________________________

Date: 	        ______________________________________

Submit this form along with a map showing outfall location to:

Kentucky Division of Water

Surface Water Permits Branch

Wet Weather Section

300 Sower Boulevard

Frankfort, KY 40601