## Instructions
Site Sampling Plan Update Instructions
Version: 04 Feb, 2026
Sampling Point Code
A unique 3 -character code used to identify a specific sampling site location. Codes for distribution sites are assigned by the water system and cannot be duplicated. Examples: 002, 151, R01
Special sampling point code instructions for Lead and Copper Rule Improvements (LCRI) tap sampling sites:
Assign a new unique sample point code for all sites to be used for LCRI tap sampling, even if the site was previously used for LCR. If sampling prior to 2028, include the tier designation for both rules (LCR and LCRI).
Name
Include the business, school, or owner’s name at that location. Use names that are durable, long-lasting, and stay with address rather than using homeowner names. Consider using the account number for the name so it stays with address. Consider that any names sent to DOW are subject to open records requests and may become public.
Address
Must be the physical address. Should include the street number in addition to street name. No P.O. boxes or approximate locations will be accepted. Use a consistent naming convention (Road vs. Rd., and be consistent with the method state highway addresses are listed).
Latitude and Longitude
Must be in decimal format.
Sample Point Type
Distribution system: Sample collected after water has left the treatment plant and is being delivered to customer. For example, sampling at a school, business, or residence for Lead & Copper, RTCR, etc.
Entry point/Plant Tap: Sample collected at the point where water leaves the treatment plant and/or enters the distribution system, but before it reaches the first customer. This is where most chemical samples (inorganics, volatile organic compounds, secondaries, etc.) are collected.
First customer: Sample collected at the first customer in the distribution system. Required for chlorine dioxide and chlorite sampling.
Midpoint in distribution system: Use this for locations where disinfection byproducts (DBPs) are sampled. This designation is for those samples not collected at the point of maximum retention, which were generally identified in the IDSE.
Point of maximum retention: The location(s) in the distribution system where water sits undisturbed the longest (i.e., where water age is highest). Most water systems must collect at least one disinfection by-product (DBP) sample quarterly and one fluoride sample monthly from this location. Systems with populations >10,000 must collect 25% of DBP samples from these locations.
Raw water source: Sample collected from untreated water before entering the treatment plant but after sources are combined (if there are multiple intakes or wells).
Source water point: Sample collected at the source of the water; for example, before entering the intake of a surface water source.
TOC Location
Raw: Sample from untreated water
CFE: Sample from the combined filter effluent
* Leave blank if submitting this form for the Site Sample Plan update for LCRI
LCR Tier (pre-2028)
Tier 1 : | Single family structure with copper pipes & lead solder installed after 1982, and/or served by lead service line.
Tier 2: | Buildings or multi-family residences with copper pipes with lead solder installed after 1982; or those that contain lead pipes, or served by LSL.
Tier 3: | Single family structure with copper pipes with lead solder installed before 1983.
Non-tier: | Representative sites throughout the distribution system that do not meet any of the above tier definitions.
Lead and Copper Rule Improvements (LCRI) Site Sample Plan Information (due to DOW by January 1, 2028)
If this document is to be used to meet the requirements for the Site Sample Plan of the LCRI (per 40 CFR 141.90(a)), it must include all lead and copper sampling locations and all water quality parameter (WQP) sampling locations, even if some of those locations are not new for the water system. When submitting to DOW, also include a copy of the sample collection instructions that will be provided to individuals collecting the samples.
Lead and Copper Sample Locations: For lead and copper monitoring under LCRI, each tap sampling site must have a tier number designated between 1-5. All sites at which samples will be collected to meet routine sampling requirements must be from the highest tier available (e.g., use all tier 1 sites before sampling at tier 2 sites). All community and non-transient non-community water systems are required to complete a baseline service line inventory (BSLI) by 11/1/2027. The BSLI is an inventory of the material and location of every service line connected to the distribution system. Water systems must utilize the BSLI to determine how many sites for each tier are in the distribution system and choose sampling points appropriately.
Water Quality Parameter Sample Locations: Water quality parameter samples may be collected from the same sites as lead and copper samples, or from RTCR sample sites. The plant tap (EPTDS) should also be listed as a WQP sample location. Water systems using this form for the Site Sample Plan compliance requirement of the LCRI must list any RTCR or other sites they plan to designate as WQP monitoring sites when submitting this form.
School and childcare facility sampling: These facilities should not be added to the LCRI Site Sample Plan
Lead and Copper Rule Improvements (LCRI) Lead and Copper tap sampling tiers as defined in 40 CFR 141.86(a)(4):
(i) Tier 1 sampling sites are single-family structures with premise plumbing made of lead and/or served by a lead service line. (ii) Tier 2 sampling sites are buildings, including multiple-family residences, with premise plumbing made of lead and/or served by a lead service line. (iii) Tier 3 sampling sites are sites that are served by a lead connector. Tier 3 sites are also sites served by a galvanized service line or containing galvanized premise plumbing identified as ever having been downstream of a lead service line. Tier 3 for community water systems only includes single-family structures. [Note: not all 'GRR' sites will be Tier 3 sites - only those with a documented history of being downstream from a lead service line.] (iv) Tier 4 sampling sites are sites that contain copper premise plumbing with lead solder installed before the effective date of the State's applicable lead ban [January 1, 1988]. Tier 4 for community water systems only includes single-family structures. (v) Tier 5 sampling sites are sites that are representative of sites throughout the distribution system. . . . a representative site is a site in which the plumbing materials used at that site would be commonly found at other sites served by the water system.
The table below is provided as guidance to assist with determining tiered sites for LCR sampling may change for LCRI.
LCR |  | LCRI
Tier 1 |  | Possible Tier 1 (LSL) or Tier 4 (dependent on install date) | LSL = Lead Service Line
Tier 2 |  | Possible Tier 2 (LSL) or Tier 4 (dependent on install date) | GRR = galvanized requiring replacement service line
Tier 3 |  | Possible Tier 4
Non-tier |  | Tier 5 or Tier 3 (if known lead connector or GRR with known history of LSL)
Service Line ID - LCRI Sample Sites
Enter the unique service line ID associated with the selected tap sampling site from the most recent service line inventory . The service line ID should remain the same for each service line from the initial service line inventory to the baseline service line inventory due in November 2027, and any inventory updates after that.
NOTE: Service line ID is an important part the proposed Site Sample Plan. A complete and accurate service line inventory must also be on file with DOW. If your water system has outstanding deficiencies with the service line inventory, corrections may be required before a Site Sample Plan is approved.
Site Used for WQP (Water Quality Parameters)
Indicate Yes/No to specify if the site is used for WQP

## P1 SamplingPointLocations
|  |  |  | ENERGY AND ENVIRONMENT CABINET |  |  | PWSID:
|  | DEPARTMENT FOR ENVIRONMENTAL PROTECTION |  |  |  |  | PWS Name:
|  |  |  | DIVISION OF WATER |  |  | Address:
|  |  |  | 300 SOWER BOULEVARD |  |  | City, State, ZIP:
|  |  |  | FRANKFORT, KENTUCKY 40601 |  |  | County:
Drinking Water Site Sampling Plan Updates | [6 empty] | Service Connections (active): | [7 empty] | Submit completed form via eForm 169 at EEC eForms
System Population Served:
If seasonal, dates in use:
See instructions tab before completing
Sampling point information: | [6 empty] | Choose options from drop-down lists
Sampling Point Code | Name | Address | City | State, ZIP | Latitude DD format | Longitude DD format | New, Update, or Inactivate? | Facility type | Sample Point Type | TOC location | LCR Tier (for sampling prior to 2028) | LCRI Tier | Service Line ID (from SL inventory) | Site Used for WQP | Comments

## P2 RTCR Sampling Schedule
Revised Total Coliform Rule Sampling Schedule
A Site Sampling Plan is required for all public water systems by the Revised Total Coliform Rule (40 CFR 141.853). This plan must identify sampling locations throughout the distribution system (Page 1 of this workbook) and include a sampling schedule to ensure samples are representative of the water throughout the distribution system. Water systems must complete the applicable sampling schedule section below, which is dependent on the population served and source type of the water system. It is not necessary to resubmit P1 (Sampling Point Locations) for this requirement if the current list of locations on file with DOW is current. Submit this page to DOW by January 1, 2028.
Groundwater Systems Serving > 4,900 OR Surface Water Systems Serving > 3,300
Indicate which zones of the distribution system will be sampled for each time period of the month by selecting the corresponding check boxes. These zones are similar to what DOW has requested as N, S, E, and W zones for chlorine residual sampling and are defined by the water system. Every distribution zone should be represented in at least one period each month. Systems must collect samples at regular time intervals throughout the month (all samples can not be collected in one week).
|  |  | Distribution System Zone |  |  | Monthly Time Periods
[6 empty] | Week 1 | Week 2 | Week 3 | Week 4 | Week 5
|  |  | Zone 1 |  |  | FALSE | FALSE | FALSE | FALSE | FALSE
|  |  | Zone 2 |  |  | FALSE | FALSE | FALSE | FALSE | FALSE
|  |  | Zone 3 |  |  | FALSE | FALSE | FALSE | FALSE | FALSE
|  |  | Zone 4 |  |  | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | Yes | No | (see comments)
[5 empty] | All repeat downstream locations (RPD) are within 5 service connections downstream? | [5 empty] | FALSE | FALSE
Total Monthly Samples: |  |  |  |  | All repeat upstream locations (RPU) are within 5 service connections upstream? | [5 empty] | FALSE | FALSE
Repeat Sample Originals (RPO) are at the original positive location
Additional Comments:
Groundwater Systems Serving ≤ 4,900 OR Surface Water Systems Serving ≤ 3,300
Routine Samples - List the approved sampling point codes (1 minimum, 5 maximum) that will be sampled each month. A groundwater system serving 4,900 or fewer and collecting all samples on a single day per month cannot sample the same locations in two consecutive months. Surface water systems (or groundwater under direct influence of surface water) collecting more than one sample per month should not collect all samples on the same day. This is a proposed schedule to be generally followed each month, but minor deviations from the schedule and/or selected sites are acceptable if necessary.
Repeat Samples - A total of three repeats should be collected within 5 connections upstream, downstream, and at the original positive location if possible. Indicate if the repeats will be collected within 5 connections upstream/downstream with the corresponding check box or select the check box for "Alternative" and provide a location description. Both check boxes might be selected if some sample points for that month have up and down locations but others do not. For small non-community systems (campgrounds, marinas, stores, etc.), both repeat locations might be the same. Use the additional comments box at the bottom if needed.
Routine Sample Locations |  |  |  |  | Month | Repeat Sample Locations
Sample point 1 | Sample point 2 | Sample point 3 | Sample point 4 | Sample point 5 |  | ≤ 5 Connections upstream & downstream |  |  | Alternative | Alternative Location Description
[5 empty] | Jan | FALSE |  |  | FALSE
[5 empty] | Feb | FALSE |  |  | FALSE
[5 empty] | Mar | FALSE |  |  | FALSE
[5 empty] | Apr | FALSE |  |  | FALSE
[5 empty] | May | FALSE |  |  | FALSE
[5 empty] | Jun | FALSE |  |  | FALSE
[5 empty] | Jul | FALSE |  |  | FALSE
[5 empty] | Aug | FALSE |  |  | FALSE
[5 empty] | Sep | FALSE |  |  | FALSE
[5 empty] | Oct | FALSE |  |  | FALSE
[5 empty] | Nov | FALSE |  |  | FALSE
[5 empty] | Dec | FALSE |  |  | FALSE
Additional Comments:
Total Monthly Samples:

## Additional LCRI Requirements
Lead and Copper Rule Improvements (LCRI) Site Sampling Plan
40 CFR 141.90(a)
In addition to the list of sample sites for lead and copper and water quality parameters (orange tab in this workbook), water systems must submit the following to DOW prior to January 1, 2028 and any time the information needs to be updated (as described below). Note that not every requirement listed below applies to all water systems.
1 | A copy of the sample collection instructions provided to individuals collecting the sample (e.g., water system staff or customers). Instructions must meet the requirements of the protocol described at 40 CFR 141.86(b).
2 | Water systems with insufficient sites in the highest tier to meet the sampling requirements must submit documentation to support the conclusion that there are insufficient sites. This may include documentation of customer refusal to participate in LCRI sampling. For example, a water system is required to sample at 20 locations, but has only 15 Tier 1 locations, and customers refuse to allow sampling at 3 of those 15 locations. This system would be required to submit documentation, such as the most recent service line inventory, demonstrating that there are only 15 Tier 1 locations, in addition to documentation showing that the 3 customers either refused to participate or were non-responsive after at least two attempts at communication.
3 | Water systems that discover additional lead, galvanized requiring replacement, and/or lead status unknown service lines in the most recent service line inventory must submit an updated site sample plan to the State if those additional service lines would result in changes to the site sample plan. For example, a water system is required to collect 40 LCRI samples and has only had 20 known Tier 1 sites, but discovers an additional lead service line (LSL) in a later inventory - this system must submit an updated site sample plan to DOW, adding the newly-discoverd LSL as an additional Tier 1 site.

## DropdownOptions (hidden)
New | Treatment plant | Entry point / plant tap | Raw | Tier 1 | LSL SFR | Tier 1
Update | Distribution system | Distribution system | CFE | Tier 2 | LSL MFR | Tier 2
Inactivate | Combined distribution system | First customer |  | Tier 3 | Cu<83 SFR | Tier 3
| Intake | Midpoint in distribution system |  | Tier 4 | Cu>82 SFR | Non-Tier
| Well | Point of maximum retention |  | Tier 5 | Pb pipe SFR
| Consecutive connection | Raw water source |  |  | Cu>82 MFR
| Sampling station | Source water point |  |  | Pb pipe MFR
Cu<83 Non-res
Cu>82 Non-res
Pb pipe Non-res