## Method List
Kentucky Approved EPA Compliant Methods
Sample Matrix | Analyte | Hach Method | Reference Method | KY Approved | DOW Comments
WW | Acidity, as CaCO3, Phenolphthalein | 8010 | SM 2310 B | WW | ATP Review Date 2/17/83
WW | Ammonia as Nitrogen | TNT830 | EPA 350.1, EPA 351.1, EPA 351.2 | WW | ATP Return Letter and Method in EPA EMMC Format
WW | Ammonia as Nitrogen | TNT831 | EPA 350.1, EPA 351.1, EPA 351.2 | WW | ATP Return Letter and Method in EPA EMMC Format
WW | Ammonia as Nitrogen | TNT832 | EPA 350.1, EPA 351.1, EPA 351.2 | WW | ATP Return Letter and Method in EPA EMMC Format
WW | Ammonia, as Nitrogen, Nessler | 8038 | SM 4500-NH3 | WW | ATP Review Date 2/17/83
WW | Arsenic, Total | 8013 | SM 3500-As B or C | WW | ATP Review Date 2/17/83
WW | BOD | 8043 | SM 5210 B | WW | ATP Review Date 7/7/94
DW | Calcium, Total, Buret | 8222 | SM 3500-Ca B or D | DW | ATP Review Date 2/17/83
WW | Calcium, Total, Buret | 8222 | SM 3500-Ca B or D | WW | ATP Review Date 2/17/83
WW | Chemical Oxygen Demand | 8000 | 40 CFR 136.3 | WW | 40 CFR 136 Table 1B footnote 14
WW | Chemical Oxygen Demand, TNT Plus | TNT821/8000 | Hach Method 8000, 40 CFR 136.3 | WW | TNT method in EPA EMMC Format
WW | Chemical Oxygen Demand, TNT Plus | TNT822/8000 | Hach Method 8000, 40 CFR 136.3 | WW | TNT method in EPA EMMC Format
WW | Chloride, Silver Nitrate, Buret | 8225 | SM 4500-Cl B | WW | ATP Review Date 12/3/87
DW | Chlorine Dioxide, DPD/Glycine | 10126 | SM 4500-ClO2 D | DW | 10126 Version 2.0 Nov 15, 1999 ATP D99-0004 4500ClO2-D 19th ed
DW | Chlorine Free, DPD | 10260 | SM 4500-Cl G | DW | Appendix A to Subpart C of Part 141
DW | Chlorine Free, DPD | 8021 | SM 4500-Cl G | DW | ATP Review Date 1/20/87
DW | Chlorine, Total Residual | 8168 | SM 4500-Cl D | DW | ATP Review Date 2/17/83
WW | Chlorine, Total Residual | 8168 | SM 4500-Cl D | WW | ATP Review Date 2/17/83
WW | Chlorine, Total Residual, Amperometric Back Titration | 10025 | SM 4500-Cl C | WW | Modification 18th ed 4500Cl C, equivalent to 20th edition
DW | Chlorine, Total Residual, DPD | 8167 | SM 4500-Cl G | DW | ATP Review Date 4/28/95
DW | Chlorine, Total Residual, DPD | 10260 | SM 4500-Cl G | DW | Appendix A to Subpart C of Part 141
WW | Chlorine, Total Residual, DPD | 8167 | SM 4500-Cl G | WW | ATP Review Date 4/28/95
WW | Chlorine, Total Residual, DPD, ULR | 10014 | SM 4500-Cl G | WW | ATP review date 6/29/94
DW | Chlorine, Total, DPD ULR | 8370 | SM 4500-Cl G | DW | ATP review date 6/29/94
DW | Chlorine, Total, DPD ULR | 8370 | SM 4500-Cl G | DW | ATP review date 6/29/94
WW | Chlorine, Total, DPD ULR | 8370 | SM 4500-Cl G | DW | ATP review date 6/29/94
WW | Chromium VI, Dissolved | 8023 | SM 3500-Cr B or D | WW | ATP Review Date 2/17/83
WW | Chromium VI, TNTplus | TNT854 | SM 3500-Cr B or D | WW | Method in EPA EMMC Format and Method Comparison
DW | Coliform, Fecal, EC Medium with MUG |  | SM 9221 D Approved Media | DW | Media only
DW | Coliform, Total and E. Coli, m-ColiBlue24 | 10029 | 40 CFR 141.21, page 349 | DW | 40 CFR 141
DW | Coliforms, P/A Media |  | SM 9221 D Approved Media | DW | Media only
DW | Conductivity | 8160 | SM 2510 B | DW | ATP Review Date 2/17/83
WW | Copper, Bicinchoninate Procedure | 8506 | 40 CFR 136 | WW | 40 CFR 136 Table 1B footnote 19
WW | E. Coli in Wastewater | 10029 | 41 CFR 136 | WW | 40 CFR 136
SW | E. Coli, m-ColiBlue24, Enumeration | 10029 | 42 CFR 136 | WW | 41 CFR 136
DW | E. Coli, m-ColiBlue24, P/A | 10029 | 40 CFR 141.21 | DW | 40 CFR 136
WW | Fecal and Total Coliform | 8001 | SM 9221B/E | DW | ATP Review Date 2/17/83
DW | Fecal and Total Coliform | 8001 | SM 9221B/E | DW | ATP Review Date 2/17/83
SS | Fecal and Total Coliform | 8001A | SM 9221 E | WW | ATP Review Date 12/15/00
DW | Fecal and Total Coliform | 8001A | SM 9221 E | WW | ATP Review Date 12/15/00
SW | Fecal and Total Coliform | 8011A | SM 9221 E | WW | ATP Review Date 12/15/00
DW | Fluoride, SPADNS | 8029 | SM 4500-F B/D | DW | ATP Review Date 2/17/83
WW | Fluoride, SPADNS | 8029 | SM 4500-F B/D | WW | ATP Review Date 2/17/83
WW | Fluoride, SPADNS2, Arsenic Free | 10225 | SM 4500-F B or C | WW | Method in EPA EMMC Format and Method Comparison
DW | Fluoride, SPADNS2, Arsenic Free | 10225 | 40 CFR 141 | DW | 40 CFR 141
WW | Hardness, Calcium and Total, Buret | 8222 | SM 3500-Ca B or D | WW | ATP Review Date 2/17/83
WW | Hardness, Total, Buret | 8226 | SM 2340 B or C | WW | ATP Review Date 2/17/83
WW | Hydrogen Ion, pH | 8156 | SM 4500-H+ B | WW | ATP Review Date 2/17/83
WW | Iron, 1, 10-Phenanthroline | 8008 | 40 CFR 136 | WW | 40 CFR 136 Table 1B footnote 22
WW | Lead, Total, Dithizone | 8033 | SM 3500-Pb B or D | WW | ATP Review Date 5/27/87
DW | Lead, Total, Voltametry | 1001 | 40 CFR 141.23 | DW | 40 CFR 141
WW | Manganese, Periodate Oxidation | 8034 | 40 CFR 136 | WW | 40 CFR 136 Table 1B footnote 23
DW | Nitrate, Dimethylphenol | TNT835/10206 | 40 CFR 141 | DW | In Federal Register 5/31/2013
WW | Nitrate, Dimethylphenol | TNT835/10206 | NO3 & NO3/NO2 | WW* | Regional ATP but needs individual approval
WW | Nitrite as Nitrogen | TNT839/8507 | EPA 353.2 | WW | ATP Return Letter and Method in EPA EMMC Format
WW | Nitrite as Nitrogen | TNT840/8507 | EPA 353.2 | WW | ATP Return Letter and Method in EPA EMMC Format
WW | Nitrite Nitrogen | 8507 | 40 CFR 136 | WW | 40 CFR 136 Table 1B footnote 25
WW | Nitrogen, Total Kjeldahl | 10242 |  | WW* | Regional ATP but needs individual approval
WW | Oxygen, Dissolved, Luminescence | 10360 | 40 CFR 136 | WW | 40 CFR 136
WW | Oxygen, Dissolved, Polarographic | 8157 | SM 4500-O G | WW | ATP Review Date 2/17/83
WW | Oxygen, Dissolved, Winkler, Buret | 8229 | SM 4500-O C | WW | ATP Review Date 2/17/83
DW | pH | 8156 | EPA 150.1, 150.2; SM 4500-H+ B | DW | ATP Review Date 2/17/83
WW | Phenols, 4AAP | 8047 | EPA 420.1 | WW | ATP Review Date 1/5/87
DW/WW | Phosphate, Ortho | 8048 | EPA 365.1 | DW/WW | ATP N95-0014 EPA 365.1, D95-0011 EPA 365.2
WW | Phosphate, Ortho | TNT843/8048 | EPA 365.1 | WW | Method in EPA EMMC Format
WW | Phosphate, Ortho | TNT844/8048 | EPA 365.1 | WW | Method in EPA EMMC Format
WW | Phosphate, Ortho | TNT845/8048 | EPA 365.1 | WW | Method in EPA EMMC Format
WW | Phosphorus, Total | 8190 | EPA 365.1, 365.3 | WW | ATP N95-0015 EPA 365.2
WW | Phosphorus, Total | TNT843/8190 | EPA 365.1, 365.3 | WW | TNT Modification Approval
WW | Phosphorus, Total | TNT844/8190 | EPA 365.1, 365.3 | WW | TNT Modification Approval
WW | Phosphorus, Total | TNT845/8190 | EPA 365.1, 365.3 | WW | TNT Modification Approval
WW | Solids, Total Non-filterable | 8158 | SM2540 D | WW | ATP Review Date 2/17/83
WW | Specific Conductance | 8160 | EPA 120.1; SM 2510 B | WW | ATP Review Date 2/17/83
WW | Sulfate as SO4 | 8051 | ASTM D516-90, 02 | WW | ATP Review Date 2/17/83
WW | Sulfide as S | 8131 | SM 4500-S2 D | WW | ATP Review Date 5/29/87
WW | Sulfite as SO3, Buret | 8071 | SM 4500-SO3 B | WW | ATP Review Date 2/17/83
DW/WW | Turbidity | 8195 | 40 CFR 141 | DW/WW | ATP N97-0005 EPA 180.1
DW | Turbidity | GLI | 40 CFR 141 | DW | 40 CFR 141
WW | Zinc, Zincon | 8009 | 40 CFR 136.3 | WW | 40 CFR 136 Table 1B footnote 33
WW | Total Nitrogen as defined by KY is to be reported as the summation of the analytical results for Total Nitrates, Total Nitrites, and Total Kjeldahl Nitrogen | 10242 | EPA 351.2 | WW** | Regional ATP but needs individual approval
WW | Fecal Coliform | Colilert-18 | SM 9223 B | WW* | Regional ATP but needs individual approval
* Must request Regional EPA approval through Kentucky's Certifiaciton probram prior to use.
** Must have Regional EPA approval for TKN by 10242 & NO3/NO2 by 10206 prior to requsting Total Nitrogen by the 10242 method.

## 1996 Memo
Return to Method List
Double Click Image to Open

## Ammonia_Nitrite
ATP Return Letter | Hach 10205 Ammonia in EPA EMMC Format |  | Hach 10207 Nitrite in EPA EMMC Format
Double Click Image to Open |  | Double Click Image to Open | Double Click Image to Open
Return to Method List

## ClO2
Return to Method List
Double Click Image to Open

## Chlorine_Free
Return to Method List
Double Click Image to Open

## Chlorine_Total
Return to Method List
Double Click Image to Open

## Coliforms
Return to Method List
Double Click Image to Open

## Lead
Return to Method List
Double Click Image to Open

## TKN
Double Click Image to Open |  | Double Click Image to Open
Return to Method List

## Nitrate
Double Click Image to Open |  | Double Click Image to Open | Double Click Image to Open
Return to Method List

## P
|  |  | Test'N Tube | Ortho and Total Phosphorus Method with TNT
Ortho and Total Phosphorus |  | Double Click Image to Open |  |  | Double Click Image to Open
Double Click Image to Open
Return to Method List

## Turbidity
Return to Method List
Double Click Image to Open

## Phenols
Return to Method List
Double Click Image to Open

## Fluoride
Return to Method List
Double Click Image to Open

## Chromium VI
Return to Method List
Method says 10219, but that is for Total Chromium. Hexavalent Chromium is method 10218.
Double Click Image to Open

## COD
Return to Method List
Double Click Image to Open

## Total Nitrogen
Return to Method List
Double Click Image to Open

## Fecal Coliform
Return to Method List
Double Click Image to Open