## Initial MDL
MDL Study Workbook Version 1.2. 3/24/2020
Please Fill Out All White Cells
Laboratory: | [5 empty] | Certification Year:
Analyte: | [5 empty] | Method:
Instrument(s): | [5 empty] | Matrix:
Spike Concentration: | [5 empty] | Units:
Initial MDL Calculation and Validation Worksheet
Use this form if: |  | A new method is implemented;
OR a significant change has occurred and an initial MDL must be performed again;
OR the spiked blank concentration is changed.
Spiked Blanks | [5 empty] | Method Blanks
Yes
| Date Prepped | Date Analyzed | Result | % Recovery | No |  | Date Analyzed |  | Result
1 | [5 empty] | 1
2 | [5 empty] | 2
3 | [5 empty] | 3
4 | [5 empty] | 4
5 | [5 empty] | 5 |  |  |  | 0
6 | [5 empty] | 6
7 | [5 empty] | 7
8 | [5 empty] | 8
Average: | [5 empty] | Average:
Standard Deviation: | [5 empty] | Standard Deviation:
Student's t-value to use: |  |  |  | 0 |  | Student's t-value to use: |  |  |  | 0
Calculated MDLs: |  |  | <7 Spk Blks |  |  | Calculated MDLb: |  |  | <7 MBs
0 | 0
Calculated Initial MDL: |  |  |  |  | NA |  | (calculated from the greater of MDLs and MDLb)
NOTES
- Only use data associated with passing calibrations & passing batch QC (reported data).
- If none of the method blanks give numerical results for an individual analyte, then the MDLb does not apply.
- A numerical result includes positive & negative results, including results below the current MDL, but not results of “ND” (non-detect) commonly observed when a peak is not present in chromatographic analysis.
- Statistical outliers cannot be removed from the initial MDL calculation as routine variability must be captured by the procedure.
- Laboratories must use the most recent available data for method blanks and spikes.
LAB NOTES:
MDL Checks
OPTIONAL CHECK Low Spike Check - Did you spike too low? - - MDL < Spike Concentration - |  |  | MDL | [Spike] |  |  |  | If fails, you need to spike at higher concentration; the variability is too high.
NA
OPTIONAL CHECK High Spike Check - Did you spike too high? - - Spike Concentration < 10 x MDL - |  |  | [Spike] | MDL x 10 |  |  |  | If fails, you need to spike at lower concentration; the MDL is unrealistically low.
NA
Minimum Reporting Limit Check - MDL < Permit Limit? - |  |  | MDL | Permit Limit |  |  |  | If fails, the method must be optimized to be able to meet permit limits.
NA
OPTIONAL CHECK - Is average recovery reasonable? - |  |  | Lower Limit | Upper Limit |  |  |  | General guidelines, don't re-run study if outside limits

## Ongoing MDL
Ongoing MDL Calculation and Validation Worksheet
| Laboratory: | [9 empty] | Certification Year:
| Analyte: | [9 empty] | Method:
| Instrument: | [9 empty] | Matrix:
| Spike Concentration: | [9 empty] | Units:
Spiked Blanks (include all data generated within the last 2 years)
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
Date
Concentration
| Average: |  | 3: #DIV/0!
| Standard Deviation: |  | 3: #DIV/0!
| Student's t-value to use: |  | 3: #NUM!; 5: 0
| Calculated MDLs: |  | 3: <7 Spk Blks
Existing MDL: | bar: 1; 4 to 16
| Can the existing MDL be left unchanged? |  | 3: Enter existing MDL.; 8: Calculated MDLs:; 12: <7 Spk Blks
[10 empty] | Calculated MDL: |  |  |  | NA
| Spike level okay (<5% spiked blanks <0)? |  | 2: YES
[8 empty] | 0 | #DIV/0! | #DIV/0! | 0 |  |  | 0 | 0 | NO
NOTES:
- Recalculate MDLs and MDLb at least every 13 months.
- Include spiked blank data generated within the last 2 years as long as the data all used the same spike level (include initial results if within 2 years).
- If the lab thinks the sensitivity of the method has changed significantly, then the most recent data may be used (min. of 7 reps, 3 batches, over 3 days).
- The lab has the option to use only the last 6 months or the 50 most recent method blanks, whichever yields the greater number of blanks.
- The existing MDL can be left unchanged if the calculated MDL is within 0.5 - 2 times the existing MDL AND less than 3% of the method blanks are greater than the existing MDL.
- If sample analysis is not performed often for a given test, only quarters with actual sample analysis (do not include PT samples) need to have the spiked blanks analyzed. Take the last 24 months of data to generate the MDL.
- If the method is altered in a way that could be expected to change its sensitivity, then re-determine the initial MDL and restart the ongoing data collection.
- Only use data associated with passing calibrations and passing batch QC (reported data).
Stand. Dev.
Laboratory: |  |  | 10: Certification Year: |  |  | Result | Result Sort | 99th Percentile
Analyte: |  |  | 10: Method: |  |  |  | #NUM!
Instrument: |  |  | 10: Matrix: |  |  |  | #NUM!
Method Blanks (this spreadsheet can calculate up to 200 method blanks) | [21 empty] | #NUM!
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |  | #NUM!
Date | [21 empty] | #NUM!
Concentration | [21 empty] | #NUM!
| 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 |  | #NUM!
Date | [21 empty] | #NUM!
Concentration | [21 empty] | #NUM!
| 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 |  | #NUM!
Date | [21 empty] | #NUM!
Concentration | [21 empty] | #NUM!
| 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 |  | #NUM!
Date | [21 empty] | #NUM!
Concentration | [21 empty] | #NUM!
| 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 |  | #NUM!
Date | [21 empty] | #NUM!
Concentration | [21 empty] | #NUM!
| 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 |  | #NUM!
Date | [21 empty] | #NUM!
Concentration | [21 empty] | #NUM!
| 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 |  | #NUM!
Date | [21 empty] | #NUM!
Concentration | [21 empty] | #NUM!
| 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 160 |  | #NUM!
Date | [21 empty] | #NUM!
Concentration | [21 empty] | #NUM!
| 161 | 162 | 163 | 164 | 165 | 166 | 167 | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 | 176 | 177 | 178 | 179 | 180 |  | #NUM!
Date | [21 empty] | #NUM!
Concentration | [21 empty] | #NUM!
| 181 | 182 | 183 | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 | 200 |  | #NUM!
Date | [21 empty] | #NUM!
Concentration | [21 empty] | #NUM!
#NUM!
Select Option to Use: |  |  | 1: Stand. Dev.; 4: Existing MDL:; 7: 0 |  |  |  | #NUM!
Average: |  |  | 1: #DIV/0!; 4: Calculated MDLb:; 7: <7 MBs |  |  |  | #NUM!
Standard Deviation: |  |  | 1: #DIV/0!; 4: Calculated MDL:; 7: NA |  |  |  | #NUM!
Student's t-value : |  |  | 1: #NUM!; 4: Can the existing MDL be left unchanged? |  |  |  | #NUM!
#NUM! | bar: 1 to 3; 7 to 16
#NUM!
Number of method blanks entered: |  |  | 2: 0 |  |  |  | #NUM!
MDLb if standard deviation is used: |  |  | 2: #DIV/0! |  |  |  | #NUM!
MDLb if 99th percentile is used*: |  |  | 2: N/A |  |  |  | #NUM!
*OPTIONAL: Can only use 99th Percentile if more than 100 method blanks | [21 empty] | #NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!
#NUM!

## Notes
Additional Considerations:
- Please only fill in the White Cells. Attempting to alter other cells can result in gross error.
- Laboratories using this workbook are advised to double check all calculations generated within for accuracy.
- For questions or concerns regarding this workbook, please contact Lab Certification of the KY Division of Water at DOWLabCertification@ky.gov.
- This workbook was created with the help of several labs and state authorities including, but not limited to: West Virginia Department of Environmental Protection, Wisconsin Department of Natural Resources, and HydroAnalytical.
- The source documentation for this workbook is the Definition and Procedure for the Determination of the Method Detection Limit, Revision 2 (EPA 821-R-16-006, December 2016). All laboratories using this workbook for their own purposes are strongly advised to consult the EPA publication for clarification and reference calculations.
MDL Study Workbook Version 1.2. 3/24/2020