## Field DO
Field Dissolved Oxygen Record
Instrument: |  |  |  | Serial #: | Purchase Date:
| Date/Analyst | Meter Calibration % Saturation | Location | Time Collected/Analyzed | DO mg/L | Temp °C
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
Duplicate | Relative Percent Difference (20 % RPD Acceptable) =
Relative Percent Difference= Difference in duplicate readings divided by the average of duplicate readings times 100

## Field Chlorine
Field Total Residual Chlorine Record
Instrument: | [5 empty] | Serial #: |  | Purchase Date:
Standards |  |  |  | Manufacturer |  | Lot # |  | Exp Date
Calibration Verification Standards
|  |  |  | Low Conc: |  | Mid Conc: |  | High Conc:
Quality Control Standard (Quarterly)
| Date/Analyst | Location | Time Collected/Analyzed | Blank | Low (+/- 10%) | Mid (+/- 10%) | High (+/- 10%) | QCS mg/L | % Recovery (95-105) | Cl2 mg/L
1 |  |  | /
2 |  |  | /
3 |  |  | /
4 |  |  | /
5 |  |  | /
6 |  |  | /
7 |  |  | /
8 |  |  | /
9 |  |  | /
10 |  |  | /
11 |  |  | /
12 |  |  | /
13 |  |  | /
14 |  |  | /
15 |  |  | /
16 |  |  | /
17 |  |  | /
18 |  |  | /
19 |  |  | /
20 |  |  | /
Duplicate |  |  | Relative Percent Difference (20 % RPD Acceptable) =
Duplicate= 1 in 20 samples or at least one per quarter if sampling frequency is lower.
QCS= At least quarterly or each time of sampling if frequency is less.

## Field pH
Field pH Record
Instrument: |  |  |  |  | Serial #: |  |  |  | Purchase Date:
Buffers |  |  | Manufacturer |  |  | Lot # |  |  | Exp Date
pH 4
pH 7
pH 10
Quarterly QCS (second source)
| CALIBRATION | [6 empty] | SAMPLE
| Date/Analyst | Time of Calibration | pH 4 (± 0.10) | pH 7 (± 0.10) | pH 10 (± 0.10) | Calibration Verification (±0.10) | Quarterly QCS (±0.20) | Location | Time Collected/Analyzed | pH S.U. | Temp °C
1 | [8 empty] | /
2 | [8 empty] | /
3 | [8 empty] | /
4 | [8 empty] | /
5 | [8 empty] | /
6 | [8 empty] | /
7 | [8 empty] | /
8 | [8 empty] | /
9 | [8 empty] | /
10 | [8 empty] | /
11 | [8 empty] | /
12 | [8 empty] | /
13 | [8 empty] | /
14 | [8 empty] | /
15 | [8 empty] | /
16 | [8 empty] | /
17 | [8 empty] | /
18 | [8 empty] | /
19 | [8 empty] | /
20 | [8 empty] | /
Duplicate |  | Relative Percent Difference (20 % RPD Acceptable) =
Duplicate= 1 in 20 samples or at least one per quarter if sampling frequency is lower.
QCS= At least quarterly or each time of sampling if frequency is less.