Kentucky Department for Environmental Protection

Guidance Document and Instructions for Use

Quality Assurance Project Plan Template

For

Environmental Monitoring Projects

Division of Water

Quality Assurance Program

March 18, 2016

Version 7.0

This Page Intentionally Blank

Introduction

This template should be used as an aid in preparing an organization’s quality assurance project plan, or QAPP.  A QAPP is to be developed for all environmental monitoring projects that generate or use data. If the project includes activities besides monitoring (e.g., modeling, data analysis), the non-monitoring elements do not need to be included within the framework of the technical QAPP. However, the entire project may benefit from the structure and organization of a QAPP.

To use this template:

Replace the template narrative with the specifics of your project!

If an element in the template is not appropriate to your project, check with the project manager at the Kentucky Division of Water to ascertain the specific requirements. Elements that are agreed upon by all parties that are not applicable can be indicated as such in the QAPP text. Sections should not be left out of the QAPP, but ‘N/A’ inserted under the section header.

The chapter and section headings follow the revised Environmental Protection Agency’s format from their guidance documents on preparing QAPPs (EPA 2013).  See the reference section at the end of this document for EPA guidance documents. Using the EPA format and section headings will allow efficient review of your QAPP.

This template has been prepared by the Kentucky Division of Water Quality Assurance Program. Contact Lisa Hicks at 502-564-3410, or lisa.hicks@ky.gov with questions or comments.

General Note:

A QAPP is only as good as its followers. Developing a QAPP provides the guide for the project, but reading and following the QAPP by all project participants is necessary for the project to be successful. Throughout the project and following the project, QAPP-defined reporting must also be completed, to evaluate the results and success of the planning. If the project isn’t achieving the desired results, changing the design of the project and revising the QAPP is acceptable and encouraged.

Quality Assurance Project Plan

(QAPP)

DOCUMENT TITLE HERE

Prepared By: Name of Agency/Organization developing QAPP

Address

Phone/Email

Prepared For: Name of Agency/Organization

Address

Phone/Email

Effective Date: date QAPP is signed

Revision No.: consecutive number of QAPP, starting with 1.0 as the initial document; 2.0 being the next consecutive number, etc.

Date: date QAPP is revised – also update the ‘revision history page’

This Page Intentionally Blank

# 1.0	PROJECT MANAGEMENT

## 1.1	Title and Approval Sheet

Signatures: An official QAPP written by to the Kentucky Division of Water (KDOW) must include signatures of all relevant personnel - insert additional reviewers or authors as necessary – examples may include laboratory personnel, data reviewers, etc. If the QAPP is to be used for generating data for KDOW, quality assurance staff must sign and approve the QAPP.  If the QAPP is to be used in non-KDOW programs, KDOW signatures may not be required. If the QAPP is to be used for an Environmental Protection Agency grant or program, determine if EPA signatures are required, and include as necessary.

| Action By | Signature | Date |
| --- | --- | --- |
| Name Prepared, QAPP Author |  |  |
| Name Reviewed |  |  |
| Name Reviewed |  |  |
| Name Approved, Branch Manager |  |  |
| Name Approved, Branch Quality Assurance Coordinator |  |  |
| Name Approved, Division Quality Assurance Officer |  |  |
| Name Approved, Division Director |  |  |
| Name Approved, Department Manager |  |  |
| Name EPA Grants Manager |  |  |
| Name EPA QA Manager |  |  |

(The document control information should be included, as outlined in footer below)

## 1.2	Revision History

This page documents the revisions over time to the QAPP. The most recent iteration should be listed in the first space, with consecutive versions following. Signatures may be required for revised documents.

| Date of Revision | Page(s)/Section(s) Revised | Revision Explanation |
| --- | --- | --- |

## 1.3 	Table of Contents

1.0	PROJECT MANAGEMENT	6

1.1	Title and Approval Sheet	6

1.2	Revision History	7

1.3 	Table of Contents	8

1.4	 Distribution List	8

1.5	Project / Task Organization	9

1.6	Project Background and Overview	11

1.7	Data Quality Objectives (DQOs) and Criteria for Measurement Data	12

1.8	Special Training Requirements	15

1.9	Documentation and Records	15

2.0	DATA ACQUISITION	16

2.1	Sampling Experimental Design	16

2.2	Sampling Procedures and Requirements	17

2.3	Sample Handling and Custody Requirements	18

2.4	Analytical Methods Requirements	18

2.5	Quality Control Requirements	19

2.6	Testing, Calibration and Maintenance Requirements for Equipment and Supplies	20

2.7	Data Acquisition Requirements for Non-direct Measurements	21

2.8	 Data Management Requirements	22

3.0	ASSESSMENTS	22

3.1	Technical Assessments	22

3.2	Audits of Data Quality	23

4.0 	REVIEW, EVALUAITON AND REPORTING REQUIREMNTS	23

4.1	Initial Data Review	23

4.2	Validation and Verification Methods	24

4.3	Evaluation of Data Usability	24

4.4	Reconciliation with Project Requirements	25

4.5	Reports to Management	25

5.0	REFERENCES AND CITATIONS	25

Appendix A.  Analytical Method, Containers, Preservation, and Holding Times Requirements	27

Appendix B.  Field Equipment/Instrument Calibration, Maintenance, Testing, and Inspection	28

## 1.4	 Distribution List

List all the individuals (along with their titles, organizations, and contact information) who will receive the approved Quality Assurance Project Plan (QAPP) and any subsequent revisions.  Include all persons who are responsible for project implementation (including project managers, QA managers, field staff and representatives of all groups/agencies involved).

Below are two examples how information may be presented for this section.

Example 1

Name:

Title:

Organization:

Contact Information (Address, Telephone, E-mail, etc.).

Name:

Title:

Organization:

Contact Information (Address, Telephone, E-mail, etc.):

Example 2

The following individuals may be reached at:

A. Adams (a.adams@qqq.edu)

B. Black (b.black@xxx.gov)

C. Carmine (c.carmine@aaa.com)

100 Blank Lane

Frankfort, KY 40601

Phone: 502-555-5555

## 1.5	Project / Task Organization

Identify the individuals and organizations participating in the project, and discuss their specific roles and responsibilities.  Include program or project management, personnel responsible for conducting project activities, the project QA manager, and points of contact and associated organizations for all consultants, contractors, and laboratories. Whenever possible (depending on the size of the organization), ensure that the project QA manager is independent of the staff generating the data.

Provide a concise organizational chart (e.g., Figure 1) showing the relationships and lines of authority/communication for all project personnel.

Figure 1. Example Organizational Chart

Below is some example language to consider including for KDOW staff.  Please revise/edit the information, as appropriate, and ensure the name of the individual associated with each title is presented.

Project Manager will be the responsible official for the project overseeing overall project tasks, including QAPP development (or other designee), laboratory coordination, field operations, data management (including data entry) and report preparation. S/he may designate some of these tasks to other project personnel, which should be noted in this section.

Lisa Hicks, QA Officer will be responsible for reviewing and approving the QAPP, ensuring that all QA elements are accounted for and are relevant to other QA documents (QMP, SOPs).   She may provide technical input on proposed sampling design, analytical methodologies, and data review. She may conduct audits in cooperation with other QA staff.

Branch Manager will be responsible for reviewing and approving the QAPP, and coordinating QA concerns with the QAO.

Branch QAC will be responsible for reviewing and approving the QAPP. S/he may provide technical review on content, and coordinate with other specialists in the Branch to accomplish technical review.

Field Sampling Lead will be responsible for assigning field samplers specific tasks. S/he has overall responsibility for all field activities.  This role may be under the Project Manager, depending on staff availability.

Field Personnel will be responsible for carrying out all field activities, and assisting the field sampling lead in assigned tasks.

## 1.6	Project Background and Overview

Define the problem, and state why the project and/or monitoring is being performed.

Identify all the goals and objectives intended to be achieved by the environmental monitoring.  State any specific environmental problems to be investigated.

Identify the decision to be made, or the desired outcome of the project, as related to the data collection elements.

Include sufficient background information to provide an historical and scientific perspective for the current monitoring. Cite relevant technical environmental quality standards or established criteria related to the project.

Provide a summary of the environmental monitoring work and the schedule for implementation. Details will be provided in Section 2.0 of the QAPP.

Include a general overview of work activities:

- geographic boundary of the study

- field activities to be conducted

- types of samples to be collected

- measurements/analyses to be obtained

- data analysis to be performed

- products/reports to be generated

Include a targeted schedule for each activity/report (including time-line from QAPP development through final report).

Include:

- Timeline for QAPP development and review

- Schedule of sampling events

- Schedule for analytical laboratories and turnaround times for data

- Schedule for review of activities

If existing data is to be used in this project, identify the new use of the data, and the relevance to this study. Provide appropriate documentation in the following QAPP sections to ensure comparability of results between the existing data and any data generated by this project. Existing data sets may require quality assurance documentation, or submittal of comparison statistics to verify that existing data will meet the needs of the current/proposed project.

## 1.7	Data Quality Objectives (DQOs) and Criteria for Measurement Data

Establish Data Quality Objectives (DQO) for the project.

Data Quality Objectives are qualitative and quantitative statements that:

- Clarify the intended use of the data

- Define the type of data needed to support the decision

- Identify the conditions under which the data should be collected

- Specify tolerable limits on the probability of making a decision error due to uncertainty in the data

1.7.1	Action Limits / Levels

Action limits apply to decision-level project outcomes, and can be determined by regulation, scientific standard, or other established, accepted literature within the scientific community. Section 2.4 of the QAPP should outline what the reporting limits are for sampling parameters; and what the project decision is related to those reporting limits. The action level should not be lower than the laboratory analysis reporting limit of the parameters in question. For example, meeting the water quality standard for nitrogen is 1 mg/L, but the lab reporting limit for nitrogen is 2 mg/L. The reporting limit is higher than the action limit, which is not acceptable for valid data.

If using background values for a project decision decide and document what level is considered background in order to discern the acceptable project levels.

1.7.2	Measurement and Performance Criteria / Acceptance Criteria

Measurement performance criteria are used in new data collection efforts, acceptance criteria are utilized for secondary or existing data use. Measurement criteria are usually stated in quantitative terms, such as limits on method detection limits, bias, or limits of overall variability of study results.

Measurement and performance criteria can be stated as data quality indicators (DQIs): the primary indicators are precision, bias, representativeness, comparability, completeness and sensitivity, referred to as the PBRCC parameters (EPA 2012).  An example table of DQIs is included below for reference, copied from the EPA 2012 guidance document for developing quality assurance project plans.

The project must define DQIs for each parameter to address this element in the QAPP. Refer to example Table 1 below. Use the table DQIs to develop project objectives, but no need to copy entire table in the QAPP.

Table 1 - Data Quality Indicators (EPA 2002)

| DQI | Definition | Example Determination Methodologies | QC Samples |
| --- | --- | --- | --- |
| Precision | Measure of agreement among repeated measurements of the same property under similar conditions. Usually expressed as a range, standard deviation, variance, percent difference in either absolute or relative terms. | Use the same analytical instrument to make the same measurement. Split samples in the field; submit to same circumstances of handling, preservation and analysis. Use the same method to make repeated measurements of the same sample within a single laboratory, or use two labs to analyze identical samples with same method. | Field duplicates/replicates, laboratory duplicates, matrix spike duplicates, analytical replicates |
| Accuracy | Measure of closeness of an individual measurement to a known or reference value. Expressed as percent recovery or percent bias. | Use a different method under the same conditions. Analyze a reference material to which a material of known concentration has been added. | PT samples, matrix spikes, laboratory control samples, equipment blanks |
| Bias | Systematic or persistent distortion of a measurement process that results in errors in one direction. | Measurement of materials with a known concentration. | Field spikes, matrix spikes |
| Representativeness | A qualitative measure of the degree to which data accurately and precisely represent a characteristic of a population parameter. | Evaluate whether measurements are made and physical samples collected in a way that the resulting data reflect the environment or condition being studied. | None |
| Comparability | A qualitative term describing the degree to which different processes, methods or data agree or can be represented as similar. Expresses the measure of confidence that two data sets can contribute to a common analysis. | Compare the following: sample collection, sample handling, sample preparation, sample analytical procedures, holding times, and QA protocols. | None |
| Completeness | An evaluation of the amount of data needed to be obtained from a measurement system. Expressed as a percentage of the number of measurements that should have been collected or were planned to be collected. | Evaluation of the number of measurements needed to make a determination of the project results and comparison of this to the numbers of samples planned to be collected. | All |
| Sensitivity | Capability of a method to discriminate between measurement responses representing different levels of the variable of interest. Terms used to describe sensitivity include: MDL, LOD and LOQ. | Determine the minimum concentration or attribute that can be measured by a method (method detection limit) by an instrument (instrument detection limit) or by a laboratory (quantitation limit.). | lab fortified blanks, method detection limit study, initial calibration standards at quantitation limits |

## 1.8	Special Training Requirements

Identify and describe any specialized training or certification requirements necessary to accomplish the project. Include health and safety training requirements. Often this can be demonstrated by providing job descriptions or education accomplishments.

Discuss how such training will be provided or has been accomplished, as well as how and where the training records will be documented and stored.

## 1.9	Documentation and Records

Define what records are critical to the project, and how information and data are conveyed in project reports. Identify what formats are included/required.

NOTE: Check with project technical advisors on required formatting for electronic data deliverables.

Describe the process for distributing the most current QAPP, as well as any revisions/updates, to appropriate project staff on the distribution list.

Summarize the type of information necessary to be included in laboratory data report packages, including electronic data deliverables.

Identify project records to be maintained, how/where the records will be stored, and the length of time of storage.  This may include information generated in the field (e.g., field forms, sampling logs, field log books, chain-of-custody forms, etc.), assessment/oversight reports, interim progress/status reports, final reports, etc.

Describe the type of information to be included in the progress and final reports (for data, it will be summarized in a database and/or Excel spreadsheet with all supporting information to be retained in a project file). Discuss additional reporting elements such as data quality, did the project meet its objectives, etc.

The following sections describe specific elements of data reporting that may be required in the reporting package.

1.9.1 	Field Documentation and Records

Field records should include field data sheets, sample labels, field log books, and chain of custody sheets.

Field records may include photography or video documentation of field conditions or aspects of the project. Photos and videos must be retained so that the original date of the event is recorded and documented.

1.9.2	 Laboratory Documentation and Records

State what laboratories will be used, and what types of reports are produced.

Laboratory SOPs and QAPs should be readily available, either on a web site or through internal storage devices.

Identify where lab reports will be stored, and in what format. State how often and in what timeframe lab reports are generated and distributed to the project manager.

# 2.0	DATA ACQUISITION

## 2.1	Sampling Experimental Design

Describe the design of the project’s data collection activities; usually this will be either a probabilistic or judgmental design.

Provide rationale for the design and selection of sampling locations, measurements/analytical parameters, matrix/media to be sampled, etc. and any supporting assumptions.

Summarize the types and frequency of matrix/media to be sampled for each measurement/analytical parameter, types of samples (grab or composite), along with the associated QC samples to be collected in the field.  Indicate the relationship between the number of field samples and types of QC samples.

Explain the critical and non-critical types of samples – critical samples may directly influence the decision to be made, non-critical samples may be supporting information to the study.  For example – sampling for nutrient contamination would require the collection of nitrogen and phosphorus data, while the measurement of pH would not be mandatory for a nutrient analysis, but could serve as supplemental data to environmental conditions.

Include maps depicting sampling locations, and a table outlining all sample sites, referenced by latitude and longitude. All sampling sites must be clearly and consistently labeled throughout the length of the project.

2.2	Sampling Procedures and Requirements

Describe the procedures for collecting field samples, as well as the associated field QC samples.  Identify the sampling methods and equipment needed to perform the sampling. Identify the sample containers (number, type, and size), preservation methods, and maximum holding times for each sample matrix/media and analysis. This information may be included in a table; refer to Appendix B for an example.

Provide an example of a sample label, and explain the documentation required for the label. Examples include site name, date, initials of sampler, preservative used. Explain sample numbering system, as it relates to mapped locations provided in section 2.1.

Reference the Standard Operating Procedure(s) (SOPs) that will be used, and include the SOP in an appendix, or on attached media for distribution with the QAPP. If SOPs are publically available on a web site or other accessible media, a reference will suffice and document in the References section of the QAPP.

Describe the process for preparing and decontaminating sampling equipment (including disposing of decontamination fluids).

Identify corrective actions when equipment or materials are compromised, or when sample methods are altered, either temporarily or permanently.

## 2.3	Sample Handling and Custody Requirements

A sample is in “custody” if it is in the actual possession of a sampler or in a secured area that is restricted to authorized personnel. Describe the sample handling, tracking and custody procedures in the field, during transport and through receipt at the laboratory. Provide detail on necessary conditions for samples in field and during transport.

Describe process for sample security.

Describe procedures for packing samples for transfer/shipment.

Include examples of chain-of-custody forms and sample custody logs.

(NOTE: These examples could be provided as an appendix or as figures within the QAPP document).

## 2.4	Analytical Methods Requirements

List the analytical methods for each parameter, by appropriate identifier (name, number, date, and regulatory citation). Include the requirements for method detection limits and reporting limits. Refer to Appendix D for an example.

Include the SOPs for each analysis procedure from the lab. Citing a method number may not be adequate. Check with the project manager for appropriate citations for lab methods.

Analytical methods must be EPA approved methods! If alternate methods are proposed to be used, then supporting documentation must be provided, as in a performance-based measurement system, to document control of the method and document the quality of the resulting data. The documentation must also outline why an approved method is not supported. Alternate analysis methods may or may not be accepted by Division of Water, depending on EPA requirements and acceptance with appropriate documentation.

Address any issues of failed calibration checks or contamination in the analytical data. Identify the responsible individuals for corrective actions, and the reporting official for the data and its limitations.

## 2.5	Quality Control Requirements

Identify the required QC samples for the field sampling methods; reference lab SOPs for analytical QC. State the frequency for each type of QC sample, the acceptance criteria for each QC process, as well as the associated corrective action if the acceptance criteria are not met.

The mid-project QA report, explained in section 1.9.3, should include the results from the QC analysis; this should include the calculations for percent difference, standard deviation, or whatever the appropriate measure was outlined in the section.

Table 2 has been duplicated from EPA’s Guidance for Quality Assurance project Plans (2002), and describes example QC control checks on a project basis.

Table 2 - Project Quality Control Checks

| QC Sample | Information Provided |
| --- | --- |
| Blanks bottle blank field blank reagent blank rinseate or equipment blank method blank trip blank | cleanliness of sample bottles transport, storage and field handling bias contaminated reagent contaminated equipment response of a laboratory analytical system contamination during shipment/transport |
| Spikes matrix spike matrix spike replicate analysis matrix spike surrogate spike | analytical (preparation + analysis) bias analytical bias and precision instrument bias analytical bias |
| Calibration Check Samples zero check span check mid-range check | calibration drift and memory effect calibration drift and memory effect calibration drift and memory effect |
| Replicates, splits, etc. field collocated samples field replicates field splits laboratory splits laboratory replicates analysis replicates | sampling + measurement precision precision of all steps after acquisition shipping + inter-laboratory precision inter-laboratory precision analytical precision instrument precision |

## 2.6	Testing, Calibration and Maintenance Requirements for Equipment and Supplies

2.6.1	Instrument Testing

Identify all tools, gauges, test equipment and instruments that need periodic maintenance, testing, or inspection. This information may be provided in table format. A laboratory SOP or quality assurance plan (QMP, QAP) may be referenced, and included as an appendix (or be readily available on electronic media).

Describe how inspections and acceptance testing of environmental sampling equipment and their components will be performed and documented.

Describe or reference how periodic preventive and corrective maintenance of measurement or test equipment will be performed.

2.6.2	Instrument Calibration

Identify all tools, gauges, test equipment and instruments that require calibration.

Describe how calibration of the instrumentation will be performed and documented.

Specify calibration standards and timing for the needs of the project; this is likely more frequent than manufacturer recommendations, as instrumental drift can (and does) occur.

2.6.3	Supplies and Consumables

List the critical supplies and consumables.  (NOTE: ( critical tag refers to those items that may directly or indirectly affect the quality of the results, typically through contact.)

Describe how and by whom supplies and consumables will be inspected and accepted for use for the project, and state the associated acceptance criteria for each. This information may be provided in table format.

## 2.7	Data Acquisition Requirements for Non-direct Measurements

Identify any types of data needed (for project implementation or decision making) that are obtained from non-direct measurement sources such as: qualified data from another project, photographs and maps, published literature, databases or background information.

Describe the purpose for the original collection of the non-direct data, and indicate its relevance to this project. Describe the process whereby the data was obtained (through a literature search method, search of other agency database, etc.).

Discuss the intended use of the data.  Describe how to determine if the data is of acceptable quality for the current project and/or if there are any limitations on its use.

## 2.8	 Data Management Requirements

Describe how the data will be managed, tracing the path of data generation in the field or laboratory to final use and storage. Identify the retention time for data storage.

Describe or reference the standard record-keeping procedures, and discuss the approach to be used for data storage and retrieval of electronic media.

Discuss the plan for detecting and correcting errors, as well as for preventing loss of data during reduction, reporting, and entry to forms, reports, and databases.

Identify and describe all data handling equipment and procedures to process, compile, and analyze the data, including any required computer hardware and software.  Address any specific performance requirements and describe the procedures that will be followed to demonstrate acceptability of the hardware/software configuration required.

Identify who is responsible for each data management task – this may be outlined in section 1.5, Project Tasks and Organization.

# 3.0	ASSESSMENTS

## 3.1	Technical Assessments

Describe any planned field or lab assessments during and/or throughout the project. Field assessments generally determine if SOPs are being followed, if reports and sample handling is being done properly, and if data is being reviewed correctly.

Laboratory assessments may check for conformance to the QAPP, or verify that lab operations are being done correctly (the latter option may not be appropriate for contracted labs).

NOTE: If a laboratory is certified under the Kentucky Laboratory Certification process, then technical assessments will be performed on a regular schedule, but project level evaluation may still be performed.

Describe how and to whom the results of these assessments shall be reported.

Provide examples of any forms or checklists to be used to document assessment and response activities in an appendix/attachment.

## 3.2	Audits of Data Quality

State when and to whom data quality audits will be addressed. Describe any action taken during the project if data quality is demonstrated to not meet QAPP objectives.

# 4.0 	REVIEW, EVALUAITON AND REPORTING REQUIREMNTS

## 4.1	Initial Data Review

Include a table of data qualifier flags from the laboratory.

Compile all documentation and records used throughout the project, including field and lab records. Outline the process of who will conduct the review and how the data review will occur.

The definitions below will apply to the rest of the data review procedures.

Definitions:

Data Verification: Review data sets for completeness, correctness and conformance/compliance for a specific data set against the method, procedural or contractual specifications.

Data Validation: Analyte and sample-specific process that determines the quality of a specific data set relative to its end use. Validation notes any deviations from the QAPP.

Data Usability: Determination of the adequacy of the data based on verification and validation, to ensure the QAPP criteria are met.

## 4.2	Validation and Verification Methods

Describe the methods or procedures to be used for verifying and validating data, as well as documenting the process.  Describe how accepted, qualified, and rejected data will be identified. Be specific in describing the methodology – stating that verification and validation will occur is not sufficient.

Discuss how issues shall be resolved and identify the authorities for resolving such issues.

Provide examples of any forms or checklists to be used in an appendix.  All associated criteria identified in the documentation should be consistent with and/or supportive of the quality control objectives described in the QAPP.

## 4.3	Evaluation of Data Usability

Describe how the sample results (which have already been reviewed, verified, and validated) obtained from the project will be reconciled with the project objectives and measurement performance criteria/acceptance criteria specified in this QAPP. Discuss how the data will meet the project objectives and/or decisions stated in the QAPP.

Outline the proposed methods to analyze the data and determine possible anomalies or limitations on the data use for the intended purpose.

Describe how data anomalies will be resolved, and discuss how limitations on the use of the data will be reported to the decision makers.

NOTE:  If the project is not statistically based (project design was not probability-based), only data descriptions can be made. Quantitative statements are likely not appropriate or accurate in such cases.

## 4.4	Reconciliation with Project Requirements

Discuss the project questions and objectives based on the outcome of the data results.

Discuss any measures outlined in the QAPP that will help identify whether the data meets the data quality objectives. Include results of quality control checks, graphs of summary data, etc.

## 4.5	Reports to Management

Identify the frequency and distribution of reports issued to inform management of the status of the project, results of performance evaluations and systems assessments, results of data quality evaluations, and any significant quality assurance problems and recommended solutions.

Identify the preparer and the recipients of the reports, and any specific actions management is expected to take as a result of the reports.

# 5.0	REFERENCES AND CITATIONS

Provide all citations referenced in the QAPP, formatted in standard scientific format.  SOPs and other supporting documentation should be included on external media (such as CD), or as appendices to the QAPP.

References (for this QAPP Template Guidance)

U.S. Environmental Protection Agency (EPA). 2001. EPA Requirements for Quality Assurance Project Plans. (EPA QA/R-5). Office of Environmental Information. Washington D.C.

--. 2002a. Guidance for Quality Assurance Project Plans. (EPA QA/G-5). Office of Environmental Information. Washington D.C.

--. 2002b. Guidance on Environmental Data Verification and Validation (EPA QA/G-8). Office of Environmental Information. Washington D.C.

--. 2006. Guidance on Systematic Planning Using the Data Quality Objectives Process. (EPA QA/G-4). Office of Environmental Information. Washington D.C.

--. 2013. Handbook for Developing Quality Assurance project Plans. Office of Environmental Information/Quality Staff.  Washington D.C.

EXAMPLE APPENDICES

| Appendix A. Analytical Method, Containers, Preservation, and Holding Times Requirements Matrix/Media: |
| --- |
| Analytical Parameter | Analytical Method Number | Containers (number, size/volume, type) | Preservation Requirements (chemical, temperature, light protection) | Maximum Holding Times |
| ANALYTICAL PARAMETER: |

| Appendix B. Field Equipment/Instrument Calibration, Maintenance, Testing, and Inspection |
| --- |
| Field Measurement | Field Equipment/ Instrument | Calibration Activity | Maintenance Activity | Testing/ Inspection Activity | Frequency | Acceptance Criteria | Corrective Action |

| Appendix C. Analytical Methods Descriptions |
| --- |
| Analytical Method Name | Analytical Method Number | Method Reference | Method Detection Limit | Limit of Quantitation |

# Text boxes

KY Division of Water

Division Management

Branch Manager

Project Manager

Division QAO

Field Lead and Personnel

Branch QA Coordinator