## Page 5 Water Quality
PWSID:
Y
[8 empty] | PLANT ID: |  |  |  |  | N
APPLICABLE TO ALL PLANTS
REPORT MONTH/YEAR:
| *Please answer questions below this chart. | [7 empty] | PAGE | 5 | OF | 11
ANALYTICAL RESULTS (mg/L OR PPM UNLESS OTHERWISE SPECIFIED)
| FLUORIDE |  | IRON |  | MANGANESE |  |  |  | Lowest Daily Chlorine Residual Plant Tap On-Line Chlorine Analyzer |  | RAINFALL | WATER
TEMP.
DEGREES
DAY | RAW | TAP | RAW | TAP | RAW | TAP | RAW | TAP | FREE / TOTAL |  | INCHES | F0/C0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
AVERAGE | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Monthly Minimum |  | Total Rainfall | #DIV/0!
0
Number of Days of Plant Operation? | [6 empty] | Number of readings |  | 0 |  | 0
Required Ground Water Minimum Chlorine Residual? |  |  |  |  | Ground Water Systems |  | For Free Chlorine, # less than minimum
[5 empty] | Surface Water Systems |  | For Free Chlorine, # less than 0.2 mg/L
Disinfectant Chloramines? (Y/N) | [6 empty] | For Chloramines, # less than 0.5 mg/L
DO NOT ENTER
DO NOT ENTER

## Plant Summary Sheet
| PWS ID | [7 empty] | MONITORING PERIOD (MMYYYY)
| PLANT ID |  |  | Y | NOTE: COMPLETE ALL APPLICABLE FIELDS!!! NOT ALL OF THE FIELDS ARE PRE-POPULATED FOR YOU!!!
N
PLANT INFORMATION
APPLICABLE TO ALL PLANTS
| PLANT ID |  |  |  |  | TOTAL WATER TREATED (gallons)
| PLANT NAME |  |  |  |  | AVE. DAILY PRODUCTION (gallons)
| AGENCY INTEREST |  |  |  |  | MAXIMUM PUMPAGE (gallons per day)
INDIVIDUAL FILTER EFFLUENT TURBIDITY
APPLICABLE TO ALL PLANTS WITH FILTRATION
| ANALYTE CODE |  | 0100
Was each filter monitored continuously? (Y/N)
Were measurements recorded every 15 minutes? (Y/N)
Was there a failure of the continuous monitoring equipment? (Y/N)
If Yes, (1) were individual filter effluent turbidity grab samples collected every four hours of operation? (Y/N)
(2) was the continuously monitoring equipment repaired within 5 working days? (Y/N)
Was individual filter level greater than 1.0 NTU in two consecutive measurements? (Y/N)
Was individual filter level greater than 0.5 NTU in two consecutive measurements after on line for more than four hours? (Y/N)
Was individual filter level greater than 1.0 NTU in two consecutive measurements in three consecutive months? (Y/N)
Was individual filter level greater than 2.0 NTU in two consecutive measurements in two consecutive months? (Y/N)
If any of the last 4 boxes are YES, fill out the Individual Filter Turbidity Sheet and submit with the MOR
COMBINED FILTER EFFLUENT TURBIDITY | [6 empty] | ENTRY POINT RESIDUAL DISINFECTANT CONCENTRATION
APPLICABLE TO ALL PLANTS WITH FILTRATION | [6 empty] | APPLICABLE TO ALL PLANTS
| ANALYTE CODE |  | 0100 |  |  |  | ANALYTE CODE |  |  | 0999
| Number of hours of plant operation | [5 empty] | Number of days of plant operation |  |  |  | 0
| Were samples taken every 4 hours of plant operation? (Y/N) | [5 empty] | Were samples taken each day of operation? (Y/N)
| Number of samples taken | [5 empty] | Number of lowest chlorine samples recorded |  |  |  | 0
| Highest single turbidity reading | [5 empty] | Lowest single chlorine reading |  |  |  | 0
| For all filtration except slow sand filtration: | [5 empty] | If less than required:
|  | Number of samples exceeded 0.1 NTU |  |  |  |  | Was residual restored within 4 hours of plant operation? (Y/N)
|  | Number of samples exceeded 0.3 NTU |  |  |  |  | Free Chlorine (for all disinfectants except chloromine):
|  | Number of samples exceeded 1 NTU | [5 empty] | Number of samples under minimum residual
| When filtration is slow sand filtration: | [5 empty] | Total Chlorine (when disinfectant is Chloramine):
|  | Number of samples exceeded 1 NTU | [5 empty] | Number of samples under 0.5 mg/L
Number of samples exceeded 5 NTU
CHLORINE DIOXIDE ENTRY POINT MONITORING | [6 empty] | CHLORITE ENTRY POINT MONITORING
APPLICABLE TO PLANTS UTILIZING CHLORINE DIOXIDE | [6 empty] | APPLICABLE TO PLANTS UTILIZING CHLORINE DIOXIDE
| ANALYTE CODE |  | 1008 |  |  |  | ANALYTE CODE |  |  | 1009
| Number of days of plant operation | [5 empty] | Number of days of plant operation
| Were samples taken each day of operation? (Y/N) | [5 empty] | Were samples taken each day of operation? (Y/N)
| Number of samples taken | [5 empty] | Number of samples taken
| Highest single chlorine dioxide reading | [5 empty] | Highest single chlorite reading
| Number of chlorine dioxide samples exceeded 0.8 mg/L | [5 empty] | Number of chlorite samples exceeded 1 mg/L
I certify under penalty of law that I have personally examined and am familiar with the information submitted herein. Based on my inquiry of those individuals immediately responsible for obtaining the information, the submitted information is true, accurate and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment. Violations of 401 KAR Chapter 8 are subject to severe penalties prescribed in KRS 224.99-010, up to $25,000 fine per day per violation and in some cases a violation may subject the violator to prison.
Signature of Prinicipal Executive Officer or Authorized Agent | [7 empty] | Date
DO NOT ENTER
DO NOT ENTER
DO NOT ENTER
DO NOT ENTER