## CoverSheet
You are not required to use this form; it is provided for your convenience. Systems may submit other forms prepared by other entities or a letter, as long as the required information is included.
|  |  |  | KENTUCKY DIVISION OF WATER |  |  |  | Revised 04/07/22
[5 empty] | DRINKING WATER BRANCH |  |  | Version 3.5.3
MONTHLY OPERATION REPORT (MOR)--ALL WATER SYSTEMS
[6 empty] | Indicate one with "X" | SURFACE WATER
|  |  |  | MONTH & YEAR (mm/yyyy) |  |  | GROUNDWATER
PURCHASE/DISTRIBUTE ONLY
| PWS ID : |  |  |  | PLANT ID: | PLANT NAME:
| PWS NAME: |  |  |  |  | PLANT CLASS: | DIST. CLASS:
| AGENCY INTEREST (AI): |  |  |  |  | DATE MAILED:
| SOURCE NAME: |  |  |  |  | COUNTY:
|  |  | OPERATOR(S) RESPONSIBLE / IN-CHARGE |  |  | CLASS | CERTIFICATION NUMBER
WTP SHIFT 1:
WTP SHIFT 2:
WTP SHIFT 3:
DISTRIBUTION:
THIS REPORT MUST BE RECEIVED BY THE DIVISION OF WATER AND APPLICABLE FIELD OFFICE
NO LATER THAN 10 DAYS AFTER THE END OF THE MONTH.
TREATMENT PLANTS COMPLETE:
1. DESIGN CAPACITY (gpm):
2. TYPE OF FILTRATION USED:
3. DESIGN FILTRATION RATE (gpm/sq. ft.):
| 4. PERCENT BACKWASH WATER USED: |  |  |  | #DIV/0!
5. DATE FLOCCULATION BASIN(S) LAST CLEANED:
6. DATE SETTLING BASIN(S) LAST CLEANED:
I certify under penalty of law that I have personally examined and am familiar with the information submitted herein. Based on my inquiry
of those individuals immediately responsible for obtaining the information, I believe the submitted information is true, accurate and
complete. I am aware that there are significant penalties for submitting false information, including the possiblity of fine and
imprisonment. See KRS 224.99-010 and 401 KAR 8:020. (Penalities under this statute and regulation may include fines up to $25,000 per
violation or by imprisonment for not more that one year, or both).
SIGNATURE OF PRINCIPAL EXECUTIVE OFFICER OR AUTHORIZED AGENT
Date ________________
Note on G41: If you cannot sign digitallly sign and date printed copy here

## Page 1 Chemicals
[10 empty] | PWS ID : | 0
[10 empty] | PLANT ID: | 0
APPLICABLE TO ALL PLANTS
[8 empty] | REPORT MONTH/YEAR: |  |  | 0
[9 empty] | PAGE | 1 | OF | 11
| RAW | HOURS PLANT OPERATED | COAGULANT |  | COAGULANT |  | pH ADJUSTMENT |  | DISINFECTANT |  | DISINFECTANT
WATER
| TREATED | [5 empty] | Pre |  | Pre |  | Post
DAY | GALLONS |  | LBS | PPM | LBS | PPM | LBS | PPM | LBS | PPM | LBS | PPM
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0
AVERAGE
MAX
NUMBER DAYS IN OPERATION |  | 0
Note on D13: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F13: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H13: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J13: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L13: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D14: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F14: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H14: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J14: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L14: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D15: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F15: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H15: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J15: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L15: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D16: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F16: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H16: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J16: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L16: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D17: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F17: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H17: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J17: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L17: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D18: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F18: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H18: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J18: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L18: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D19: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F19: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H19: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J19: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L19: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D20: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F20: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H20: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J20: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L20: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D21: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F21: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H21: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J21: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L21: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D22: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F22: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H22: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J22: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L22: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D23: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F23: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H23: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J23: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L23: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D24: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F24: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H24: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J24: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L24: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D25: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F25: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H25: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J25: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L25: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D26: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F26: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H26: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J26: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L26: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D27: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F27: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H27: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J27: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L27: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D28: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F28: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H28: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J28: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L28: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D29: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F29: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H29: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J29: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L29: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D30: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F30: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H30: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J30: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L30: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D31: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F31: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H31: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J31: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L31: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D32: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F32: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H32: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J32: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L32: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D33: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F33: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H33: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J33: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L33: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D34: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F34: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H34: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J34: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L34: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D35: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F35: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H35: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J35: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L35: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D36: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F36: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H36: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J36: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L36: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D37: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F37: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H37: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J37: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L37: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D38: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F38: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H38: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J38: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L38: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D39: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F39: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H39: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J39: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L39: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D40: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F40: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H40: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J40: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L40: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D41: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F41: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H41: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J41: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L41: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D42: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F42: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H42: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J42: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L42: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D43: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F43: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H43: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J43: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L43: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.

## Page 2 Chemicals
[12 empty] | PWS ID : | 0
| APPLICABLE TO ALL PLANTS | [10 empty] | PLANT ID: | 0
[10 empty] | REPORT MONTH/YEAR: |  |  | 0
[11 empty] | PAGE | 2 | OF | 11
CHEMICALS ADDED
| DISINFECTANT |  | FLUORIDE |  | CARBON |  | pH ADJUSTMENT |  | KMnO4 |  | CORROSION
INHIBITOR
Post
DAY | LBS | PPM | LBS | PPM | LBS | PPM | LBS | PPM | LBS | PPM | LBS | PPM | LBS | PPM
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL
AVERAGE
Note on B15: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D15: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F15: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H15: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J15: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L15: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N15: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B16: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D16: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F16: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H16: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J16: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L16: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N16: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B17: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D17: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F17: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H17: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J17: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L17: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N17: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B18: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D18: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F18: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H18: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J18: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L18: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N18: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B19: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D19: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F19: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H19: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J19: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L19: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N19: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B20: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D20: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F20: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H20: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J20: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L20: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N20: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B21: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D21: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F21: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H21: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J21: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L21: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N21: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B22: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D22: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F22: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H22: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J22: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L22: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N22: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B23: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D23: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F23: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H23: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J23: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L23: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N23: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B24: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D24: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F24: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H24: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J24: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L24: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N24: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B25: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D25: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F25: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H25: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J25: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L25: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N25: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B26: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D26: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F26: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H26: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J26: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L26: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N26: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B27: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D27: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F27: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H27: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J27: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L27: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N27: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B28: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D28: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F28: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H28: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J28: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L28: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N28: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B29: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D29: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F29: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H29: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J29: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L29: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N29: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B30: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D30: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F30: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H30: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J30: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L30: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N30: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B31: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D31: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F31: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H31: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J31: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L31: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N31: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B32: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D32: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F32: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H32: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J32: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L32: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N32: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B33: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D33: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F33: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H33: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J33: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L33: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N33: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B34: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D34: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F34: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H34: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J34: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L34: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N34: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B35: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D35: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F35: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H35: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J35: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L35: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N35: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B36: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D36: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F36: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H36: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J36: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L36: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N36: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B37: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D37: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F37: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H37: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J37: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L37: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N37: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B38: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D38: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F38: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H38: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J38: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L38: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N38: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B39: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D39: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F39: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H39: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J39: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L39: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N39: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B40: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D40: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F40: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H40: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J40: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L40: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N40: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B41: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D41: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F41: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H41: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J41: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L41: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N41: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B42: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D42: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F42: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H42: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J42: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L42: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N42: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B43: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D43: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F43: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H43: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J43: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L43: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N43: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B44: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D44: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F44: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H44: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J44: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L44: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N44: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on B45: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on D45: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on F45: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on H45: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on J45: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on L45: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.
Note on N45: If using dry chemical weights, first calculate the dry weight in pounds then enter that number here.

## Page 3 Water Quality
[13 empty] | PWS ID : | 0
[13 empty] | PLANT ID: | 0
APPLICABLE TO ALL PLANTS
[11 empty] | REPORT MONTH/YEAR: |  |  | 0
[11 empty] | PAGE | 3 | OF | 11
ANALYTICAL RESULTS (mg/L OR PPM UNLESS OTHERWISE SPECIFIED)
|  | pH |  | TOTAL ALKALINITY |  | TOTAL HARDNESS |  | CHLORINE RESIDUAL |  |  |  | TURBIDITY (NTU)
[8 empty] | TOP OF FILTER |  | PLANT TAP
|  | TOP OF | [9 empty] | RAW | SETTLED | PLANT
DAY | RAW | FILTER | TAP | RAW | TAP | RAW | TAP | TOTAL | FREE | TOTAL | FREE |  | WATER | TAP
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
AVERAGE

## Page 4 AWOP TURBIDITY
Surface Water Plants Only | [11 empty] | PWS ID : | 0
|  | KENTUCKY DIVISION OF WATER | [9 empty] | PLANT ID: | 0
|  | DRINKING WATER BRANCH | [9 empty] | AGENCY INTEREST: | 0
WATER TREATMENT PLANT MONTHLY OPERATION REPORT | [10 empty] | REPORT MONTH/YEAR: |  |  | 0
AREA-WIDE OPTIMIZATION PROGRAM TURBIDITY DATA
|  | COPY PAGE AS NEEDED | [9 empty] | PAGE | 4 | OF | 11
ANALYTICAL RESULTS (NTU)
| RAW | SEDIMENTATION BASIN EFFLUENT | [5 empty] | INDIVIDUAL FILTER EFFLUENT | [6 empty] | CFE
| DAILY | DAILY MAXIMUM | [5 empty] | DAILY MAXIMUM | [6 empty] | DAILY
DAY | MAXIMUM | #1 | #2 | #3 | #4 | #5 | #6 | #1 | #2 | #3 | #4 | #5 | #6 | #7 | MAXIMUM
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
AVERAGE

## Page 5 Water Quality
[8 empty] | PWSID: |  |  | 0
[8 empty] | PLANT ID: |  |  | 0
APPLICABLE TO ALL PLANTS
[8 empty] | REPORT MONTH/YEAR: |  |  | 0
| *Please answer Y/N question below this chart. | [7 empty] | PAGE | 5 | OF | 11
ANALYTICAL RESULTS (mg/L OR PPM UNLESS OTHERWISE SPECIFIED)
| FLUORIDE |  | IRON |  | MANGANESE |  | PHOSPHATE |  | Lowest Daily Chlorine Residual Plant Tap On-Line Chlorine Analyzer (answer Chlorimine question at bottom of page first) |  | RAINFALL | WATER
TEMP.
DEGREES
DAY | RAW | TAP | RAW | TAP | RAW | TAP | RAW | TAP | FREE |  | INCHES | F0/C0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
AVERAGE | [8 empty] | Monthly Minimum |  | Total Rainfall | AVG Temp
0
[7 empty] | Number of readings |  | 0 |  | 0
[7 empty] | For Free Chlorine, # less than 0.2 mg/L |  |  |  | Y |  | FALSE
| Disinfectant Chloramines? (Y/N) | [5 empty] | For Chloramines, # less than 0.5 mg/L |  |  |  | N |  | FALSE

## Page 6 Filters
[9 empty] | PWS ID : | 0
| APPLICABLE TO ALL PLANTS WITH FILTRATION | [6 empty] | PLANT ID: |  | 0
[7 empty] | REPORT MONTH/YEAR: |  |  | 0
[8 empty] | PAGE | 6 | OF | 11
FILTER OPERATION
| TOTAL | No: |  | No: |  | No: |  | No: |  | No:
| WASH WATER | AREA (square feet) |  | AREA (square feet) |  | AREA (square feet) |  | AREA (square feet) |  | AREA (square feet)
|  | WASHWATER | FILT RUN | WASHWATER | FILT RUN | WASHWATER | FILT RUN | WASHWATER | FILT RUN | WASHWATER | FILT RUN
DAY | GALLONS | GALLONS | HRS | GALLONS | HRS | GALLONS | HRS | GALLONS | HRS | GALLONS | HRS
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 0
28 | 0
29 | 0
30 | 0
31 | 0
TOTAL | 0
AVERAGE | 0

## Page 6 Filters (2)
[9 empty] | PWS ID : | 0
| APPLICABLE TO ALL PLANTS WITH FILTRATION | [6 empty] | PLANT ID: |  | 0
[7 empty] | REPORT MONTH/YEAR: |  |  | 0
[8 empty] | PAGE | 6 | OF | 11
FILTER OPERATION
| TOTAL | No: |  | No: |  | No: |  | No: |  | No:
| WASH WATER | AREA (square feet) |  | AREA (square feet) |  | AREA (square feet) |  | AREA (square feet) |  | AREA (square feet)
|  | WASHWATER | FILT RUN | WASHWATER | FILT RUN | WASHWATER | FILT RUN | WASHWATER | FILT RUN | WASHWATER | FILT RUN
DAY | GALLONS | GALLONS | HRS | GALLONS | HRS | GALLONS | HRS | GALLONS | HRS | GALLONS | HRS
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 0
28 | 0
29 | 0
30 | 0
31 | 0
TOTAL | 0
AVERAGE | 0

## Page 6 Filters (3)
[9 empty] | PWS ID : | 0
| APPLICABLE TO ALL PLANTS WITH FILTRATION | [6 empty] | PLANT ID: |  | 0
[7 empty] | REPORT MONTH/YEAR: |  |  | 0
[8 empty] | PAGE | 6 | OF | 11
FILTER OPERATION
| TOTAL | No: |  | No: |  | No: |  | No: |  | No:
| WASH WATER | AREA (square feet) |  | AREA (square feet) |  | AREA (square feet) |  | AREA (square feet) |  | AREA (square feet)
|  | WASHWATER | FILT RUN | WASHWATER | FILT RUN | WASHWATER | FILT RUN | WASHWATER | FILT RUN | WASHWATER | FILT RUN
DAY | GALLONS | GALLONS | HRS | GALLONS | HRS | GALLONS | HRS | GALLONS | HRS | GALLONS | HRS
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 0
28 | 0
29 | 0
30 | 0
31 | 0
TOTAL | 0
AVERAGE | 0

## Page 7 Distribution
[10 empty] | PWS ID : | 0
[10 empty] | PLANT ID: | 0
ALL WATER SYSTEMS
[10 empty] | REPORT MONTH/YEAR: | 0
[9 empty] | PAGE | 7 | OF | 11
DISTRIBUTION SYSTEM OPERATION
| CHEMICALS ADDED |  |  |  | TEST RESULTS
| CHLORINE | CHLORINE |  |  | TOTAL (T) AND FREE (F) CHLORINE RESIDUAL (ppm)
| BOOSTER | BOOSTER |  |  | NORTH |  | SOUTH |  | EAST |  | WEST
DAY | LBS | LBS |  |  | T | F | T | F | T | F | T | F
1 | [13 empty] | 0 | 0
2 | [13 empty] | 0 | 0
3 | [13 empty] | 0 | 0
4 | [13 empty] | 0 | 0
5 | [13 empty] | 0 | 0
6 | [13 empty] | 0 | 0
7 | [13 empty] | 0 | 0
8 | [13 empty] | 0 | 0
9 | [13 empty] | 0 | 0
10 | [13 empty] | 0 | 0
11 | [13 empty] | 0 | 0
12 | [13 empty] | 0 | 0
13 | [13 empty] | 0 | 0
14 | [13 empty] | 0 | 0
15 | [13 empty] | 0 | 0
16 | [13 empty] | 0 | 0
17 | [13 empty] | 0 | 0
18 | [13 empty] | 0 | 0
19 | [13 empty] | 0 | 0
20 | [13 empty] | 0 | 0
21 | [13 empty] | 0 | 0
22 | [13 empty] | 0 | 0
23 | [13 empty] | 0 | 0
24 | [13 empty] | 0 | 0
25 | [13 empty] | 0 | 0
26 | [13 empty] | 0 | 0
27 | [13 empty] | 0 | 0
28 | [13 empty] | 0 | 0
29 | [13 empty] | 0 | 0
30 | [13 empty] | 0 | 0
31 | [13 empty] | 0 | 0
AVERAGE |  |  |  | Average | [9 empty] | 0 | 0
TOTAL |  |  |  | Total Minimum
Free Minimum
|  | Total # Chlorine Samples |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  | # Less than 0.2 mg/L/0.5 mg/L |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Number of Free Residuals |  | 0 | Minimum Monthly Free Residual |  | 0 | [5 empty] | Y
| Number of Total Residuals |  | 0 | Minimum Monthly Total Residual |  | 0 |  |  | Disinfectant Chloramines? (Y/N) |  |  | N | FALSE
| Total # Less than 0.2 mg/L | [7 empty] | Number of days of operation? |  | 0 |  | FALSE
Total # Less than 0.5 mg/L

## Page 8 4-Hr Turbidity
[6 empty] | PWS ID : | 0
| TURBIDITY REPORT |  |  |  |  | PLANT ID: | 0
APPLICABLE TO ALL SURFACE WATER PLANTS WITH FILTRATION
[5 empty] | Report Period (MM/YYYY): |  | 0 |  | PAGE:
PWS Name: |  | 0 | [6 empty] | 8 OF 11
DAY | Hours Plant | # of Turbidity | [6 empty] | Daily
| Operated | Samples Required* | Mid - 4 am | 4 am - 8 am | 8 am - Noon | Noon - 4 pm | 4 pm - 8 pm | 8 pm - Mid | Maximum
1 | 0 | 0 | [6 empty] | 0
2 | 0 | 0 | [6 empty] | 0
3 | 0 | 0 | [6 empty] | 0
4 | 0 | 0 | [6 empty] | 0
5 | 0 | 0 | [6 empty] | 0
6 | 0 | 0 | [6 empty] | 0
7 | 0 | 0 | [6 empty] | 0
8 | 0 | 0 | [6 empty] | 0
9 | 0 | 0 | [6 empty] | 0
10 | 0 | 0 | [6 empty] | 0
11 | 0 | 0 | [6 empty] | 0
12 | 0 | 0 | [6 empty] | 0
13 | 0 | 0 | [6 empty] | 0
14 | 0 | 0 | [6 empty] | 0
15 | 0 | 0 | [6 empty] | 0
16 | 0 | 0 | [6 empty] | 0
17 | 0 | 0 | [6 empty] | 0
18 | 0 | 0 | [6 empty] | 0
19 | 0 | 0 | [6 empty] | 0
20 | 0 | 0 | [6 empty] | 0
21 | 0 | 0 | [6 empty] | 0
22 | 0 | 0 | [6 empty] | 0
23 | 0 | 0 | [6 empty] | 0
24 | 0 | 0 | [6 empty] | 0
25 | 0 | 0 | [6 empty] | 0
26 | 0 | 0 | [6 empty] | 0
27 | 0 | 0 | [6 empty] | 0
28 | 0 | 0 | [6 empty] | 0
29 | 0 | 0 | [6 empty] | 0
30 | 0 | 0 | [6 empty] | 0
31 | 0 | 0 | [6 empty] | 0
Total | 0 | 0 |  |  | TOTAL # OF TURBIDITY SAMPLES TAKEN -- |  |  | 0 | 0
ARE YOU USING EITHER CONVENTIONAL or DIRECT FILTRATION? (Y/N)
(Any type of filtration besides slow sand)
Number of samples exceeding ----> |  |  | 0.1 NTU | 0 | 0.3 NTU | 0 | 1 NTU | 0
| For slow sand filtration, the number of samples exceeding ---> |  |  |  | 1 NTU | 0 | 5 NTU | 0
*NOTE: The "Number of Turbidity Samples Required" is the number of hours the plant operated divided by 4 rounded
up to the next whole number.
I certify that the above turbidity readings were taken every 4 hours during plant operation and in the time frames noted above. | [9 empty] | Y
N
Signature of Principal Executive Officer or Authorized Agent
The design for the system shall be submitted to the cabinet in accordance with 401 KAR 8:100 and shall comply with 40 C.F.R. 141.73. “For systems using conventional filtration or direct filtration, the turbidity level of representative samples of a system's filtered water must be less than or equal to 0.5 NTU in at least 95 percent of the measurements taken each month, measured as specified in § 141.74 (a)(1) and (c)(1), except that if the State determines that the system is capable of achieving at least 99.9 percent removal and/or inactivation of Giardia lamblia cysts at some turbidity level higher than 0.5 NTU in at least 95 percent of the measurements taken each month, the State may substitute this higher turbidity limit for that system. However, in no case may the State approve a turbidity limit that allows more than 1 NTU in more than 5 percent of the samples taken each month, measured as specified in § 141.74 (a)(1) and (c)(1).”
Date ________________
Note on F51: If you cannot sign digitally sign and date printed copy here

## Page 9 Individual Filter Turb
APPLICABLE TO ALL SURFACE WATER PLANTS WITH FILTRATION
INDIVIDUAL FILTER TURBIDITY EXCEEDANCE REPORT |  |  |  |  | Submit all reports to:
PWS Name: | 0 |  |  |  | Your Regional Technical Assistant
TA Contact Webpage
PWS ID: | 0
PLANT ID: | 0
Report Period (MM/YYYY): |  | 0
If any filter exceeded any one of the individual filter turbidity triggers below, |  |  |  |  | For emergency notification, call:
(also listed on the Summary Sheet ), complete the following and submit |  |  |  |  | 1.800.928.2380
the appropriate report(s). |  |  |  |  | PAGE 9 OF 11
Date | Filter Number | Turbidity Reading (NTU) | Trigger Level (see below) | Reason for Exceedance (if known) | Date and Time State was Contacted
Trigger Levels:
A. Any one filter has a measured turbidity level of greater than 1.0 NTU in 2 consecutive measurements taken 15 minutes apart.
B. Any one filter has a measured turbidity level of greater than 0.5 NTU in 2 consecutive measurements taken 15 minutes apart
at the end of the first 4 hours of operation following a backwash or return to service.
C. Any one filter has a measured turbidity level of greater than 1.0 NTU in 2 consecutive measurements taken 15 minutes apart
at any time in each of 3 consecutive months.
D. Any one filter has a measured turbidity level of greater than 2.0 NTU in 2 consecutive measurements taken 15 minutes apart
at any time in each of 2 consecutive months.
Report Required:
For Trigger A.: | Filter number, the turbidity measurement, the date of exceedance and filter profile within 7 days of the exceedance, if no
obvious reason for the exceedance
For Trigger B.: | Filter number, the turbidity measurement, the date of exceedance and filter profile within 7 days of the exceedance, if no
obvious reason for the exceedance
For Trigger C.: | Filter number, the turbidity measurement, the date of exceedance and a filter self-assessment within 14 days of the
exceedance
For Trigger D.: | Filter number, the turbidity measurement, the date of exceedance and arrange for a Comprehensive Performance Evaluation
(CPE) with the Drinking Water Branch no later than 30 days following the exceedance

## Page10 Chlorite&ChlorineDioxide
Disinfectant Chlorine Dioxide? (Y/N)
[9 empty] | PWS ID: | 0
| APPLICABLE TO PLANTS UTILIZING CHLORINE DIOXIDE | [7 empty] | Plant ID: | 0
| DAILY CHLORINE DIOXIDE AND CHLORITE REPORT | [6 empty] | Report Period (MM/YYYY): |  | 0
| PWS Name: | 0 |  |  |  | Plant ID: | 0
[8 empty] | PAGE | 10 | OF | 11
| Samples taken at the EPTDS daily | [5 empty] | Samples taken in the Distribution System as necessary |  |  |  |  | Y
| DAY | Chlorine Dioxide | MRDL | DAY | Chlorite | MCL | Additional chlorine dioxide monitoring following an exceedance of the |  |  |  |  | N
|  | (mg/L) | Exceeded? |  | (mg/L) | Exceeded? | MRDL at the EPTDS (No booster chlorination in the distribtution system)
| 1 |  |  | 1 |  |  | DATE | Close to 1st customer-1 hr | Close to 1st customer-6 hr | Close to 1st customer-12 hr | MRDL Exceeded?
| 2 |  |  | 2
| 3 |  |  | 3
| 4 |  |  | 4
| 5 |  |  | 5
| 6 |  |  | 6
| 7 |  |  | 7
| 8 |  |  | 8
| 9 |  |  | 9
| 10 |  |  | 10
| 11 |  |  | 11
| 12 |  |  | 12
| 13 |  |  | 13
| 14 |  |  | 14
| 15 |  |  | 15 |  |  | Samples taken in the Distribution System as necessary
| 16 |  |  | 16 |  |  | Additional chlorine dioxide monitoring following an exceedance of the
| 17 |  |  | 17 |  |  | MRDL at the EPTDS (Booster chlorination in the distribtution system)
| 18 |  |  | 18 |  |  | DATE | Close to 1st customer | Average Residence Time | Maximum Residence Time | MRDL Exceeded?
| 19 |  |  | 19
| 20 |  |  | 20
| 21 |  |  | 21
| 22 |  |  | 22
| 23 |  |  | 23
| 24 |  |  | 24
| 25 |  |  | 25
| 26 |  |  | 26
| 27 |  |  | 27
| 28 |  |  | 28
| 29 |  |  | 29
| 30 |  |  | 30
| 31 |  |  | 31
# of Readings |  | 0 |  |  | 0 | [7 empty] | 0
Maximum |  | 0 |  |  | 0 |  | MAKE COPIES AS NEEDED
# Exceeding Maximum |  | 0 |  |  | 0
1. EPTDS (Non-acute violation) chlorine dioxide MRDL exceeded when 2 consecutive daily samples exceed the MRDL of 0.8 mg/L.
2. Distribution (Acute violation) chlorine dioxide MRDL exceeded when an EPTDS exceeds the MRDL and 1 or more of the 3 followup
samples taken the following day in the distribution system exceeds the MRDL.
3. Additional distribution chlorite sampling is triggered by exceeding the chlorite MCL of 1.0 mg/L at the EPTDS; the additional
sampling must be done by a certified lab and submitted on compliance forms.

## Additional Data
[8 empty] | PWS ID : | 0
| APPLICABLE TO ALL PLANTS | [6 empty] | PLANT ID: | 0
[6 empty] | REPORT MONTH/YEAR: |  |  | 0
| COLUMN HEADINGS MAY BE CHANGED BASED UPON DATA | [5 empty] | PAGE | 11 | OF | 11
ADDITIONAL DATA
DAY
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
TOTAL | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0
AVERAGE

## Plant Summary Sheet
| PWS ID |  |  | 0 | [9 empty] | MONITORING PERIOD (MMYYYY) |  |  | 0
[7 empty] | Y | NOTE: COMPLETE ALL APPLICABLE FIELDS!!! NOT ALL OF THE FIELDS ARE PRE-POPULATED FOR YOU!!!
N
PLANT INFORMATION
APPLICABLE TO ALL WATER SYSTEMS WITH TREATMENT PLANTS
| PLANT ID |  | 0 | [7 empty] | TOTAL WATER TREATED (gallons) |  |  |  |  | 0
| PLANT NAME |  |  | 0 | [6 empty] | AVE. DAILY PRODUCTION (gallons)
| AGENCY INTEREST |  |  |  |  | 0 |  |  |  |  | MAXIMUM PUMPAGE (gallons per day)
INDIVIDUAL FILTER EFFLUENT TURBIDITY
APPLICABLE TO ALL PLANTS WITH FILTRATION
| ANALYTE CODE |  |  |  | 0100
Was each filter monitored continuously? (Y/N)
Were measurements recorded every 15 minutes? (Y/N)
Was there a failure of the continuous monitoring equipment? (Y/N)
If Yes, (1) were individual filter effluent turbidity grab samples collected every four hours of operation? (Y/N)
(2) was the continuously monitoring equipment repaired within 5 working days? (Y/N)
Was individual filter level greater than 1.0 NTU in two consecutive measurements? (Y/N)
Was individual filter level greater than 0.5 NTU in two consecutive measurements after on line for more than four hours? (Y/N)
Was individual filter level greater than 1.0 NTU in two consecutive measurements in three consecutive months? (Y/N)
Was individual filter level greater than 2.0 NTU in two consecutive measurements in two consecutive months? (Y/N)
If any of the last 4 boxes are YES, fill out the Individual Filter Turbidity Sheet and submit with the MOR
COMBINED FILTER EFFLUENT TURBIDITY | [11 empty] | ENTRY POINT RESIDUAL DISINFECTANT CONCENTRATION
APPLICABLE TO ALL PLANTS WITH FILTRATION | [11 empty] | APPLICABLE TO ALL PLANTS
| ANALYTE CODE |  |  |  | 0100 | [6 empty] | ANALYTE CODE |  |  | 0999
| Number of hours of plant operation | [7 empty] | 0 |  |  | Number of days of plant operation | [5 empty] | 0
| Were samples taken every 4 hours of plant operation? (Y/N) | [10 empty] | Were samples taken each day of operation? (Y/N)
| Number of samples taken | [8 empty] | 0 |  | Number of lowest chlorine samples recorded | [5 empty] | 0
| Highest single turbidity reading | [8 empty] | 0 |  | Lowest single chlorine reading | [5 empty] | 0
| For all filtration except slow sand filtration: | [10 empty] | If less than required:
|  | Number of samples exceeded 0.1 NTU | [7 empty] | 0 |  | Was residual restored within 4 hours of plant operation? (Y/N)
|  | Number of samples exceeded 0.3 NTU | [7 empty] | 0 |  | Free Chlorine (for all disinfectants except chloromine):
|  | Number of samples exceeded 1 NTU | [7 empty] | 0 |  |  | Number of samples under 0.2 mg/L
| When filtration is slow sand filtration: | [10 empty] | Total Chlorine (when disinfectant is Chloramine):
|  | Number of samples exceeded 1 NTU | [7 empty] | 0 |  |  | Number of samples under 0.5 mg/L
|  | Number of samples exceeded 5 NTU | [7 empty] | 0
CHLORINE DIOXIDE ENTRY POINT MONITORING | [11 empty] | CHLORITE ENTRY POINT MONITORING
APPLICABLE TO PLANTS UTILIZING CHLORINE DIOXIDE | [11 empty] | APPLICABLE TO PLANTS UTILIZING CHLORINE DIOXIDE
| ANALYTE CODE |  |  |  | 1008 | [6 empty] | ANALYTE CODE |  |  | 1009
| Number of days of plant operation | [8 empty] | 0 |  | Number of days of plant operation | [5 empty] | 0
| Were samples taken each day of operation? (Y/N) | [10 empty] | Were samples taken each day of operation? (Y/N)
| Number of samples taken | [8 empty] | 0 |  | Number of samples taken | [5 empty] | 0
| Highest single chlorine dioxide reading | [8 empty] | 0 |  | Highest single chlorite reading | [5 empty] | 0
| Number of chlorine dioxide samples exceeded 0.8 mg/L | [8 empty] | 0 |  | Number of chlorite samples exceeded 1 mg/L | [5 empty] | 0
I certify under penalty of law that I have personally examined and am familiar with the information submitted herein. Based on my inquiry of those individuals immediately responsible for obtaining the information, the submitted information is true, accurate and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment. Violations of 401 KAR Chapter 8 are subject to severe penalties prescribed in KRS 224.99-010, up to $25,000 fine per day per violation and in some cases a violation may subject the violator to prison.
Signature of Prinicipal Executive Officer or Authorized Agent
Date ________________
Note on AU89: If you cannot sign digitally sign and date printed copy here

## Summary Sheet
| PWS ID |  |  | 0 | [8 empty] | MONITORING PERIOD (MMYYYY) |  | 0
| AI |  | 0 |  |  |  | Y | NOTE: COMPLETE ALL APPLICABLE FIELDS!!! NOT ALL OF THE FIELDS ARE PRE-POPULATED FOR YOU!!!
N
PURCHASED | [10 empty] | SOLD
APPLICABLE TO ALL WATER SYSTEMS
|  | FROM WHOM? (PWS ID) |  |  |  | HOW MUCH? (gallons) | [5 empty] | TO WHOM? (PWS ID) |  | HOW MUCH? (gallons)
DISTRIBUTION RESIDUAL DISINFECTANT CONCENTRATION
APPLICABLE TO ALL WATER SYSTEMS
| ANALYTE CODE |  |  |  | 0999
| Number of days of operation | [8 empty] | 0 | Free Chlorine (for all disinfectants except chloramine)
| Were samples taken each day of operation? (Y/N) | [10 empty] | Number of samples under 0.2 mg/L
| Number of samples taken: | [9 empty] | Total Chlorine (when disinfectant is chloramine)
|  | FREE | [7 empty] | 0 |  | Number of samples under 0.5 mg/L
|  | TOTAL | [7 empty] | 0
| Lowest single FREE chlorine reading | [8 empty] | 0
| Lowest single TOTAL chlorine reading | [8 empty] | 0
0
I certify under penalty of law that I have personally examined and am familiar with the information submitted herein. Based on my inquiry of those individuals immediately responsible for obtaining the information, the submitted information is true, accurate and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment. Violations of 401 KAR Chapter 8 are subject to severe penalties prescribed in KRS 224.99-010, up to $25,000 fine per day per violation and in some cases a violation may subject the violator to prison.
Signature of Prinicipal Executive Officer or Authorized Agent
Date ________________
Note on B91: If you cannot sign digitally sign and date printed copy here

## Comments
Use this page to make note of any unusual conditions
Date | Reference Page | Comments
Page 1 Chemicals
Page 2 Chemicals
Page 3 Water Quality
Page 4 AWOP
Page 5 Water Quality
Page 6 Filters (1)
Page 6 Filters (2)
Page 6 Filters (3)
Page 7 Distribution
Page 8 4-hr Turbidity
Page 9 Individual Filter
Page 10 Chlorite - Chlorine dioxide
Plant Summary
Summary Sheet

## Annual Data
DOW Form 0801
April 2017 | [6 empty] | PWS ID : |  | 0
[7 empty] | PLANT ID: |  | 0
0
[7 empty] | AGENCY INTEREST: |  | 0
ANNUAL WATER SYSTEM DATA
APPLICABLE TO ALL WATER SYSTEMS
TO BE SUBMITTED WITH DECEMBER MOR
| NUMBER OF METERS: |  |  |  | SYSTEM POPULATION:
RESIDENTIAL:
| COMMERCIAL: |  |  |  | TOTAL POPULATION SERVED IN CONSECUTIVE
| INDUSTRIAL: |  |  |  | SYSTEMS: (REFER TO TABLE BELOW)
| DATE: |  | 0
| CONSECUTIVE SYSTEM POPULATIONS: | [6 empty] | WATER SOLD (Gallons)
(INFORMATION ON THE SYSTEMS/AREA TO WHOM YOU SELL WATER)
| PWSID # | # OF METERS |  | PWSID # | # OF METERS |  |  | Residential
Commercial
Industrial
Wholesale
CONTACT INFORMATION:
WATER SYSTEM
|  |  | MANAGER/SUPERINT. |  |  | PLANT A |  |  | PLANT B
NAME
TITLE
OFFICE PHONE
CELL PHONE
AFTER-HOURS PHONE
MAILING ADDRESS
EMAIL ADDRESS
|  |  | PLANT C |  |  | DISTRIBUTION |  |  | MOR CONTACT
NAME
TITLE
OFFICE PHONE
CELL PHONE
AFTER-HOURS PHONE
MAILING ADDRESS
EMAIL ADDRESS