Kentucky Department for Environmental Protection

Division of Water

Laboratory Certification Program

DOWLabCertification@ky.gov

M E M O R A N D U M								Revised:  06/01/2016

TO:		Kentucky Certified Microbiology Laboratories

FROM:	Tiffany Nolan

Microbiology Certification Officer

Kentucky Laboratory Certification Program

RE:		PRE-AUDIT QUESTIONNAIRE

The Pre-Audit Questionnaire must be completed and returned 10-14 days prior to your laboratory’s scheduled on-site audit, unless a date is specified. Please send the hard copy or electronic copy of each document to the following:

Tiffany Nolan / Laboratory Certification Section

300 Sower Blvd-3rd Floor

Frankfort, KY 40601

Tiffany.Nolan@ky.gov

The Pre-Audit Questionnaire includes (Micro PAQ Rev 2014):

1.	General Laboratory Information

2.	Laboratory Sample Load

3.	Methods Performed

4.	Sample Audit Forms

5.	Checklist for QC Items submitted to Auditor

Please fill out the Pre-Audit Questionnaire (Micro PAQ Rev 2014).  In regard to the sample audit, two samples must be audited per method certified.  A Total Coliform or E. coli positive sample must be included as one or both of the samples, providing a TC+ or EC+ routine compliance sample (or special) was detected since the last on-site audit.

Please include supporting documents for each of the samples audited. Also, include copies of Supply Log, QC Log, PT Studies, Trace Metals & BST Test, Thermometer Calibration, and any other certificates received during the past 12 months.

A copy of any significant changes in your SOPs/QA Manual must be sent to my attention 10-14 days prior to your scheduled audit.  In addition, include a copy of your laboratory supply receipt log along with documentation of the supplies that were received by the laboratory.

Thank you for your cooperation during the audit process.

REV: 11.18.2014

COMMONWEALTH OF KENTUCKY

DIVISION OF WATER

MICROBIOLOGY LABORATORY CERTIFICATION

General Laboratory Information

| Laboratory |  | Lab Number |  |
| --- | --- | --- | --- |
| Street Address |  |
| City |  | State |  | Zip Code |  |
| Phone Number |  | Fax Number |  |
| Email |  |
| Date |  |

Person/s to contact if questions occur:

| Name | Phone Number | For Section |
| --- | --- | --- |
| 1. |  | Microbiology |
| 2. |  | QA/Data Reporting |

| PT Study Provider |  | Study # |  | Date Performed |  |
| --- | --- | --- | --- | --- | --- |
| Trace Metals Provider |  | Date Performed |  |
| Bacteriological Suitability Provider |  | Date Performed |  |
| Inhibitory Residue Test Name of Detergent: |  | Date Performed |  |
| Total Coliform Method |  | HPC Method |  | LT2 Method |  |

General Laboratory Information

| Laboratory |  | Lab Number |  | Date |  |
| --- | --- | --- | --- | --- | --- |

Personnel

| Position | Name | Time-in Present Position | Academic Background | Prior Experience | Training Folder on File | CEU’s |
| --- | --- | --- | --- | --- | --- | --- |
| Laboratory Director |  |  | Degree: Institution: Microbiology Course: | Title: Company: Years: |  |  |
| Supervisor/Manager |  |  | Degree: Institution: Microbiology Course: | Title: Company: Years: |  |  |
| Microbiologist |  |  | Degree: Institution: Microbiology Course | Title: Company: Years: |  |  |
| Technician/Analyst |  |  | Degree: Institution: Microbiology Course | Title: Company: Years: |  |  |
| Consultant |  |  |  |  |  |  |

|  | Name of Analyst | PT Sample | Blind | Split Sample |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| 4. |  |  |  |  |
| 5. |  |  |  |  |

Laboratory Sample Load

| Laboratory |  | Lab Number |  | Date |  |
| --- | --- | --- | --- | --- | --- |

| Sample type analyzed | Number analyzed/year* |
| --- | --- |
| Drinking water (Public) |  |
| Drinking water (private) |  |
| Wastewater |  |
| Surface (raw) |  |
| Other |  |
| Total samples analyzed | Dates |  |

Comments:  ______________________________________________________________________________

*Number of samples analyzed since last audit.

Methods Performed

| Laboratory |  | Lab Number |  | Date |  |
| --- | --- | --- | --- | --- | --- |

USEPA APPROVED MICROBIOLOGICAL METHODS

A.    DRINKING WATER

5.0	Analytical Methodology (Please check methods for which certification is requested)

5.4	Membrane Filter (MF) (SM9222B)			                 __________

5.4.2.1.1	mEndo		_________

5.4.2.1.2	mColiBlue24	_________

5.4.2.1.3	MI Medium	_________

5.42.1.4 	Chromocult	_________

5.4.2.1.5	 Coliscan		_________

5.3	Enzyme (Chromogenic/Fluorogenic) Substrate Tests			__________

(SM 9223B)

      - Colilert

1.  P/A			_________

2.  MPN    		_________

Colilert-18

1. P/A                                            _________

2. MPN                                         _________

      - Colisure

1.  P/A			_________

2.  MPN	                   	_________

5.3.2.4    Readycult Coliforms 100	_________

Escherchia coli						__________

5.3.3	EC/MUG (SM 9221F)	__________

5.4.3	NA/MUG (SM 9222G)	__________

Heterotrophic Plate Count					__________

    - Pour Plate (SM9215B)				__________

5.5.10     	SimPlate  (40 CFR 141.74(a)(1))                                                      _________

B.    LT2-ESWTR (40 CFR PART 141.74, TABLE IV, J-1)                              _______

5.3.2.1 	Colilert  MPN	                         			_________

Colilert-18 MPN					_________

5.4.2.1.3	MI Agar						_________

        - mColiBlue 24 Agar	                                                                        __________

5.4.3.1       mFC/NA-MUG				                  __________

C.    AMBIENT WATER (40 CFR 136.3, TABLE I.H, pg. 33)		_______

5.3.2.1	Colilert MPN					_________

Colilert-18 MPN					_________

5.4.2.1.3	MI Agar						_________

5.4.2.1.1	mEndo/NA-MUG					_________

5.4.2.1.2	mColiBlue 24					_________

D.    GROUND WATER (40 CFR 141.402(c) , Table IV.1, 		              	________

and 40 CFR 141.216)

      - Colilert

1.  P/A						_________

2.  MPN    					_________

Colilert-18

1. P/A                                            			_________

2. MPN                                         			_________

5.3.3.2	Colisure						__________

5.4.2.1.3	MI Agar						__________

5.4.2.1.2	mColiBlue 24					__________

Pre-Visit Information

I.	General Laboratory Equipment

| Item | # of Units | Make, Model, Serial # & Date Placed in Service | Age | Condition/Performance |
| --- | --- | --- | --- | --- |
| Autoclave |  |  |  |  |
| Autoclave Maximum Registering Thermometer |  |  |  |  |
| Waterbath Incubator 44.5 ± 0.2oC |  |  |  |  |
| 44.5 ± 0.2oC Thermometer |  |  |  |  |
| Water-Jacketed Incubator 35 ± 0.5oC |  |  |  |  |
| 35 ± 0.5oC Thermometers Top Middle Bottom |  |  |  |  |
| Balance, Pan |  |  |  |  |
| Balance, Analytical |  |  |  |  |
| Conductivity Meter |  |  |  |  |
| Microscope, Compound |  |  |  |  |
| Microscope, Stereo |  |  |  |  |
| Spectrophotometer/Colorimeter |  |  |  |  |
| Hot Plate |  |  |  |  |
| Hot Plate, Stirrer |  |  |  |  |
| Hot Air Sterilizing Oven |  |  |  |  |
| Biological Safety Cabinet |  |  |  |  |
| Glassware Washer |  |  |  |  |
| Automatic Pipette/Micropipette |  |  |  |  |
| Refrigerator 1-5oC |  |  |  |  |
| 1 – 5oC Thermometer |  |  |  |  |
| Colony Counter |  |  |  |  |
| pH Meter |  |  |  |  |
| Membrane Filtration Manifold |  |  |  |  |
| Shortwave UV Lamp/Box (254nm) |  |  |  |  |
| Shortwave UV Meter |  |  |  |  |
| Longwave UV Lamp (6 watt, 365nm) |  |  |  |  |
| Longwave UV Meter |  |  |  |  |
| Colilert Sealer |  |  |  |  |
| Reference Thermometer Provider & Date Last Certified |  |  |  |  |
| Reference Weights (ASTM 1, 2, 3) Provider & Date Last Certified |  |  |  |  |
| Other: |  |  |  |  |

Pre-Visit Information

II.	Laboratory Services and Space

| ITEM | * | SATISFACTORY YES NO | COMMENTS (Where Applicable cite system, Problems experienced) |
| --- | --- | --- | --- |
| Distilled Water |  |  | Still Manf. | Age |
| Deionized Water |  |  | System Manf. | Age |
| Reverse Osmosis |  |  | System Manf. | .Age |
| Vacuum |  |  |  |
| Lighting |  |  |  |
| Air Conditioning |  |  |  |
| Biohazard Hood (Laminar Flow) |  |  | System Manf. | Age |
| Hood (Other) |  |  |  |
| Glass-Washing Area |  |  |  |
| Office Space (Cite sq.ft./person) |  |  |  |
| Laboratory Space (Cite sq.ft./person) |  |  |  |
| In-Laboratory Storage/Supplies (Shelves, cabinets) |  |  |  |
| Bench Space (Cite linear ft./person |  |  |  |
| Storage Space (Cite Total sq.ft.) |  |  |  |
| Other |  |  |  |

*Available

Pre-Visit Information

VENDORS OF SUPPLIES/SERVICE CONTRACTS

SUPPLIES	     VENDOR/ADDRESS	          CONTACT PERSON        TEL.#

| 1. |  |  |  |  |
| --- | --- | --- | --- | --- |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| 4. |  |  |  |  |
| 5. |  |  |  |  |
| 6. |  |  |  |  |
| 7. |  |  |  |  |
| 8. |  |  |  |  |
| 9. |  |  |  |  |
| 10. |  |  |  |  |

SERVICE		VENDOR/ADDRESS	CONTACT PERSON	TEL.#

| BALANCE |  |  |  |
| --- | --- | --- | --- |
| AUTOCLAVE |  |  |  |
| REFERENCE WEIGHTS |  |  |  |
| REFERENCE THERMOMETER |  |  |  |
| pH METER |  |  |  |
| CONDUCTIVITY METER |  |  |  |
| INCUBATOR |  |  |  |

SAMPLE #1

SAMPLE AUDIT

| Laboratory |  | Lab Number |  |
| --- | --- | --- | --- |
| Date |  | Analyst |  |

Note: Two samples from your routine distribution log that have been processed since your last audit will be reviewed.   The Microbiology Auditor will audit the sample log (COC) and bacteriological report form, copy of  QC log for pH, conductivity, balance, autoclave, and media, incubator, bottles (trays), supply receipt log, etc. for the sample.

| SAMPLE AUDITED | SAMPLE DATA | SAMPLE / QC RESULTS |
| --- | --- | --- |
| CHAIN OF CUSTODY Date & Time Collected |  |  |
| Date & Time Received-lab |  | Storage: |
| Date & Time Processed |  |  |
| Date & Time Read |  |  |
| Sample Log # |  |  |
| Analyst Performing Analysis |  |  |
| Sample Method | KY Code: |  |
| Sample Results |  |  |
| Total Coliform Result |  |  |
| E. coli Result |  |  |
| Analyst/Date/Time Read |  |  |
| BARF Form/Electronic Submittal |  |  |
| Total Coliform Report Form |  |  |
| Action Response to Positive Sample |  |  |
| Persons Notified |  |  |
| Analyst Reporting Positive |  |  |
| Coliform Media Lot/Batch # | 18: 24: |  |
| Date Received/Prepared |  | pH |
| Expiration Date |  |  |
| Date +/- Controls Performed on Lot | Date/Time Incubated: | Date/Time Read: |
| Analyst Performing Control Check |  |  |
| Sterile Water Lot/Batch # |  | Vendor: |
| Date Received/Autoclaved |  |  |
| Sterility Check | Date/Time Incubated: | Date/Time Read: |
| TSB ds Lot/Batch # |  |  |
| Date Received/Autoclaved for TSB ds |  |  |
| Sterility Check for TSB ds | Date/Time Incubated: | Date/Time Read: |
| pH Check of TSB ds |  | pH: |
| Buffer Rinse Water (MF method) Lot/Batch # |  | Vendor: |
| Date Received/Autoclaved |  |  |

SAMPLE #1

| SAMPLE AUDITED | SAMPLE DATA | SAMPLE / QC RESULTS |
| --- | --- | --- |
| Buffer Rinse Water (continued) Expiration Date |  |  |
| Sterility Check of BRW | Date/Time Incubated: | Date/Time Read: |
| pH Check of BRW |  | pH: |
| TSB ds used to QC BRW Lot/Batch # |  | Vendor: |
| Date Received/Autoclaved TSB ds |  |  |
| Sterility Check of TSB ds | Date/Time Incubated: | Date/Time Read: |
| pH Check of TSB ds |  | pH: |
| Membrane Filter Lot# |  |  |
| Date Received |  |  |
| Expiration Date |  |  |
| Sterility Check | Date/Time Incubated: | Date/Time Read: |
| +/- Control Results |  |  |
| TSB ss Lot/Batch # |  | Vendor: |
| Date TSB Autoclaved/Received |  |  |
| Sterility Check of TSB ss | Date/Time Incubated: | Date/Time Read: |
| pH Check of TSB |  | pH: |
| Colilert MPN Tray Lot# |  |  |
| Date Received |  |  |
| Expiration Date |  |  |
| Sterility Check | Date/Time Incubated: | Date/Time Read: |
| TSB ss Lot/Batch # |  | Vendor: |
| Date TSB Autoclaved/Received |  |  |
| Sterility Check of TSB ss | Date/Time Incubated: | Date/Time Read: |
| pH Check of TSB |  | pH: |
| Tray Sealer | Serial # |  |
| Date of Dye Check |  | Result: |
| Lot # of Trays |  |  |
| Sample Bottle | Lot# | Vendor: |
| Date Received/Autoclaved |  |  |
| Expiration Date |  |  |
| Sterility Check | Date/Time Incubated: | Date/Time Read: |
| TSB ss Lot/Batch # |  | Vendor: |
| Date TSB Autoclaved/Received |  |  |
| Sterility Check of TSB ss | Date/Time Incubated: | Date/Time Read: |
| pH Check of TSB |  | pH: |

SAMPLE #1

| SAMPLE AUDITED | SAMPLE DATA | SAMPLE / QC RESULTS |
| --- | --- | --- |
| Chain of Custody for Repeat Samples |  |  |
| Date/ Time Collected |  |  |
| Date/Time Received |  | Storage: |
| Date/Time Processed |  |  |
| Date/Time Read |  |  |
| Results of Repeat Samples Total Coliform Result |  |  |
| E. coli Result |  |  |
| Analyst/Date/Time Read |  |  |
| BARF Form/Electronic Submittal |  |  |
| Total Coliform Report Form |  |  |
| Action Response to Repeat Samples |  |  |
| Persons Notified |  |  |
| Analyst Reporting Result |  |  |

| Quality Control Organisms | ATCC # | Genus/species | Lot # |
| --- | --- | --- | --- |
| E. coli |  |  |  |
| Total coliform |  |  |  |
| Non-coliform |  |  |  |
| Vendor |  |
| Kovacs Reagent/Lot # |  |

SAMPLE #1

| EQUIPMENT QC for Sample Audited | SAMPLE DATA | SAMPLE QC/RESULTS |
| --- | --- | --- |
| pH Meter |  |  |
| Lot #/Result of Reading for 4.0 |  |  |
| Lot #/Result of Reading for 7.0 |  |  |
| Lot #/Result of Reading 10.0 |  |  |
| % Slope |  |  |
| Analyst/Date QC Performed |  |  |
| Conductivity Meter |  |  |
| Conductivity Standard | Vendor: Lot # | Concentration: |
| Result of Standard Reading |  |  |
| Analyst/Date QC Performed |  |  |
| Autoclave |  |  |
| Quarter Time Check Result | 15min: | 45min: |
| MRT | Date: | Temperature: |
| Bioindicator | Lot # | Results: |
| Bioindicator Incubator Temperature | Day 1: | Day 2: |
| Balance Monthly Calibration Date/Analyst: |  |  |
| Reference Weight Certification Date: |  | Serial # |
| Lab Pure Water |  |  |
| Monthly HPC | Date/Time Read: | Result: |
| Lot/Batch of HPC Medium |  |  |
| Received/Autoclaved Date for HPC |  |  |
| Sterility Check of HPC | Date/Time Incubated: | Date/Time Read: |
| pH Check of HPC |  | pH |
| Chlorine Reading | Date: | Result: Analyst: |
|  | Standard: ppm | Lot: |
| Conductivity Reading | Date: | Result: Analyst: |
|  | Standard: | Lot: |
| Incubator (35oC) |  |  |
| Temperature Readings | Date/Time1: Time2: | Temp: Analyst: Temp: Analyst: |
| Incubator (44.5oC) | Date/Time: | Temp: |
| Refrigerator (1-5oC) | Date/Time: | Temp: |
| Longwave UV Lamp | Initial Reading: µw/cm2 | Date: Analyst: |
|  | QC Reading: µw/cm2 | Date: Analyst: |
| UV meter | Model: | Date Certified: |
| Monthly QC of Method | Date: | Analyst: |

SAMPLE #2

SAMPLE AUDIT

| Laboratory |  | Lab Number |  |
| --- | --- | --- | --- |
| Date |  | Analyst |  |

Note: Two samples from your routine distribution log that have been processed since your last audit will be reviewed.   The Microbiology Auditor will audit the sample log (COC) and bacteriological report form, copy of  QC log for pH, conductivity, balance, autoclave, and media, incubator, bottles (trays), supply receipt log, etc. for the sample.

| SAMPLE AUDITED | SAMPLE DATA | SAMPLE / QC RESULTS |
| --- | --- | --- |
| CHAIN OF CUSTODY Date & Time Collected |  |  |
| Date & Time Received-lab |  | Storage: |
| Date & Time Processed |  |  |
| Date & Time Read |  |  |
| Sample Log # |  |  |
| Analyst Performing Analysis |  |  |
| Sample Method | KY Code: |  |
| Sample Results |  |  |
| Total Coliform Result |  |  |
| E. coli Result |  |  |
| Analyst/Date/Time Read |  |  |
| BARF Form/Electronic Submittal |  |  |
| Total Coliform Report Form |  |  |
| Action Response to Positive Sample |  |  |
| Persons Notified |  |  |
| Analyst Reporting Positive |  |  |
| Coliform Media Lot/Batch # | 18: 24: |  |
| Date Received/Prepared |  | pH |
| Expiration Date |  |  |
| Date +/- Controls Performed on Lot | Date/Time Incubated: | Date/Time Read: |
| Analyst Performing Control Check |  |  |
| Sterile Water Lot/Batch # |  | Vendor: |
| Date Received/Autoclaved |  |  |
| Sterility Check | Date/Time Incubated: | Date/Time Read: |
| TSB ds Lot/Batch # |  |  |
| Date Received/Autoclaved for TSB ds |  |  |
| Sterility Check for TSB ds | Date/Time Incubated: | Date/Time Read: |
| pH Check of TSB ds |  | pH: |
| Buffer Rinse Water (MF method) Lot/Batch # |  | Vendor: |
| Date Received/Autoclaved |  |  |

SAMPLE #2

| SAMPLE AUDITED | SAMPLE DATA | SAMPLE / QC RESULTS |
| --- | --- | --- |
| Buffer Rinse Water (continued) Expiration Date |  |  |
| Sterility Check of BRW | Date/Time Incubated: | Date/Time Read: |
| pH Check of BRW |  | pH: |
| TSB ds used to QC BRW Lot/Batch # |  | Vendor: |
| Date Received/Autoclaved TSB ds |  |  |
| Sterility Check of TSB ds | Date/Time Incubated: | Date/Time Read: |
| pH Check of TSB ds |  | pH: |
| Membrane Filter Lot# |  |  |
| Date Received |  |  |
| Expiration Date |  |  |
| Sterility Check | Date/Time Incubated: | Date/Time Read: |
| +/- Control Results |  |  |
| TSB ss Lot/Batch # |  | Vendor: |
| Date TSB Autoclaved/Received |  |  |
| Sterility Check of TSB ss | Date/Time Incubated: | Date/Time Read: |
| pH Check of TSB |  | pH: |
| Colilert MPN Tray Lot# |  |  |
| Date Received |  |  |
| Expiration Date |  |  |
| Sterility Check | Date/Time Incubated: | Date/Time Read: |
| TSB ss Lot/Batch # |  | Vendor: |
| Date TSB Autoclaved/Received |  |  |
| Sterility Check of TSB ss | Date/Time Incubated: | Date/Time Read: |
| pH Check of TSB |  | pH: |
| Tray Sealer | Serial # |  |
| Date of Dye Check |  | Result: |
| Lot # of Trays |  |  |
| Sample Bottle | Lot# | Vendor: |
| Date Received/Autoclaved |  |  |
| Expiration Date |  |  |
| Sterility Check | Date/Time Incubated: | Date/Time Read: |
| TSB ss Lot/Batch # |  | Vendor: |
| Date TSB Autoclaved/Received |  |  |
| Sterility Check of TSB ss | Date/Time Incubated: | Date/Time Read: |
| pH Check of TSB |  | pH: |

SAMPLE #2

| SAMPLE AUDITED | SAMPLE DATA | SAMPLE / QC RESULTS |
| --- | --- | --- |
| Chain of Custody for Repeat Samples |  |  |
| Date/ Time Collected |  |  |
| Date/Time Received |  | Storage: |
| Date/Time Processed |  |  |
| Date/Time Read |  |  |
| Results of Repeat Samples Total Coliform Result |  |  |
| E. coli Result |  |  |
| Analyst/Date/Time Read |  |  |
| BARF Form/Electronic Submittal |  |  |
| Total Coliform Report Form |  |  |
| Action Response to Repeat Samples |  |  |
| Persons Notified |  |  |
| Analyst Reporting Result |  |  |

| Quality Control Organisms | ATCC # | Genus/species | Lot # |
| --- | --- | --- | --- |
| E. coli |  |  |  |
| Total coliform |  |  |  |
| Non-coliform |  |  |  |
| Vendor |  |
| Kovacs Reagent/Lot # |  |

SAMPLE #2

| EQUIPMENT QC for Sample Audited | SAMPLE DATA | SAMPLE QC/RESULTS |
| --- | --- | --- |
| pH Meter |  |  |
| Lot #/Result of Reading for 4.0 |  |  |
| Lot #/Result of Reading for 7.0 |  |  |
| Lot #/Result of Reading 10.0 |  |  |
| % Slope |  |  |
| Analyst/Date QC Performed |  |  |
| Conductivity Meter |  |  |
| Conductivity Standard | Vendor: Lot # | Concentration: |
| Result of Standard Reading |  |  |
| Analyst/Date QC Performed |  |  |
| Autoclave |  |  |
| Quarter Time Check Result | 15min: | 45min: |
| MRT | Date: | Temperature: |
| Bioindicator | Lot # | Results: |
| Bioindicator Incubator Temperature | Day 1: | Day 2: |
| Balance Monthly Calibration Date/Analyst: |  |  |
| Reference Weight Certification Date: |  | Serial # |
| Lab Pure Water |  |  |
| Monthly HPC | Date/Time Read: | Result: |
| Lot/Batch of HPC Medium |  |  |
| Received/Autoclaved Date for HPC |  |  |
| Sterility Check of HPC | Date/Time Incubated: | Date/Time Read: |
| pH Check of HPC |  | pH |
| Chlorine Reading | Date: | Result: Analyst: |
|  | Standard: ppm | Lot: |
| Conductivity Reading | Date: | Result: Analyst: |
|  | Standard: | Lot: |
| Incubator (35oC) |  |  |
| Temperature Readings | Date/Time1: Time2: | Temp: Analyst: Temp: Analyst: |
| Incubator (44.5oC) | Date/Time: | Temp: |
| Refrigerator (1-5oC) | Date/Time: | Temp: |
| Longwave UV Lamp | Initial Reading: µw/cm2 | Date: Analyst: |
|  | QC Reading: µw/cm2 | Date: Analyst: |
| UV meter | Model: | Date Certified: |
| Monthly QC of Method | Date: | Analyst: |

PRE-AUDIT QC CHECKLIST FOR NEW LABS

| Laboratory |  | Lab Number |  |
| --- | --- | --- | --- |
| Lab Supervisor |  | Analyst |  |

Please submit a photocopy of LAST TWO PAGES OF EACH QC LOG to the Microbiology Auditor prior to the on-site audit (ONLY for NEW labs or labs applying for   RECERTIFICATION, i.e., those laboratories that have been downgraded to  “Provisionally Certified ”,  “Not Certified” or “Inactive” Status): Please place an X beside each item submitted.

____	Conductivity Meter

____	pH Meter

____	Balance

____	Waterbath (44.5º±0.2C)

____	Incubator (35ºC)

____	Incubator (Bioindicator 55-60ºC)

____	Refrigerator/Coldroom(1-5ºC)

____	Autoclave

____a.  Quarterly Time Check

____ b.  Monthly Bioindicator

____ c.  Sterilization log

____	Quarterly Check of 6 Watt Lamp

____	Quarterly Check of Germicidal UV Lamp

____	Monthly QC of Reagent Grade Water

____a.  HPC (<500 CFU/mL)/QC of HPC Media

____ b.  Conductivity

____ c.  Total Cl Residual

____	Sterility Check of Buffered Rinse Water/QC of DS TSB/AUTOCLAVE RECORD

____	Sterility Check of Sterile Water (Enzyme Substrate)/QC of DS TSB/AUTOCLAVE RECORD

____	Sterility Check for Membrane Filters/QC OF SS TSB

____	Sample Bottles

____ a.  Volume Check (100 mL)

_____b.  Sterility Check /QC of SS TSB

_____c.  Fluorescent Check

____	Quanti Trays

____ a.  Sterility Check/QC of SS TSB

_____b.  Fluorescent Check

____	Volume Check of MF Funnels

____	Commercial/Lab Prepared Media/AUTOCLAVE RECORD

____ a.  Sterility Check

____ b.  pH Check

_____c.  QC w/Control organisms

____	Monthly QC of Method

____	pH Check of Glassware/Plastic ware

____	Monthly Transfer of Stock Cultures

Please submit the laboratory supplies receipt log and invoices or packing slips to the microbiology

auditor to document lab receipt of the following supplies where appropriate: Please place an X

beside the items submitted to the auditor.

____	Commercially Prepared Media (enzyme substrate, m-Endo, Coliscan, LTB, Simplate,                                                  	etc)

____	Dehydrated Media

____	Biochemical ID Systems/Supplies (i.e., Enterotube, API, etc.)

____	Kovacs Reagent

____	Bioindicator

____	Conductivity Standard

____	pH Buffers

____	Commercial Stock Cultures

____	Sample Bottles

____	Pipets

____	pH/Conductivity Probes

____	Petri Plates for MF/HPC Methods

____	Thermometers

____	Other

Note:   Send copy of lab receipt log enumerating supplies received since the last audit.

Invoices/packing slips may be included with Pre-Audit packet or presented to Microbiology

Auditor during the on-site audit.

Photocopies of new certificates/QC forms since the last audit must be sent to the microbiology auditor

prior to the on-site audit.  Please place an X beside each item submitted to the auditor.

____	Reference Weights

____	Reference Thermometer

____	Incubator Thermometer

____	Refrigerator Thermometer

____	MRT (maximum registering temperature) Thermometer

____	44.5º Waterbath Thermometer

____	Annual Calibration of Thermometer

____	Annual Calibration of Balance

____	Annual Check of Autoclave

____	MF membrane (Certificate of Analysis)

____	Trace Metals for RGW

____	Bactericidal Suitability (if applicable)

____	Inhibitory Residue Test

____	PT Results for Method(s) Certified

____          Signature Page for Analysts

____          LT2ESWTR E.coli Enumeration Method Approved by KY/USEPA

QUALITY CONTROL PARAMETERS PERFORMED

| WHAT | HOW OFTEN |
| --- | --- |
| Lab Pure Water (Chlorine, Conductivity, pH, HPC) | Monthly |
| Lab Pure Water (Metals: Cd, Cr, Cu, Ni, Pb, Zn) | Annually |
| Bactericidal Suitability (not required for Type 1 or Type 2 Reagent Grade Water) | Annually |
| Conductivity Meter Check | Monthly using a low-level conductivity standard |
| Balance Check (ASTM Type 1,2 & 3 weights) | Monthly |
| pH Meter Calibration | Each Use |
| pH Linearity (Slope 95-105%) | Monthly |
| UV Lamp (shortwave 254nm) | Quarterly |
| UV Lamp (longwave 365-366nm) | Quarterly or Monthly |
| Autoclave (maximum registering thermometer) | Each Use |
| Autoclave Timer (15 min time check) | Quarterly |
| Autoclave Ampule/Bioindicator | Monthly |
| Incubator Temperature | Twice Daily |
| Refrigerator Temperature | At least once/day |
| Positive & Negative Media Controls | Each lot/batch of media |
| Colilert MPN Trays/Bottles | Each lot/batch |
| Sample Bottle Sterility & Fluorescence (Colilert) | Each lot/batch |
| Colilert Sealer (for leaks using dye) | Monthly |
| Equipment Inspection | Annually |
| Balance Service | Annually |
| Reference Weights | 5 years |
| Non-Reference Weights | 6 months |
| Reference NIST Thermometer | 5 years |
| Glass Non-Reference Thermometers | Annually |
| PT Samples | Annually |
| Review QA Plan and SOP’s | Annually |

STORAGE OF MATERIALS*

| WHAT | WHERE | HOW LONG |
| --- | --- | --- |
| BHI or TSB (prepared) | Refrigerator | 3 months |
| Colisure | Refrigerator | Manufacturer’s Date |
| Colilert/Readycult | Room Temperature (in dark) | Manufacturer’s Date |
| Bottles of Dehydrated Media (unopened) | Room Temperature | Manufacturer’s Date or 2 years |
| Bottles of Dehydrated Media (opened) | Room Temperature (stored upside down) | Manufacturer’s Date or 6 months |
| Bottles of Dehydrated Media (in dessicator/opened) | Room Temperature (stored upside down) | Manufacturer’s Date or 1 year |
| Tube Media (prepared in-house); screw-cap | Refrigerator | 3 months |
| Tube Media (commercially prepared) | Refrigerator | Manufacturer’s Date |
| pH Buffers (opened) | Room Temperature | Manufacturer’s Date |
| Chemical Reagents | Room Temperature | 6 Years |

*SM 9020B, 20th Ed., 1998.