## Information
2023 Finished Drinking Water Study
For this 2023 study of finished drinking water, 113 water treatment plants were sampled for 31 different PFAS.
The list of PFAS included in the lab analyses is available in the PFAS Descriptions tab below.
The results from this study represent a one-time sampling event and are not intended to represent the range of conditions that may be present at any system.
For questions relating to this study, email PFAS@ky.gov or call 502-564-3410.
Spreadsheet Information
Source:
GW: Groundwater
SW: Surface water
Flag: Laboratory flags are described in the Lab Flag Descriptions tab below
The most common flag, U, indicates that the substance was not detected in the sample above the laboratory detection limit.
Eleven PFAS were detected during the study. The results for those eleven are included in the 2023 Finished Water spreadsheet.
HFPO-DA (Gen-X) is also included since it is a focus of EPA draft regulations and drinking water health advisory guidance, but it was not detected during this study.
Results can be viewed out to three significant figures by adjusting the Increase Decimal option in Microsoft Excel.
Laboratory detection limits for finished water samples ranged between 0.68-0.78 nanograms/liter (ng/L) or parts per trillion (ppt).
Laboratory reporting limits for finished water samples ranged between 1.0-1.2 ng/L or ppt.
General Information
The US EPA anticipates releasing final National Primary Drinking Water Regulations for six PFAS: PFOA, PFOS, HFPO-DA (commonly known as GenX), PFNA, PFHxS, and PFBS potentially by the end of 2023 or early in 2024.
In the meantime, the KY Department for Environmental Protection continues to take a variety of steps to address PFAS such as
· Securing grant funding from the US EPA to address PFAS in drinking water
· Evaluating the presence of PFAS in drinking water through sampling
· Communicating with drinking water systems regarding sampling results
· Collecting water and fish samples from lakes and streams across the state.
For more information on PFAS and US EPA’s health advisories and draft regulations, click on the links below.
US EPA PFAS Resources
Questions and Answers: Drinking Water Health Advisories for PFOA, PFOS, GenX Chemicals, and PFBS
2022 Drinking Water Health Advisories for GenX and PFBS
Drinking Water Health Advisories for PFOA and PFOS
Fact Sheet: EPA's Proposal to Limit PFAS in Drinking Water
Proposed PFAS National Primary Drinking Water Regulation Frequently Asked Questions and Answers

## 2023 Finished Water
PWSID | Water System | Water Treatment Plant | County | Source | Collected | PFOS (ng/L) | Flag | PFOA (ng/L) | Flag | PFBS (ng/L) | Flag | PFHxS (ng/L) | Flag | PFHxA (ng/L) | Flag | PFNA (ng/L) | Flag | HFPO-DA (ng/L) | Flag | 6:2 FTS (ng/L) | Flag | PFPeA (ng/L) | Flag | PFBA (ng/L) | Flag | PFPeS (ng/L) | Flag | PFHpA (ng/L) | Flag | Lab Sample ID
KY0270003 | ALBANY WATER WORKS | ALBANY WTP #1 | Clinton | SW | 2023-05-15 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02947
KY0270003 | ALBANY WATER WORKS | ALBANY WTP #2 | Clinton | SW | 2023-05-15 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02945
KY0200018 | BARDWELL CITY UTILITIES | BARDWELL WTP | Carlisle | GW | 2023-02-22 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U |  | U |  | U | AU01267
KY1110019 | BARKLEY LAKE WATER DISTRICT | BARKLEY LAKE WTP | Trigg | SW | 2023-03-20 | 0.843 | J |  | U | 0.893 | J |  | U | 0.789 | J |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU01846
KY0650024 | BEATTYVILLE WATER WORKS | BEATTYVILLE WTP B | Lee | SW | 2023-04-20 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02301
KY0990281 | BEECH FORK WATER COMMISSION | BEECH FORK WTP | Powell | SW | 2023-03-22 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU01763
KY0950036 | BOONEVILLE WATER AND SEWER | S FORK KY RIVER WTP | Owsley | SW | 2023-05-09 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU02637
KY0410047 | BULLOCK PEN WATER DISTRICT | BULLOCK PEN WTP | Grant | SW | 2023-03-02 | 0.936 | J |  | U | 1.11 | JR |  | U | 2.19 |  |  | U |  | U |  | UX | 3.11 |  |  | U |  | U |  | U | AU01374
KY0290049 | BURKESVILLE WATER WORKS | BURKESVILLE WTP | Cumberland | SW | 2023-05-15 |  | U |  | U |  | UI |  | U | 0.779 | J |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02943
KY1000050 | BURNSIDE WATER COMPANY | LAKE CUMBERLAND WTP | Pulaski | SW | 2023-05-02 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU02424
KY1190061 | CAMPTON WATER SYSTEM | CAMPTON WATER PLANT B | Wolfe | SW | 2023-04-20 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | UR |  | UI |  | U |  | U | AU02303
KY0910065 | CARLISLE WATER DEPARTMENT | CITY LAKE WTP | Nicholas | SW | 2023-03-22 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U | 1.59 |  |  | U |  | UI |  | U |  | U | AU01765
KY0480565 | CAWOOD WATER DISTRICT | CAWOOD WTP | Harlan | SW | 2023-05-11 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02720
KY0180509 | CENTER RIDGE WATER DISTRICT #2 | COOL WATER WORKS WTP | Calloway | GW | 2023-03-14 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU01569
KY0180509 | CENTER RIDGE WATER DISTRICT #2 | PLANT B | Calloway | GW | 2023-03-14 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU01567
KY0180502 | CENTER RIDGE WATER DISTRICT #3 | CENTER RIDGE #3 WTP | Calloway | GW | 2023-03-14 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU01571
KY0183106 | CENTER RIDGE WATER DISTRICT #4 | L H & M WTP | Calloway | GW | 2023-03-14 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU01563
KY0180549 | CENTER RIDGE WATER SYSTEM | CENTER RIDGE WTP | Calloway | GW | 2023-03-14 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU01565
KY0011016 | COLUMBIA/ADAIR UTILITIES DISTRICT | COLUMBIA/ADAIR COUNTY WTP | Taylor | SW | 2023-05-16 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02950
KY1180085 | CORBIN UTILITIES COMMISSION | CORBIN WTP | Whitley | SW | 2023-05-10 | 1.68 |  | 2.13 |  | 1.24 | IR |  | U | 3.18 |  |  | U |  | U |  | U | 2.19 |  |  | UI |  | U |  | U | AU02655
KY0700532 | CRITTENDEN-LIVINGSTON CO WATER DISTRICT | CRITTENDEN-LIVINGSTON WTP | Livingston | SW | 2023-03-28 | 1.94 |  | 1.34 |  | 1.55 | I |  | U | 0.993 | J |  | U |  | U |  | U | 0.782 | J | 2.13 | I |  | U |  | U | AU01851
KY0480092 | CUMBERLAND MUNICIPAL WATER WORKS | CUMBERLAND WTP | Harlan | SW | 2023-05-11 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02714
KY0200095 | CUNNINGHAM WATER DISTRICT | CUNNINGHAM WTP | Carlisle | GW | 2023-02-22 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U |  | U |  | U | AU01265
KY0110097 | DANVILLE CITY WATER WORKS | DANVILLE WTP | Boyle | SW | 2023-04-06 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU02047
KY0540958 | DAWSON SPRINGS WATER & SEWER | DAWSON SPRINGS WTP | Hopkins | SW | 2023-04-19 |  | U |  | U |  | UIR |  | U |  | U | 0.971 | J |  | U |  | U |  | U |  | UI |  | U |  | U | AU02236
KY0310114 | EDMONSON CO WATER DISTRICT | EDMONSON WTP | Edmonson | SW | 2023-05-30 |  | U |  | U |  | UIR |  | U | 0.968 | J |  | U |  | U |  | U | 1.91 |  |  | UI |  | U |  | U | AU03283
KY0310114 | EDMONSON CO WATER DISTRICT | WAX WTP | Grayson | SW | 2023-05-30 |  | U |  | U | 1.26 | IR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU03281
KY0480125 | EVARTS MUNICIPAL WATER PLANT | EVARTS WTP | Harlan | GU | 2023-05-11 | 0.958 | J |  | U | 2.04 | I |  | U | 1.92 |  |  | U |  | U |  | U | 2.55 |  |  | UI |  | U |  | U | AU02716
KY0380149 | FULTON MUNICIPAL WATER SYSTEM | FULTON MUNICIPAL WTP | Fulton | GW | 2023-03-06 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U |  | U |  | U | AU01402
KY0680153 | GARRISON QUINCY HEIGHTS WATER DISTRICT | MURPHY LANE WTP | Lewis | GW | 2023-02-23 |  | U |  | U |  | UR |  | U |  | U |  | U |  | U |  | UX |  | U |  | U |  | U |  | U | AU01315
KY0050929 | GLASGOW WATER COMPANY | BARREN RIVER LAKE WTP | Allen | SW | 2023-06-06 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU03286
KY0050929 | GLASGOW WATER COMPANY | BEAVER CREEK WTP | Barren | SW | 2023-06-06 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU03289
KY0420027 | GRAVES CO WATER DIST - FANCY FARM | GRAVES CO WATER DIST - FANCY FARM WTP | Graves | GW | 2023-02-15 |  | U |  | U |  | UX |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U | AU01172
KY0420534 | GRAVES CO WATER DIST - SEDALIA | SEDALIA WTP | Graves | GW | 2023-02-15 |  | U |  | U |  | UX |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U | AU01170
KY0430616 | GRAYSON COUNTY WATER DISTRICT | GRAYSON CO WATER DISTRICT WTP | Grayson | SW | 2023-05-30 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | UX |  | U |  | UI |  | U |  | U | AU03279
KY0220164 | GRAYSON UTILITY COMMISSION | GRAYSON WTP | Carter | sW | 2023-02-20 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | UX |  | U |  | UI |  | U |  | U | AU01298
KY0351008 | GREATER FLEMING CO WT COMM | GREATER FLEMING WTP | Mason | GW | 2023-02-23 |  | U |  | U | 1.07 | JR |  | U |  | U |  | U |  | U |  | UX |  | U |  | U |  | U |  | U | AU01313
KY0500166 | GREEN RIVER VALLEY WATER DISTRICT | GREEN RIVER VALLEY WTP | Hart | SW | 2023-06-06 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU03291
KY0440168 | GREENSBURG WATER WORKS | GREENSBURG WTP B | Green | SW | 2023-05-17 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02957
KY0470393 | HARDIN COUNTY WATER DISTRICT #1 | HARDIN CO WTP | Hardin | SW | 2023-04-10 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU02087
KY0470175 | HARDIN COUNTY WATER DISTRICT #2 | WHITE MILLS WTPA | Hardin | SW | 2023-04-10 |  | U |  | U | 1.31 | I |  | U | 1.01 | J |  | U |  | U |  | U | 0.839 | J |  | U |  | U |  | U | AU02085
KY0140966 | HARDINSBURG RO WTP | CITY OF HARDINSBURG RO WTP | Breckinridge | GW | 2023-04-10 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU02089
KY0480178 | HARLAN MUNICIPAL WATER WORKS | HARLAN WTP | Harlan | SW | 2023-05-11 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02718
KY0840180 | HARRODSBURG MUNICIPAL WATER DEPARTMENT | HARRODSBURG WTP | Mercer | SW | 2023-03-21 | 0.753 | J |  | U |  | UR |  | U |  | UX |  | U |  | U |  | U |  | UXR |  | UI |  | U |  | U | AU01713
KY0920181 | HARTFORD MUNICIPAL WATER WORKS | HARTFORD WTP | Ohio | SW | 2023-06-07 | 0.775 | J |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU03300
KY0970184 | HAZARD WATER DEPARTMENT | HAZARD WTP | Perry | SW | 2023-04-20 | 1.05 | J |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02299
KY0520192 | HENRY COUNTY WATER DISTRICT #2 | HENRY CO WTP - B | Trimble | GW | 2023-03-02 | 2.23 |  | 2.51 |  | 1.48 | R |  | U |  | U |  | U |  | U |  | UX |  | U | 2 | I |  | U |  | U | AU01379
KY0380193 | HICKMAN WATER DEPARTMENT | HICKMAN WTP | Fulton | GW | 2023-03-06 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U |  | U |  | U | AU01400
KY0620200 | HODGENVILLE WATER WORKS | HODGENVILLE WTP | Larue | SW | 2023-05-17 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02960
KY0240201 | HOPKINSVILLE WATER ENVIRONMENT AUTHORITY | HOPKINSVILLE WTP | Christian | SW | 2023-04-25 | 1.29 |  | 1.12 |  | 0.832 | JIR |  | U | 0.821 | J |  | U |  | U |  | U |  | U | 2.18 | I |  | U |  | U | AU02376
KY0660204 | HYDEN LESLIE CO WATER DISTRICT | HYDEN LESLIE WTP B | Leslie | SW | 2023-05-09 | 1.07 |  |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U | 2.07 | I |  | U |  | U | AU02646
KY0550209 | JACKSON CO WATER ASSOCIATION | LAKE BEULAH WTP | Jackson | SW | 2023-05-09 | 0.862 | J |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02640
KY1040210 | JAMESTOWN MUNICIPAL WATER WORKS | JAMESTOWN WTP | Russell | SW | 2023-05-16 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02952
KY0670213 | JENKINS WATER SYSTEM | JENKINS WTP | Letcher | SW | 2023-04-19 | 1.15 |  |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02294
KY0790216 | JONATHAN CREEK WATER DISTRICT | JONATHAN CREEK WTP | Marshall | GW | 2023-02-09 |  | U |  | U |  | UX |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U | AU01159
KY0720552 | KENTUCKY STATE PENITENTIARY | BARKLEY LAKE WTP | Lyon | SW | 2023-03-28 | 1.19 |  |  | U | 0.972 | JI |  | U | 0.862 | J |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU01855
KY0600062 | KNOTT CO WATER & SEWER DISTRICT | KNOTT CO WTP B | Knott | SW | 2023-04-20 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02296
KY0610110 | KNOX COUNTY UTILITY COMMISSION | KNOX COUNTY UTILITY COMMISSION | Knox | SW | 2023-05-10 | 0.838 | J |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02653
KY0720227 | KUTTAWA WATER DEPARTMENT | KUTTAWA WTP | Lyon | SW | 2023-03-28 | 0.863 | J | 0.744 | J | 0.839 | JI |  | U |  | U | 2.21 |  |  | U |  | U | 0.712 | J | 1.65 | I |  | U |  | U | AU01853
KY0040228 | LACENTER MUNICIPAL WATER CO | LACENTER WTP | Ballard | GW | 2023-02-22 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U |  | U |  | U | AU01269
KY0400233 | LANCASTER WATER WORKS | LANCASTER WTP B | Garrard | SW | 2023-03-21 |  | U |  | U |  | UR |  | U |  | UX |  | U |  | U |  | U |  | UXR |  | UI |  | U |  | U | AU01711
KY0030239 | LAWRENCEBURG WATER & SEWER DEPT | LAWRENCEBURG WTP B | Anderson | SW | 2023-03-21 |  | U |  | U |  | UR |  | U |  | UX |  | U |  | U | 1.04 | J |  | UXR |  | UI |  | U |  | U | AU01715
KY0780241 | LEBANON WATER WORKS CO INC | LEBANON WTP | Marion | SW | 2023-04-06 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02052
KY0460248 | LEWISPORT MUNICIPAL WATER WORKS | LEWISPORT WTP | Hancock | GW | 2023-04-12 | 12.7 |  |  | U | 1.87 |  | 10.1 |  | 0.737 | J |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU02102
KY0230987 | LIBERTY WATER WORKS | LIBERTY WTP | Casey | SW | 2023-04-06 | 0.721 | J |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02050
KY0730522 | LOCUST VALLEY MOBILE EST | LOCUST VALLEY WATER PLANT | McCracken | GW | 2023-02-22 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U |  | U |  | U | AU01263
KY1101005 | LOGAN-TODD REGIONAL WATER COMMISSION | LOGAN TODD REGIONAL WT COMM | Todd | SW | 2023-04-25 | 0.968 | J |  | U | 1.11 |  |  | U | 1.24 |  |  | U |  | U |  | U | 0.971 | J |  | U |  | U |  | U | AU02379
KY0630255 | LONDON UTILITY COMMISSION | LAUREL LAKE WTP | Laurel | SW | 2023-05-12 | 1.64 |  | 2.24 |  | 1.15 | IR |  | U | 3.58 |  |  | U |  | U |  | U | 2.12 |  |  | UI |  | U | 0.881 | J | AU02725
KY0480262 | LYNCH WATER WORKS | LYNCH WTP | Harlan | SW | 2023-05-11 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU02711
KY0260737 | MANCHESTER WATER WORKS | MANCHESTER WTP B | Clay | SW | 2023-05-09 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02644
KY0280267 | MARION WATER DEPARTMENT | MARION WTP | Crittenden | SW | 2023-03-28 |  | U | 0.775 | J |  | UI |  | U |  | U | 7.72 |  |  | U |  | U |  | U | 2.02 | I |  | U |  | U | AU01849
KY0740276 | MCCREARY COUNTY WATER DISTRICT | MCCREARY WTP A - REVELO | McCreary | SW | 2023-05-10 | 1.51 |  |  | U |  | UIR |  | U | 2.02 |  |  | U |  | U |  | U | 1.18 |  |  | UI |  | U |  | U | AU02657
KY0740276 | MCCREARY COUNTY WATER DISTRICT | MCCREARY WTP B - FLATROCK | McCreary | SW | 2023-05-10 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02659
KY0550784 | MCKEE WATER WORKS | MCKEE WTP | Jackson | SW | 2023-05-09 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02642
KY0753505 | MCLEAN COUNTY REGIONAL WATER COMMISSION | MCLEAN CO REGIONAL WATER COMM PLANT | McLean | SW | 2023-04-12 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02104
KY1160291 | MONTICELLO WATER & SEWER COMMISSION | LAKE CUMBERLAND WTP | Wayne | SW | 2023-05-16 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02954
KY0160294 | MORGANTOWN WATER SYSTEM | GREEN RIVER WTP | Butler | SW | 2023-06-07 | 0.965 | J |  | U |  | UI |  | U | 1.43 |  |  | U |  | U |  | U | 2.9 |  |  | UI |  | U |  | U | AU03295
KY0870298 | MT STERLING WATER WORKS | MT SERLING WTP | Montgomery | SW | 2023-02-22 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | UX |  | U |  | UI |  | U |  | U | AU01308
KY1020299 | MT VERNON WATER WORKS | MT VERNON WTP | Rockcastle | SW | 2023-05-12 |  | U |  | U | 0.8 | JIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02729
KY0570315 | NICHOLASVILLE WATER DEPARTMENT | NICHOLASVILLE WTP | Jessamine | SW | 2023-03-21 |  | U |  | U |  | UR |  | U |  | UX |  | U |  | U |  | U |  | UXR |  | UI |  | U |  | U | AU01707
KY0790319 | NORTH MARSHALL WATER DISTRICT #1 | CARTER-BRIEN WTP | Marshall | GW | 2023-02-09 | 1.77 |  | 11.8 |  | 7.05 | X | 2.73 |  | 17.2 |  |  | U |  | U |  | U | 7.68 |  | 26.2 | X | 1.27 |  | 4.56 |  | AU01163
KY0790319 | NORTH MARSHALL WATER DISTRICT #1 | TATUMSVILLE WTP | Marshall | GW | 2023-02-09 |  | U |  | U |  | UX |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U | AU01161
KY0540328 | NORTONVILLE WATER WORKS | NORTONVILLE WTP | Hopkins | GW | 2023-04-19 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU02234
KY0920332 | OHIO COUNTY WATER DISTRICT | OHIO COUNTY WTP B | Ohio | SW | 2023-06-07 | 0.919 | J |  | U |  | UIR |  | U | 0.979 | J |  | U |  | U |  | U | 1.85 |  |  | UI |  | U |  | U | AU03298
KY0580340 | PAINTSVILLE MUNICIPAL WATER WORKS | PAINTSVILLE WTP B | Johnson | SW | 2023-04-19 | 0.832 | J |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02285
KY0070353 | PINEVILLE WATER SYSTEM | PINEVILLE WTP | Bell | SW | 2023-05-10 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02651
KY0360358 | PRESTONSBURG CITY UTILITIES | PRESTONSBURG WTP | Floyd | SW | 2023-04-19 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02290
KY0170360 | PRINCETON WATER & SEWER COMMISSION | LAKE BARKLEY WTP | Lyon | SW | 2023-04-19 | 1.04 | J |  | U | 1.05 | JIR |  | U | 0.921 | J |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02238
KY1170361 | PROVIDENCE WATER WORKS | LAKE NO 1 WTP | Webster | SW | 2023-04-04 |  | U | 0.989 | J | 0.846 | JIR |  | U | 0.954 | J | 2.31 |  |  | U |  | U | 1.15 |  | 4.04 | I |  | U | 1.2 |  | AU02097
KY0220555 | RATTLESNAKE RIDGE WATER DISTRICT | RATTLESNAKE WTP | Elliott | SW | 2023-02-20 | 0.78 | J |  | U |  | UIR |  | U |  | U |  | U |  | U |  | UX |  | UR |  | UI |  | U |  | U | AU01301
KY0760370 | RICHMOND UTILITIES | KENTUCKY RIVER WTP | Madison | SW | 2023-03-22 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU01760
KY0770566 | SALYERSVILLE MUNICIPAL WATER | SALYERSVILLE WTP | Magoffin | SW | 2023-04-19 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02288
KY0320383 | SANDY HOOK WATER DISTRICT | SANDY HOOK WTP | Elliott | GW | 2023-02-20 |  | U |  | U |  | UR |  | U |  | U |  | U |  | U |  | UXR |  | U |  | U |  | U |  | U | AU01303
KY1060394 | SHELBYVILLE WATER & SEWER COMMISSION | GUIST CREEK LAKE WTP | Shelby | SW | 2023-04-10 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | 2.41 |  |  | U |  | U | AU02082
KY1000403 | SOMERSET WATER SERVICE | LAKE CUMBERLAND WTP | Pulaski | SW | 2023-05-02 |  | U | 0.785 | J | 1.1 |  |  | U | 1.59 |  |  | U |  | U |  | U | 1.03 | J |  | U |  | U |  | U | AU02421
KY1150415 | SPRINGFIELD WATER WORKS | WILLISBURG LAKE WTP | Washington | SW | 2023-04-06 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U | 2.03 | I |  | U |  | U | AU02054
KY0180914 | STELLA TRAILER PARK | STELLA TRAILER PARK WTP | Calloway | GW | 2023-03-20 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU01844
KY0420423 | SYMSONIA WATER DISTRICT | SYMSONIA WTP B | Graves | GW | 2023-02-15 |  | U |  | U |  | UX |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U | AU01166
KY0860426 | TOMPKINSVILLE WATER WORKS | MILL CREEK LAKE WTP | Monroe | SW | 2023-05-15 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02941
KY1120431 | TRIMBLE CO WATER DISTRICT #1 | TRIMBLE # 1 WTP A | Trimble | GW | 2023-03-02 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U |  | U |  | U | AU01377
KY1200439 | VERSAILLES WATER SYSTEM | KENTUCKY RIVER WTP | Woodford | SW | 2023-03-21 |  | U |  | U |  | UR |  | U |  | UX |  | UX |  | U | 1.01 | J |  | UXR |  | UI |  | U |  | U | AU01704
KY0070282 | WATER SERVICE CORPORATION OF KENTUCKY | MIDDLESBORO WTP | Bell | SW | 2023-05-10 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02648
KY1170995 | WEBSTER CO WATER DISTRICT | WEBSTER CO WTP | Webster | SW | 2023-04-04 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02099
KY0880452 | WEST LIBERTY WATER COMPANY | WEST LIBERTY WTP B | Morgan | SW | 2023-02-22 |  | U |  | U |  | UI |  | U |  | U |  | U |  | U |  | UX |  | U |  | UI |  | U |  | U | AU01305
KY0910675 | WESTERN FLEMING WATER DISTRICT | WESTERN FLEMING WTP | Nicholas | SW | 2023-03-22 |  | U |  | U |  | UIR |  | U |  | U |  | U |  | U | 3.12 |  |  | U |  | UI |  | U |  | U | AU01767
KY0810460 | WESTERN MASON CO WATER DISTRICT | WESTERN MASON CO WTP | Mason | GW | 2023-02-23 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U |  | U |  | U | AU01310
KY0360463 | WHEELWRIGHT UTILITY COMMISSION | WHEELWRIGHT WTP | Floyd | GU | 2023-04-19 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU02292
KY0540465 | WHITE PLAINS WATER SYSTEM | WHITE PLAINS WTP | Hopkins | GW | 2023-04-19 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU02232
KY1180471 | WILLIAMSBURG WATER DEPARTMENT | CUMBERLAND WTP | Whitley | SW | 2023-05-12 | 0.782 | J | 1.36 |  |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02722
KY0570010 | WILMORE WATER WORKS | WILMORE WTP | Jessamine | SW | 2023-03-21 |  | U |  | U |  | UR |  | U |  | UX |  | U |  | U |  | U |  | UXR |  | UI |  | U |  | U | AU01709
KY0420475 | WINGO WATER & SEWER DEPARTMENT | WINGO WTP | Graves | GW | 2023-02-15 |  | U |  | U |  | UX |  | U |  | U |  | U |  | U |  | U |  | U |  | UX |  | U |  | U | AU01168
KY0630477 | WOOD CREEK WATER DISTRICT | WOOD CREEK LAKE WTP | Laurel | SW | 2023-05-12 | 1.56 |  |  | U |  | UIR |  | U |  | U |  | U |  | U |  | U |  | U |  | UI |  | U |  | U | AU02727
KY1000973 | WOODSON BEND PROPERTY OWNERS ASSOC | LAKE CUMBERLAND WTP | Pulaski | SW | 2023-05-02 |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U |  | U | AU02426

## PFAS Descriptions
Analyte | Acronym | CAS Number
11-chloroeicosafluoro-3-oxaundecane-1-sulfonic acid acid | 11Cl-PF3OUdS | 763051-92-9
1H,1H, 2H, 2H-perfluorohexane sulfonic acid | 4:2 FTS | 757124-72-4
1H,1H, 2H, 2H-perfluorooctane sulfonic acid | 6:2 FTS | 27619-97-2
1H,1H, 2H, 2H-perfluorodecane sulfonic acid | 8:2 FTS | 39108-34-4
9-chlorohexadecafluoro-3-oxanonane-1-sulfonic acid | 9Cl-PF3ONS | 756426-58-1
4,8-dioxa-3H-perfluorononanoic acid | ADONA | 919005-14-4
Hexafluoropropylene oxide dimer acid | HFPO-DA (Gen-X) | 13252-13-6
N-ethyl perfluorooctanesulfonamidoacetic acid | NEtFOSAA | 2991-50-6
Nonafluoro-3,6-dioxaheptanoic acid | NFDHA | 151772-58-6
N-methyl perfluorooctanesulfonamidoacetic acid | NMeFOSAA | 2355-31-9
Perfluorobutanoic acid | PFBA | 375-22-4
Perfluorobutanesulfonic acid | PFBS | 375-73-5
Perfluorodecanoic acid | PFDA | 335-76-2
Perfluorododecanoic acid | PFDoA | 307-55-1
Perfluorodecanesulfonic acid | PFDS | 335-77-3
Perfluoro(2-ethoxyethane)sulfonic acid | PFEESA | 113507-82-7
Perfluoroheptanoic acid | PFHpA | 375-85-9
Perfluoroheptanesulfonic acid | PFHpS | 375-92-8
Perfluorohexanoic acid | PFHxA | 307-24-4
Perfluorohexanesulfonic acid | PFHxS | 355-46-4
Perfluoro-4-methoxybutanoic acid | PFMBA | 863090-89-5
Perfluoro-3-methoxypropanoic acid | PFMPA | 377-73-1
Perfluorononanoic acid | PFNA | 375-95-1
Perflurononanesulfonic acid | PFNS | 68259-12-1
Perfluorooctanoic acid | PFOA | 335-67-1
Perfluorooctanesulfonic acid | PFOS | 1763-23-1
Perfluoropentanoic acid | PFPeA | 2706-90-3
Perfluoropentanesulfonic acid | PFPeS | 2706-91-4
Perfluorotetradecanoic acid | PFTDA | 376-06-7
Perfluorotridecanoic acid | PFTrDA | 72629-94-8
Perfluoroundecanoic acid | PFUnA | 2058-94-8

## Lab Flag Descriptions
Flag | Description
A | Average Value
B | Analyte In Method or Reagent Blank
C | Calibration Curve Criteria Exceeded
D | Analyzed at a Higher Dilution
E | Exceeded Calibration Range
F | No Field Blank
H | Exceeded Prep Hold Time
I | Internal Standard Limits Exceeded
J | Estimated Value
K | Analyte in Trip or Field Blank
L | Exceeds MCL or Action Limit
M | Matrix Spike Limits Exceeded
N | Presumptive Identification
O | Lab Fortified Blank Limits Exceeded
P | Improper Preservative
Q | QC Limits Exceeded
R | Surrogate Limits Exceeded
S | Insufficient Sample
T | Exceeded Holding Time
U | Analyte Not Detected
V | Calibration Verification Limits Exceeded
W | Wrong Container
X | Verification Check Note
Y | Result < LOQ After Blank Subtraction
Z | Sample Preserved by Freezing